## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
0736 | HI707-0 | CP-R31 | W41/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite Low Range Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-10-16 | 2024-10-16 | 1HEAD |  |  | 0585
[6 empty] | Expiration A | Expiration B | Expiration D
2029-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 480 | 436 | 524 |  | MR102 |  | 20 | & | 5% | 100% |  | 3.0 | 2.9 | 3.1
1 | 0 | 0 | 20
2 | 120 | 94 | 146
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 480 | 1 | P/Final | 2024-10-17 | 08:55 | 2024-10-16 | 17:05 | MARA | 1 | 466 | 467 | / | / | 1.782 |  |  |  | 8.04 |  |  | Brigitta P |  | 3 | 3 | 95554
3 | 480 | 2 | P/Final | 2024-10-17 | 08:56 | 2024-10-16 | 17:05 | MARA | 1 | 477 | 473 | / | / | 1.819 |  |  |  | 20.8 |  |  | Brigitta P |  | 3 | 3 | 95554
1 | 0 | 3 | P/Final | 2024-10-17 | 08:58 | 2024-10-16 | 17:05 | MARA | 1 | 5 | 0 | / | / | 0.045 |  |  |  | 2.83 |  |  | Brigitta P |  | 3 | 1 | 95554
2 | 120 | 4 | P/Final | 2024-10-17 | 08:59 | 2024-10-16 | 17:05 | MARA | 1 | 115 | 111 | / | / | 0.445 |  |  |  | 2.10 |  |  | Brigitta P |  | 3 | 2 | 95554
2 | 120 | 5 | P/Final | 2024-10-17 | 08:59 | 2024-10-16 | 17:05 | MARA | 1 | 115 | 112 | / | / | 0.452 |  |  |  | 2.08 |  |  | Brigitta P |  | 3 | 2 | 95554
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 471 µg/L | 2 | 4 | 471 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 2 | 3 µg/L | 1 | 2 | 3 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 113 µg/L | 2 | 4 | 113 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 20 | 3 | YES
120 | 94 ÷ 146 | 113 | YES
480 | 436 ÷ 524 | 471 | YES
Validation Date | by