## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
0975 | HI707-0 | CP-R31 | W 12/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite LR Reagent | 2030-03-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-02 | 2025-04-02 | 1 HEAD |  |  | 0736
[6 empty] | Expiration A | Expiration B | Expiration D
2029-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 120 | 94 | 146 |  | MR102 |  | 20 | & | 5% | 100% |  | 3.0 | 2.9 | 3.1
3 | 480 | 436 | 524
1 | 0 | 0 | 20
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 120 | 1 | Old A | 2025-04-02 | 09:38 | 2025-04-01 | 14:45 | MARA | 1 | 112 | 112 | / | / | 0.444 |  |  |  | 17.1 |  |  | Kinga |  | 3 | 2 | 81754
3 | 480 | 2 | Old A | 2025-04-02 | 09:39 | 2025-04-01 | 14:45 | MARA | 1 | 455 | 448 | / | / | 1.735 |  |  |  | 53.1 |  |  | Kinga |  | 3 | 3 | 81754
1 | 0 | 3 | P/FINAL | 2025-04-02 | 09:42 | 2025-04-01 | 14:45 | MARA | 1 | 20 | 20 | / | / | 0.119 | 3.044 |  |  | 39.0 |  |  | Kinga |  | 3 | 1 | 81754
2 | 120 | 4 | P/FINAL | 2025-04-02 | 09:43 | 2025-04-01 | 14:45 | MARA | 1 | 119 | 115 | / | / | 0.468 |  |  |  | 4.88 | 289 |  | Kinga |  | 3 | 2 | 81754
2 | 120 | 5 | P/FINAL | 2025-04-02 | 09:44 | 2025-04-01 | 14:45 | MARA | 1 | 119 | 115 | / | / | 0.467 |  |  |  | 4.55 | 295 |  | Kinga |  | 3 | 2 | 81754
3 | 480 | 6 | P/FINAL | 2025-04-02 | 09:45 | 2025-04-01 | 14:45 | MARA | 1 | 472 | 464 | / | / | 1.802 | 3.037 |  |  | 1.57 | 305 |  | Kinga |  | 3 | 3 | 81754
3 | 480 | 7 | P/FINAL | 2025-04-02 | 09:45 | 2025-04-01 | 14:45 | MARA | 1 | 482 | 474 | / | / | 1.837 |  |  |  | 63.1 | 288 |  | Kinga |  | 3 | 3 | 81754
1 | 0 | 8 | P/FINAL | 2025-04-02 | 09:47 | 2025-04-01 | 14:45 | MARA | 1 | 5 | 0 | / | / | 0.044 | 3.022 |  |  | 6.66 |  |  | Kinga |  | 3 | 1 | 81754
1 | 0 | 9 | P/FINAL | 2025-04-02 | 09:47 | 2025-04-01 | 14:45 | MARA | 1 | 4 | 0 | / | / | 0.040 |  |  |  | 3.09 |  |  | Kinga |  | 3 | 1 | 81754
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 117 µg/L | 2 | 4 | 117 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 473 µg/L | 2 | 4 | 473 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 8 µg/L | 3 | 6 | 8 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 20 | 8 | YES
120 | 94 ÷ 146 | 117 | YES
480 | 436 ÷ 524 | 473 | YES
Validation Date | by
2025-04-02 | Eugenia