## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
0846 | HI764-0 | CP-R31 | W 48 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite Ultra Low Range Reagent | 2029-11-01 | L57 Powder |  |  | Laboratory | Tablet 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-03 | 2024-12-04 | 1HEAD |  |  | 0585
[6 empty] | Expiration A | Expiration B | Expiration D
2029-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97105 | CTO-844
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR102 |  | 8 | & | 6% | 100% |  | 3.0 | 2.9 | 3.1
2 | 40 | 30 | 50
3 | 160 | 142 | 178
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2024-12-03 | 10:35 | 2024-12-03 | 06:48 | Mara | 1 | 6 | 0 | / | / | 0.036 |  |  |  | 55.4 |  |  | Kinga |  | 3 | 1 | 85607
2 | 40 | 2 | Old A | 2024-12-03 | 10:35 | 2024-12-03 | 06:48 | Mara | 1 | 35 | 33 | / | / | 0.146 |  |  |  | 6.09 |  |  | Kinga |  | 3 | 2 | 85607
3 | 160 | 3 | Old A | 2024-12-03 | 10:36 | 2024-12-03 | 06:48 | Mara | 1 | 145 | 142 | / | / | 0.565 |  |  |  | 8.53 |  |  | Kinga |  | 3 | 3 | 85607
1 | 0 | 4 | P/Final | 2024-12-03 | 10:37 | 2024-12-03 | 06:48 | Mara | 1 | 6 | 1 | / | / | 0.036 | 2.957 |  |  | 8.44 |  |  | Kinga |  | 3 | 1 | 85607
1 | 0 | 5 | P/Final | 2024-12-03 | 10:38 | 2024-12-03 | 06:48 | Mara | 1 | 4 | 2 | / | / | 0.031 |  |  |  | 38.2 |  |  | Kinga |  | 3 | 1 | 85607
2 | 40 | 6 | P/Final | 2024-12-03 | 10:45 | 2024-12-03 | 06:48 | Mara | 1 | 37 | 34 | / | / | 0.152 |  |  |  | 29.2 | 252 |  | Kinga |  | 3 | 2 | 85607
2 | 40 | 7 | P/Final | 2024-12-03 | 10:46 | 2024-12-03 | 06:48 | Mara | 1 | 37 | 34 | / | / | 0.152 | 2.751 |  |  | 53.3 | 265 |  | Kinga |  | 3 | 2 | 85607
3 | 160 | 8 | P/Final | 2024-12-03 | 10:47 | 2024-12-03 | 06:48 | Mara | 1 | 155 | 148 | / | / | 0.607 |  |  |  | 20.0 | 259 |  | Kinga |  | 3 | 3 | 85607
3 | 160 | 9 | P/Final | 2024-12-03 | 10:48 | 2024-12-03 | 06:48 | Mara | 1 | 155 | 152 | / | / | 0.607 | 2.957 |  |  | 15.6 | 262 |  | Kinga |  | 3 | 3 | 85607
2 | 40 | 10 | P/Final | 2024-12-03 | 15:51 | 2024-12-03 | 14:19 | TAMARA |  | 37 | 35 | / | / | 0.161 |  |  |  | 9.73 | 258 |  | Kinga |  | 3 | 2 | 85607
2 | 40 | 11 | P/Final | 2024-12-03 | 15:52 | 2024-12-03 | 14:19 | TAMARA |  | 50 | 44 | / | / | 0.202 | 2.729 |  |  | 44.6 | 275 |  | Kinga |  | 3 | 2 | 85607
3 | 160 | 12 | P/Final | 2024-12-03 | 15:53 | 2024-12-03 | 14:19 | TAMARA |  | 153 | 159 | / | / | 0.599 | 2.706 |  |  | 45.2 | 268 |  | Kinga |  | 3 | 3 | 85607
3 | 160 | 13 | P/Final | 2024-12-03 | 15:54 | 2024-12-03 | 14:19 | TAMARA |  | 154 | 156 | / | / | 0.603 |  |  |  | 48.1 | 266 |  | Kinga |  | 3 | 3 | 85607
1 | 0 | 14 | P/Final | 2024-12-03 | 15:56 | 2024-12-03 | 14:19 | TAMARA |  | 4 | 0 | / | / | 0.030 | 2.934 |  |  | 21.5 |  |  | Kinga |  | 3 | 1 | 85607
1 | 0 | 15 | P/Final | 2024-12-03 | 15:57 | 2024-12-03 | 14:19 | TAMARA |  | 3 | 4 | / | / | 0.047 |  |  |  | 21.6 |  |  | Kinga |  | 3 | 1 | 85607
2 | 40 | 16 | Old A | 2024-12-04 | 09:28 | 2024-12-04 | 07:01 | Mara |  | 40 | 36 | / | / | 0.167 |  |  |  | 20.0 |  |  | Brigitta P |  | 3 | 2 | 82931
2 | 40 | 17 | Old A | 2024-12-04 | 09:28 | 2024-12-04 | 07:01 | Mara |  | 41 | 35 | / | / | 0.169 |  |  |  | 6.80 |  |  | Brigitta P |  | 3 | 2 | 82931
3 | 160 | 18 | Old A | 2024-12-04 | 09:29 | 2024-12-04 | 07:01 | Mara |  | 155 | 148 | / | / | 0.606 |  |  |  | 2.31 |  |  | Brigitta P |  | 3 | 3 | 82931
3 | 160 | 19 | Old A | 2024-12-04 | 09:29 | 2024-12-04 | 07:01 | Mara |  | 153 | 148 | / | / | 0.598 |  |  |  | 3.35 |  |  | Brigitta P |  | 3 | 3 | 82931
1 | 0 | 20 | P/Final | 2024-12-04 | 09:31 | 2024-12-04 | 07:01 | Mara |  | 2 | 0 | / | / | 0.010 | 2.672 |  |  | 1.08 | 284 |  | Brigitta P |  | 3 | 1 | 82931
1 | 0 | 21 | P/Final | 2024-12-04 | 09:32 | 2024-12-04 | 07:01 | Mara |  | 2 | 0 | / | / | 0.023 |  |  |  | 1.91 | 283 |  | Brigitta P |  | 3 | 1 | 82931
2 | 40 | 22 | P/Final | 2024-12-04 | 09:32 | 2024-12-04 | 07:01 | Mara |  | 39 | 36 | / | / | 0.162 |  |  |  | 2.28 | 274 |  | Brigitta P |  | 3 | 2 | 82931
2 | 40 | 23 | P/Final | 2024-12-04 | 09:33 | 2024-12-04 | 07:01 | Mara |  | 39 | 42 | / | / | 0.162 | 2.612 |  |  | 3.08 | 274 |  | Brigitta P |  | 3 | 2 | 82931
3 | 160 | 24 | P/Final | 2024-12-04 | 09:33 | 2024-12-04 | 07:01 | Mara |  | 156 | 152 | / | / | 0.609 |  |  |  | 4.36 | 277 |  | Brigitta P |  | 3 | 3 | 82931
3 | 160 | 25 | P/Final | 2024-12-04 | 09:34 | 2024-12-04 | 07:01 | Mara |  | 158 | 152 | / | / | 0.615 | 2.761 |  |  | 2.23 | 278 |  | Brigitta P |  | 3 | 3 | 82931
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2 µg/L | 6 | 12 | 2 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 39 µg/L | 6 | 12 | 39 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 154 µg/L | 6 | 12 | 154 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 2 | YES
40 | 30 ÷ 50 | 39 | YES
160 | 142 ÷ 178 | 154 | YES
Validation Date | by