## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1119 | HI764-0 | CP-R31 | W 29/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite Ultra LR Reagent | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-18 | 2025-07-25 | 1 HEAD |  |  | 1053
[6 empty] | Expiration A | Expiration B | Expiration D
2030-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97105 | CTO-743
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR102 |  | 10 | & | 4% | 100% |  | 3.0 | 2.9 | 3.1
2 | 40 | 28 | 52
3 | 160 | 144 | 176
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-07-18 | 12:03 | 2025-07-18 | 08:42 | ERIKA |  | 16 | 6 | / | / | 0.074 |  |  |  | 67.4 |  |  | Kinga |  | 3 | 1
1 | 0 | 2 | Old A | 2025-07-18 | 12:04 | 2025-07-18 | 08:42 | ERIKA |  | 21 | 3 | / | / | 0.062 |  |  |  | 57.4 |  |  | Kinga |  | 3 | 1
2 | 40 | 3 | Old A | 2025-07-18 | 12:06 | 2025-07-18 | 08:42 | ERIKA |  | 45 | 33 | / | / | 0.183 |  |  |  | 72.5 |  |  | Kinga |  | 3 | 2
2 | 40 | 4 | Old A | 2025-07-18 | 12:07 | 2025-07-18 | 08:42 | ERIKA |  | 47 | 25 | / | / | 0.190 |  |  |  | 51.7 |  |  | Kinga |  | 3 | 2
3 | 160 | 5 | Old A | 2025-07-18 | 12:12 | 2025-07-18 | 08:42 | ERIKA |  | 146 | 124 | / | / | 0.572 |  |  |  | 102 |  |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 6 | Old A | 2025-07-18 | 12:13 | 2025-07-18 | 08:42 | ERIKA |  | 146 | 124 | / | / | 0.570 |  |  |  | 113 |  |  | Kinga |  | 3 | 3 | 93109
2 | 40 | 7 | Valid | 2025-07-18 | 12:17 | 2025-07-18 | 08:42 | ERIKA |  | 50 | 41 | / | / | 0.201 | 2.844 |  |  | 72.3 |  |  | Kinga |  | 3 | 2 | 93109
2 | 40 | 8 | Valid | 2025-07-18 | 12:18 | 2025-07-18 | 08:42 | ERIKA |  | 44 | 40 | / | / | 0.181 |  |  |  | 88.3 |  |  | Kinga |  | 3 | 2 | 93109
2 | 40 | 9 | Valid | 2025-07-18 | 12:19 | 2025-07-18 | 08:42 | ERIKA |  | 39 | 35 | / | / | 0.161 |  |  |  | 76.5 |  |  | Kinga |  | 3 | 2 | 93109
3 | 160 | 10 | Valid | 2025-07-18 | 12:20 | 2025-07-18 | 08:42 | ERIKA |  | 156 | 129 | / | / | 0.608 | 2.835 |  |  | 48.8 |  |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 11 | Valid | 2025-07-18 | 12:20 | 2025-07-18 | 08:42 | ERIKA |  | 148 | 125 | / | / | 0.579 |  |  |  | 102 |  |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 12 | Valid | 2025-07-18 | 12:22 | 2025-07-18 | 08:42 | ERIKA |  | 151 | 133 | / | / | 0.589 | 3.031 |  |  | 126 |  |  | Kinga |  | 3 | 3 | 93109
1 | 0 | 13 | Valid | 2025-07-18 | 12:41 | 2025-07-18 | 08:42 | ERIKA |  | 18 | 9 | / | / | 0.081 |  |  |  | 68.2 |  |  | Kinga |  | 3 | 1 | 93109
3 | 160 | 14 | Valid | 2025-07-18 | 12:46 | 2025-07-18 | 08:42 | ERIKA |  | 149 | 136 | / | / | 0.581 |  |  |  | 77.3 |  |  | Kinga |  | 3 | 3 | 93109
1 | 0 | 15 | Valid | 2025-07-18 | 12:55 | 2025-07-18 | 08:42 | ERIKA |  | 5 | 0 | / | / | 0.034 |  |  |  | 47.4 |  |  | Kinga |  | 3 | 1 | 93109
1 | 0 | 16 | Valid | 2025-07-18 | 13:53 | 2025-07-18 | 08:42 | ERIKA |  | 3 | 0 | / | / | 0.026 |  |  |  | 13.8 |  |  | Kinga |  | 3 | 1
1 | 0 | 17 | Valid | 2025-07-18 | 13:54 | 2025-07-18 | 08:42 | ERIKA |  | 4 | 0 | / | / | 0.029 |  |  |  | 57.0 |  |  | Kinga |  | 3 | 1
1 | 0 | 18 | Valid | 2025-07-18 | 13:55 | 2025-07-18 | 08:42 | ERIKA |  | 3 | 0 | / | / | 0.028 | 3.035 |  |  | 96.2 |  |  | Kinga |  | 3 | 1
2 | 40 | 19 | Old A | 2025-07-24 | 14:46 | 2025-07-24 | 08:53 | IRINA |  | 49 | 39 | / | / | 0.200 |  |  |  | 48.9 |  |  | Kinga |  | 3 | 2
2 | 40 | 20 | Old A | 2025-07-24 | 14:47 | 2025-07-24 | 08:53 | IRINA |  | 41 | 36 | / | / | 0.169 |  |  |  | 23.7 |  |  | Kinga |  | 3 | 2
3 | 160 | 21 | Old A | 2025-07-24 | 14:47 | 2025-07-24 | 08:53 | IRINA |  | 147 | 138 | / | / | 0.574 |  |  |  | 18.2 |  |  | Kinga |  | 3 | 3
3 | 160 | 22 | Old A | 2025-07-24 | 14:48 | 2025-07-24 | 08:53 | IRINA |  | 169 | 152 | / | / | 0.662 |  |  |  | 44.1 |  |  | Kinga |  | 3 | 3
1 | 0 | 23 | Old A | 2025-07-24 | 14:48 | 2025-07-24 | 08:53 | IRINA |  | 2 | 0 | / | / | 0.024 |  |  |  | 4.39 |  |  | Kinga |  | 3 | 1
1 | 0 | 24 | Old A | 2025-07-24 | 14:49 | 2025-07-24 | 08:53 | IRINA |  | 10 | 2 | / | / | 0.052 |  |  |  | 23.6 |  |  | Kinga |  | 3 | 1
2 | 40 | 25 | P/FINAL | 2025-07-24 | 15:07 | 2025-07-24 | 08:53 | IRINA | 1 | 45 | 34 | / | / | 0.184 |  |  |  | 54.1 | 306 |  | Kinga |  | 3 | 2 | 93109
2 | 40 | 26 | P/FINAL | 2025-07-24 | 15:08 | 2025-07-24 | 08:53 | IRINA | 1 | 47 | 35 | / | / | 0.193 | 2.948 |  |  | 39.2 | 278 |  | Kinga |  | 3 | 2 | 93109
2 | 40 | 27 | P/FINAL | 2025-07-24 | 15:08 | 2025-07-24 | 08:53 | IRINA | 1 | 42 | 32 | / | / | 0.171 |  |  |  | 31.9 | 274 |  | Kinga |  | 3 | 2 | 93109
3 | 160 | 28 | P/FINAL | 2025-07-24 | 15:10 | 2025-07-24 | 08:53 | IRINA | 1 | 160 | 147 | / | / | 0.626 | 2.934 |  |  | 54.9 | 286 |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 29 | P/FINAL | 2025-07-24 | 15:10 | 2025-07-24 | 08:53 | IRINA | 1 | 163 | 148 | / | / | 0.636 |  |  |  | 49.9 | 294 |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 30 | P/FINAL | 2025-07-24 | 15:11 | 2025-07-24 | 08:53 | IRINA | 1 | 154 | 145 | / | / | 0.600 |  |  |  | 35.5 | 279 |  | Kinga |  | 3 | 3 | 93109
1 | 0 | 31 | P/FINAL | 2025-07-24 | 15:12 | 2025-07-24 | 08:53 | IRINA | 1 | 3 | 0 | / | / | 0.028 | 3.246 |  |  | 3.03 |  |  | Kinga |  | 3 | 1 | 93109
1 | 0 | 32 | P/FINAL | 2025-07-24 | 15:12 | 2025-07-24 | 08:53 | IRINA | 1 | 15 | 5 | / | / | 0.070 |  |  |  | 18.6 |  |  | Kinga |  | 3 | 1 | 93109
2 | 40 | 33 | P/FINAL | 2025-07-24 | 16:09 | 2025-07-24 | 14:32 | MARA | 1 | 34 | 30 | / | / | 0.143 |  |  |  | 22.9 |  |  | Kinga |  | 3 | 2 | 93109
2 | 40 | 34 | P/FINAL | 2025-07-24 | 16:09 | 2025-07-24 | 14:32 | MARA | 1 | 36 | 31 | / | / | 0.149 |  |  |  | 49.0 |  |  | Kinga |  | 3 | 2 | 93109
2 | 40 | 35 | P/FINAL | 2025-07-24 | 16:11 | 2025-07-24 | 14:32 | MARA | 1 | 46 | 37 | / | / | 0.186 | 2.948 |  |  | 73.7 | 288 |  | Kinga |  | 3 | 2 | 93109
3 | 160 | 36 | P/FINAL | 2025-07-24 | 16:12 | 2025-07-24 | 14:32 | MARA | 1 | 150 | 144 | / | / | 0.585 |  |  |  | 59.7 | 274 |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 37 | P/FINAL | 2025-07-24 | 16:13 | 2025-07-24 | 14:32 | MARA | 1 | 152 | 146 | / | / | 0.595 |  |  |  | 67.7 | 258 |  | Kinga |  | 3 | 3 | 93109
3 | 160 | 38 | P/FINAL | 2025-07-24 | 16:13 | 2025-07-24 | 14:32 | MARA | 1 | 165 | 148 | / | / | 0.645 | 2.949 |  |  | 62.9 | 262 |  | Kinga |  | 3 | 3 | 93109
1 | 0 | 39 | P/FINAL | 2025-07-24 | 16:14 | 2025-07-24 | 14:32 | MARA | 1 | 18 | 8 | / | / | 0.085 |  |  |  | 91.3 | 280 |  | Kinga |  | 3 | 1 | 93109
1 | 0 | 40 | P/FINAL | 2025-07-24 | 16:15 | 2025-07-24 | 14:32 | MARA | 1 | 5 | 0 | / | / | 0.032 | 3.150 |  |  | 67.7 |  |  | Kinga |  | 3 | 1 | 93109
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 7 µg/L | 4 | 8 | 7 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 37 µg/L | 6 | 12 | 37 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 152 µg/L | 6 | 12 | 152 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 7 | YES
40 | 28 ÷ 52 | 37 | YES
160 | 144 ÷ 176 | 152 | YES
Validation Date | by
2025-07-29 | Eugenia