## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1233 | HI764-0 | CP-R31 | W 46/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite Ultra LR Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-10 | 2025-11-12 | 1 head |  |  | 0975
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97115 | CTO-740
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 28 | 52 |  | MR102 |  | 10 | & | 4% | 100% |  | 3.0 | 2.9 | 3.1
3 | 160 | 144 | 176
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97115 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2025-11-11 | 09:28 | 2025-11-10 | 15:39 | ERIKA |  | 43 | 46 | / | / | 0.17875.2 |  |  |  | 75.2 |  |  | Kinga |  | 3 | 2 | 12090115:39
2 | 40 | 2 | Old A | 2025-11-11 | 09:29 | 2025-11-10 | 15:39 | ERIKA |  | 46 | 41 | / | / | 0.188 |  |  |  | 7.58 |  |  | Kinga |  | 3 | 2 | 12090115:39
3 | 160 | 3 | Old A | 2025-11-11 | 09:30 | 2025-11-10 | 15:39 | ERIKA |  | 165 | 157 | / | / | 0.644 |  |  |  | 30.0 |  |  | Kinga |  | 3 | 3 | 12090115:39
3 | 160 | 4 | Old A | 2025-11-11 | 09:30 | 2025-11-10 | 15:39 | ERIKA |  | 163 | 155 | / | / | 0.630 |  |  |  | 37.0 |  |  | Kinga |  | 3 | 3 | 12090115:39
1 | 0 | 5 | Old A | 2025-11-11 | 09:32 | 2025-11-10 | 15:39 | ERIKA |  | 3 | 0 | / | / | 0.027 |  |  |  | 3.42 |  |  | Kinga |  | 3 | 1 | 12090115:39
1 | 0 | 6 | Old A | 2025-11-11 | 09:32 | 2025-11-10 | 15:39 | ERIKA |  | 2 | 0 | / | / | 0.021 |  |  |  | 3.12 |  |  | Kinga |  | 3 | 1 | 12090115:39
3 | 160 | 7 | Valid | 2025-11-11 | 09:33 | 2025-11-10 | 15:39 | ERIKA |  | 157 | 150 | / | / | 0.612 |  |  |  | 60.8 |  |  | Kinga |  | 3 | 3 | 12090115:39
3 | 160 | 8 | Valid | 2025-11-11 | 09:34 | 2025-11-10 | 15:39 | ERIKA |  | 156 | 152 | / | / | 0.609 |  |  |  | 17.1 |  |  | Kinga |  | 3 | 3 | 12090115:39
3 | 160 | 9 | Valid | 2025-11-11 | 09:35 | 2025-11-10 | 15:39 | ERIKA |  | 156 | 158 | / | / | 0.608 | 2.900 |  |  | 38.5 |  |  | Kinga |  | 3 | 3 | 12090115:39
1 | 0 | 10 | Valid | 2025-11-11 | 09:35 | 2025-11-10 | 15:39 | ERIKA |  | 5 | 1 | / | / | 0.033 |  |  |  | 39.9 |  |  | Kinga |  | 3 | 1 | 12090115:39
1 | 0 | 11 | Valid | 2025-11-11 | 09:36 | 2025-11-10 | 15:39 | ERIKA |  | 3 | 9 | / | / | 0.026 | 3.055 |  |  | 39.0 |  |  | Kinga |  | 3 | 1 | 12090115:39
2 | 40 | 12 | Valid | 2025-11-11 | 09:38 | 2025-11-10 | 15:39 | ERIKA |  | 35 | 42 | / | / | 0.147 |  |  |  | 41.7 |  |  | Kinga |  | 3 | 2 | 12090115:39
2 | 40 | 13 | Valid | 2025-11-11 | 09:39 | 2025-11-10 | 15:39 | ERIKA |  | 33 | 46 | / | / | 0.139 |  |  |  | 44.6 |  |  | Kinga |  | 3 | 2 | 12090115:39
2 | 40 | 14 | Valid | 2025-11-11 | 09:40 | 2025-11-10 | 15:39 | ERIKA |  | 43 | 36 | / | / | 0.177 | 2.832 |  |  | 51.5 |  |  | Kinga |  | 3 | 2 | 12090115:39
2 | 40 | 15 | P/FINAL | 2025-11-11 | 14:06 | 2025-11-11 | 11:50 | TAMARA | 1 | 34 | 36 | / | / | 0.143 |  |  |  | 2.40 |  |  | Kinga |  | 3 | 2 | 120901
2 | 40 | 16 | P/FINAL | 2025-11-11 | 14:06 | 2025-11-11 | 11:50 | TAMARA | 1 | 37 | 37 | / | / | 0.152 | 2.923 |  |  | 3.29 | 276 |  | Kinga |  | 3 | 2 | 120901
2 | 40 | 17 | P/FINAL | 2025-11-11 | 14:07 | 2025-11-11 | 11:50 | TAMARA | 1 | 35 | 40 | / | / | 0.145 |  |  |  | 14.1 | 279 |  | Kinga |  | 3 | 2 | 120901
3 | 160 | 18 | P/FINAL | 2025-11-11 | 14:08 | 2025-11-11 | 11:50 | TAMARA | 1 | 155 | 152 | / | / | 0.604 |  |  |  | 2.21 | 282 |  | Kinga |  | 3 | 3 | 120901
3 | 160 | 19 | P/FINAL | 2025-11-11 | 14:10 | 2025-11-11 | 11:50 | TAMARA | 1 | 156 | 154 | / | / | 0.608 |  |  |  | 1.85 | 273 |  | Kinga |  | 3 | 3 | 120901
3 | 160 | 20 | P/FINAL | 2025-11-11 | 14:11 | 2025-11-11 | 11:50 | TAMARA | 1 | 155 | 153 | / | / | 0.604 | 2.893 |  |  | 15.8 |  |  | Kinga |  | 3 | 3 | 120901
1 | 0 | 21 | P/FINAL | 2025-11-11 | 14:16 | 2025-11-11 | 11:50 | TAMARA | 1 | 10 | 8 | / | / | 0.052 |  |  |  | 42.1 |  |  | Kinga |  | 3 | 1 | 120901
1 | 0 | 22 | P/FINAL | 2025-11-11 | 14:17 | 2025-11-11 | 11:50 | TAMARA | 1 | 1 | 0 | / | / | 0.020 | 3.080 |  |  | 1.60 |  |  | Kinga |  | 3 | 1 | 120901
2 | 40 | 23 | P/FINAL | 2025-11-11 | 15:04 | 2025-11-11 | 14:33 | MARA | 1 | 38 | 45 | / | / | 0.157 |  |  |  | 54.3 |  |  | Kinga |  | 3 | 2 | 120901
2 | 40 | 24 | P/FINAL | 2025-11-11 | 15:05 | 2025-11-11 | 14:33 | MARA | 1 | 38 | 36 | / | / | 0.156 |  |  |  | 39.6 | 273 |  | Kinga |  | 3 | 2 | 120901
2 | 40 | 25 | P/FINAL | 2025-11-11 | 15:06 | 2025-11-11 | 14:33 | MARA | 1 | 46 | 41 | / | / | 0.188 | 2.958 |  |  | 11.8 | 280 |  | Kinga |  | 3 | 2 | 120901
3 | 160 | 26 | P/FINAL | 2025-11-11 | 15:07 | 2025-11-11 | 14:33 | MARA | 1 | 154 | 150 | / | / | 0.601 | - |  |  | 58.2 | 289 |  | Kinga |  | 3 | 3 | 120901
3 | 160 | 27 | P/FINAL | 2025-11-11 | 15:08 | 2025-11-11 | 14:33 | MARA | 1 | 156 | 150 | / | / | 0.608 | - |  |  | 4.06 | 279 |  | Kinga |  | 3 | 3 | 120901
3 | 160 | 28 | P/FINAL | 2025-11-11 | 15:08 | 2025-11-11 | 14:33 | MARA | 1 | 156 | 152 | / | / | 0.611 | 2.948 |  |  | 41.1 | 256 |  | Kinga |  | 3 | 3 | 120901
1 | 0 | 29 | P/FINAL | 2025-11-11 | 15:09 | 2025-11-11 | 14:33 | MARA | 1 | 4 | 6 | / | / | 0.030 | 3.172 |  |  | 35.9 | 288 |  | Kinga |  | 3 | 1 | 120901
1 | 0 | 30 | P/FINAL | 2025-11-11 | 15:10 | 2025-11-11 | 14:33 | MARA | 1 | 4 | 0 | / | / | 0.031 |  |  |  | 16.0 |  |  | Kinga |  | 3 | 1 | 120901
2 | 40 | 31 | Old A | 2025-11-12 | 10:29 | 2025-11-12 | 06:46 | TAMARA | 1 | 43 | 34 | / | / | 0.175 |  |  |  | 3.09 |  |  | Kinga |  | 3 | 2
2 | 40 | 32 | Old A | 2025-11-12 | 10:29 | 2025-11-12 | 06:46 | TAMARA | 1 | 34 | 32 | / | / | 0.144 |  |  |  | 2.66 |  |  | Kinga |  | 3 | 2
3 | 160 | 33 | Old A | 2025-11-12 | 10:30 | 2025-11-12 | 06:46 | TAMARA | 1 | 161 | 151 | / | / | 0.628 |  |  |  | 2.15 |  |  | Andrea V |  | 3 | 3 | 120901
3 | 160 | 34 | Old A | 2025-11-12 | 10:31 | 2025-11-12 | 06:46 | TAMARA | 1 | 156 | 152 | / | / | 0.608 |  |  |  | 2.64 |  |  | Andrea V |  | 3 | 3 | 120901
1 | 0 | 35 | Old A | 2025-11-12 | 10:32 | 2025-11-12 | 06:46 | TAMARA | 1 | 5 | 0 | / | / | 0.033 |  |  |  | 4.66 |  |  | Andrea V |  | 3 | 1 | 120901
1 | 0 | 36 | Old A | 2025-11-12 | 10:34 | 2025-11-12 | 06:46 | TAMARA | 1 | 6 | 0 | / | / | 0.037 |  |  |  | 4.37 |  |  | Andrea V |  | 3 | 1 | 120901
3 | 160 | 37 | P/FINAL | 2025-11-12 | 10:37 | 2025-11-12 | 06:46 | TAMARA | 1 | 157 | 155 | / | / | 0.615 |  |  |  | 0.97 | 289 |  | Andrea V |  | 3 | 3 | 120901
3 | 160 | 38 | P/FINAL | 2025-11-12 | 10:38 | 2025-11-12 | 06:46 | TAMARA | 1 | 159 | 157 | / | / | 0.620 | 2.969 |  |  | 0.96 | 284 |  | Andrea V |  | 3 | 3 | 120901
3 | 160 | 39 | P/FINAL | 2025-11-12 | 10:48 | 2025-11-12 | 06:46 | TAMARA | 1 | 158 | 156 | / | / | 0.618 |  |  |  | 0.94 |  |  | Andrea V |  | 3 | 3 | 120901
2 | 40 | 40 | P/FINAL | 2025-11-12 | 10:50 | 2025-11-12 | 06:46 | TAMARA | 1 | 35 | 34 | / | / | 0.145 | 3.010 |  |  | 1.49 | 294 |  | Andrea V |  | 3 | 2 | 120901
1 | 0 | 41 | P/FINAL | 2025-11-12 | 10:55 | 2025-11-12 | 06:46 | TAMARA | 1 | 1 | 0 | / | / | 0.018 |  |  |  | 0.83 | 291 |  | Andrea V |  | 3 | 1 | 120901
1 | 0 | 42 | P/FINAL | 2025-11-12 | 10:55 | 2025-11-12 | 06:46 | TAMARA | 1 | 6 | 0 | / | / | 0.038 | 2.932 |  |  | 1.83 |  |  | Andrea V |  | 3 | 1 | 120901
2 | 40 | 43 | P/FINAL | 2025-11-12 | 10:56 | 2025-11-12 | 06:46 | TAMARA | 1 | 36 | 34 | / | / | 0.150 |  |  |  | 2.04 | 289 |  | Andrea V |  | 3 | 2 | 120901
2 | 40 | 44 | P/FINAL | 2025-11-12 | 10:57 | 2025-11-12 | 06:46 | TAMARA | 1 | 36 | 34 | / | / | 0.151 |  |  |  | 0.99 | 287 |  | Andrea V |  | 3 | 2 | 120901
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 37 µg/L | 9 | 18 | 37 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 155 µg/L | 9 | 18 | 155 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3 µg/L | 6 | 12 | 3 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 3 | YES
40 | 28 ÷ 52 | 37 | YES
160 | 144 ÷ 176 | 155 | YES
Validation Date | by