## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1309 | HI764-0 | CP-R31 | W04/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite Ultra LR Reagent | 2031-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 200 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-20 | 2026-01-21 | 1 HEAD |  |  | 1233
[6 empty] | Expiration A | Expiration B | Expiration D
2030-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97105 | CTO-743
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 40 | 28 | 52 |  | MR102 |  | 10 | & | 4% | 100% |  | 3.0 | 2.9 | 3.1
3 | 160 | 144 | 176
1 | 0 | 0 | 10
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97105 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 40 | 1 | Old A | 2026-01-20 | 10:32 | 2026-01-20 | 08:36 | ERIKA |  | 34 | 32 | / | / | 0.144 |  |  |  | 2.57 |  |  | Andrea V |  | 3 | 2
2 | 40 | 2 | Old A | 2026-01-20 | 10:32 | 2026-01-20 | 08:36 | ERIKA |  | 36 | 31 | / | / | 0.151 |  |  |  | 1.59 |  |  | Andrea V |  | 3 | 2
3 | 160 | 3 | Old A | 2026-01-20 | 10:33 | 2026-01-20 | 08:36 | ERIKA |  | 153 | 149 | / | / | 0.599 |  |  |  | 2.82 |  |  | Andrea V |  | 3 | 3 | 120344
3 | 160 | 4 | Old A | 2026-01-20 | 10:33 | 2026-01-20 | 08:36 | ERIKA |  | 152 | 148 | / | / | 0.594 |  |  |  | 2.37 |  |  | Andrea V |  | 3 | 3 | 120344
1 | 0 | 5 | Old A | 2026-01-20 | 10:33 | 2026-01-20 | 08:36 | ERIKA |  | 3 | 0 | / | / | 0.027 |  |  |  | 2.46 |  |  | Andrea V |  | 3 | 1 | 120344
1 | 0 | 6 | Old A | 2026-01-20 | 10:34 | 2026-01-20 | 08:36 | ERIKA |  | 3 | 0 | / | / | 0.027 |  |  |  | 1.63 |  |  | Andrea V |  | 3 | 1 | 120344
2 | 40 | 7 | Valid | 2026-01-20 | 10:42 | 2026-01-20 | 08:36 | ERIKA |  | 41 | 34 | / | / | 0.168 |  |  |  | 2.84 |  |  | Andrea V |  | 3 | 2
2 | 40 | 8 | Valid | 2026-01-20 | 10:43 | 2026-01-20 | 08:36 | ERIKA |  | 41 | 34 | / | / | 0.167 | 3.026 |  |  | 2.11 |  |  | Andrea V |  | 3 | 2
3 | 160 | 9 | Valid | 2026-01-20 | 10:44 | 2026-01-20 | 08:36 | ERIKA |  | 154 | 146 | / | / | 0.603 |  |  |  | 2.89 |  |  | Andrea V |  | 3 | 3
3 | 160 | 10 | Valid | 2026-01-20 | 10:44 | 2026-01-20 | 08:36 | ERIKA |  | 155 | 148 | / | / | 0.606 | 3.026 |  |  | 2.72 |  |  | Andrea V |  | 3 | 3
1 | 0 | 11 | Valid | 2026-01-20 | 10:48 | 2026-01-20 | 08:36 | ERIKA |  | 13 | 3 | / | / | 0.064 | 2.993 |  |  | 2.51 |  |  | Andrea V |  | 3 | 1
1 | 0 | 12 | Valid | 2026-01-20 | 12:44 | 2026-01-20 | 12:05 | EVELIN |  | 12 | 2 | / | / | 0.061 |  |  |  | 1.20 | 285 |  | Andrea V |  | 3 | 1
1 | 0 | 13 | Valid | 2026-01-20 | 12:45 | 2026-01-20 | 12:05 | EVELIN |  | 13 | 2 | / | / | 0.064 |  |  |  | 1.12 | 284 |  | Andrea V |  | 3 | 1
2 | 40 | 14 | Old A | 2026-01-21 | 09:19 | 2026-01-21 | 07:31 | TAMARA | 1 | 35 | 33 | / | / | 0.146 |  |  |  | 2.37 |  |  | Andrea V |  | 3 | 2 | 120344
2 | 40 | 15 | Old A | 2026-01-21 | 09:19 | 2026-01-21 | 07:31 | TAMARA | 1 | 35 | 34 | / | / | 0.146 |  |  |  | 2.33 |  |  | Andrea V |  | 3 | 2 | 120344
3 | 160 | 16 | Old A | 2026-01-21 | 09:20 | 2026-01-21 | 07:31 | TAMARA | 1 | 154 | 152 | / | / | 0.603 |  |  |  | 2.38 |  |  | Andrea V |  | 3 | 3 | 120344
3 | 160 | 17 | Old A | 2026-01-21 | 09:20 | 2026-01-21 | 07:31 | TAMARA | 1 | 155 | 152 | / | / | 0.605 |  |  |  | 1.83 |  |  | Andrea V |  | 3 | 3 | 120344
1 | 0 | 18 | Old A | 2026-01-21 | 09:21 | 2026-01-21 | 07:31 | TAMARA | 1 | 3 | 0 | / | / | 0.028 |  |  |  | 2.65 |  |  | Andrea V |  | 3 | 1 | 120344
1 | 0 | 19 | Old A | 2026-01-21 | 09:21 | 2026-01-21 | 07:31 | TAMARA | 1 | 4 | 6 | / | / | 0.030 |  |  |  | 19.9 |  |  | Andrea V |  | 3 | 1 | 120344
2 | 40 | 20 | P/FINAL | 2026-01-21 | 09:23 | 2026-01-21 | 07:31 | TAMARA | 1 | 40 | 34 | / | / | 0.164 |  |  |  | 2.69 | 246 |  | Andrea V |  | 3 | 2 | 120344
2 | 40 | 21 | P/FINAL | 2026-01-21 | 09:25 | 2026-01-21 | 07:31 | TAMARA | 1 | 40 | 36 | / | / | 0.164 | 2.902 |  |  | 6.42 | 267 |  | Andrea V |  | 3 | 2 | 120344
2 | 40 | 22 | P/FINAL | 2026-01-21 | 09:25 | 2026-01-21 | 07:31 | TAMARA | 1 | 39 | 34 | / | / | 0.162 |  |  |  | 1.56 |  |  | Andrea V |  | 3 | 2 | 120344
3 | 160 | 23 | P/FINAL | 2026-01-21 | 09:27 | 2026-01-21 | 07:31 | TAMARA | 1 | 157 | 152 | / | / | 0.615 |  |  |  | 1.67 | 268 |  | Andrea V |  | 3 | 3 | 120344
3 | 160 | 24 | P/FINAL | 2026-01-21 | 09:28 | 2026-01-21 | 07:31 | TAMARA | 1 | 157 | 151 | / | / | 0.615 | 2.906 |  |  | 2.70 | 270 |  | Andrea V |  | 3 | 3 | 120344
3 | 160 | 25 | P/FINAL | 2026-01-21 | 09:28 | 2026-01-21 | 07:31 | TAMARA | 1 | 157 | 150 | / | / | 0.614 |  |  |  | 1.35 |  |  | Andrea V |  | 3 | 3 | 120344
1 | 0 | 26 | P/FINAL | 2026-01-21 | 09:30 | 2026-01-21 | 07:31 | TAMARA | 1 | 12 | 2 | / | / | 0.059 |  |  |  | 1.63 | 256 |  | Andrea V |  | 3 | 1 | 120344
1 | 0 | 27 | P/FINAL | 2026-01-21 | 09:31 | 2026-01-21 | 07:31 | TAMARA | 1 | 12 | 3 | / | / | 0.060 |  |  |  | 1.86 | 202 |  | Andrea V |  | 3 | 1 | 120344
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 37 µg/L | 3 | 6 | 37 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 154 µg/L | 3 | 6 | 154 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 7 µg/L | 2 | 4 | 7 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 7 | YES
40 | 28 ÷ 52 | 37 | YES
160 | 144 ÷ 176 | 154 | YES
Validation Date | by