## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1309 | HI767-0 | CP-R31 | W 04/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Marine Nitrite LR Reagent | 2031-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 999 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARA | 2026-01-21 | 2026-01-21 | 1 HEAD |  |  | 1233
[6 empty] | Expiration A | Expiration B | Expiration D
2030-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI767 | CTO-474 | HI767 | CTO-473
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93703 | CTO-766
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 10 |  | MR102 |  | 10 | & | 4% | 100% |  | 3.0 | 2.9 | 3.1
2 | 200 | 182 | 218
3 | 800 | 758 | 842
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI767 | M. 2 HI767 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2026-01-21 | 15:32 | 2026-01-21 | 14:04 | MARA |  | 0 | 0 | / | / |  |  |  |  | 6.41 |  |  | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2026-01-21 | 15:32 | 2026-01-21 | 14:04 | MARA |  | 0 | 0 | / | / |  |  |  |  | 3.94 |  |  | Andrea V |  | 3 | 1
2 | 200 | 3 | Old A | 2026-01-21 | 15:33 | 2026-01-21 | 14:04 | MARA |  | 191 | 191 | / | / |  |  |  |  | 8.30 |  |  | Andrea V |  | 3 | 2
2 | 200 | 4 | Old A | 2026-01-21 | 15:34 | 2026-01-21 | 14:04 | MARA |  | 192 | 189 | / | / |  |  |  |  | 13.14 |  |  | Andrea V |  | 3 | 2
3 | 800 | 5 | Old A | 2026-01-21 | 15:36 | 2026-01-21 | 14:04 | MARA |  | 759 | 761 | / | / |  |  |  |  | 39.56 |  |  | Andrea V |  | 3 | 3
3 | 800 | 6 | Old A | 2026-01-21 | 15:36 | 2026-01-21 | 14:04 | MARA |  | 762 | 760 | / | / |  |  |  |  | 7.64 |  |  | Andrea V |  | 3 | 3
1 | 0 | 7 | P/FINAL | 2026-01-21 | 15:38 | 2026-01-21 | 14:04 | MARA | 1 | 2 | 4 | / | / |  |  |  |  | 1.94 |  |  | Andrea V |  | 3 | 1
1 | 0 | 8 | P/FINAL | 2026-01-21 | 15:38 | 2026-01-21 | 14:04 | MARA | 1 | 4 | 5 | / | / |  |  |  |  | 1.75 |  |  | Andrea V |  | 3 | 1
2 | 200 | 9 | P/FINAL | 2026-01-21 | 15:40 | 2026-01-21 | 14:04 | MARA | 1 | 198 | 196 | / | / |  |  |  |  | 5.36 |  |  | Andrea V |  | 3 | 2
2 | 200 | 10 | P/FINAL | 2026-01-21 | 15:40 | 2026-01-21 | 14:04 | MARA | 1 | 196 | 193 | / | / |  |  |  |  | 4.03 |  |  | Andrea V |  | 3 | 2
2 | 200 | 11 | P/FINAL | 2026-01-21 | 15:41 | 2026-01-21 | 14:04 | MARA | 1 | 195 | 193 | / | / |  |  |  |  | 7.99 |  |  | Andrea V |  | 3 | 2
3 | 800 | 12 | P/FINAL | 2026-01-21 | 15:42 | 2026-01-21 | 14:04 | MARA | 1 | 767 | 761 | / | / |  |  |  |  | 12.57 |  |  | Andrea V |  | 3 | 3
3 | 800 | 13 | P/FINAL | 2026-01-21 | 15:43 | 2026-01-21 | 14:04 | MARA | 1 | 761 | 762 | / | / |  |  |  |  | 2.83 |  |  | Andrea V |  | 3 | 3
3 | 800 | 14 | P/FINAL | 2026-01-21 | 15:43 | 2026-01-21 | 14:04 | MARA | 1 | 762 | 762 | / | / |  |  |  |  | 5.34 |  |  | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 4 µg/L | 2 | 4 | 4 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 195 µg/L | 3 | 6 | 195 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 763 µg/L | 3 | 6 | 763 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 10 | 4 | YES
200 | 182 ÷ 218 | 195 | YES
800 | 758 ÷ 842 | 763 | YES
Validation Date | by