## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
0736 | HI93707-0 | CP-R31 | W41/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite Low Range Reagent | 2029-10-01 | L57 Powder |  |  | Laboratory | TABLET3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | [5 empty] | 0669
[6 empty] | Expiration A | Expiration B | Expiration D
2029-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 120 | 107 | 133 |  | MR102 |  | 5 | & | 7% | 100% |  | 3.0 | 2.9 | 3.1
3 | 480 | 441 | 519
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97707 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 120 | 1 | Old A | 2024-10-10 | 09:29 | 2024-10-09 | 15:45 | MARK |  | 105 | 95 | / | / | 0.417 |  |  |  | 1.52 |  |  | Kinga |  | 3 | 2 | 24016
2 | 120 | 2 | Old A | 2024-10-10 | 09:30 | 2024-10-09 | 15:45 | MARK |  | 103 | 93 | / | / | 0.407 |  |  |  | 3.40 |  |  | Kinga |  | 3 | 2 | 24016
3 | 480 | 3 | Old A | 2024-10-10 | 09:30 | 2024-10-09 | 15:45 | MARK |  | 472 | 460 | / | / | 1.802 |  |  |  | 4.32 |  |  | Kinga |  | 3 | 3 | 24016
3 | 480 | 4 | Old A | 2024-10-10 | 09:31 | 2024-10-09 | 15:45 | MARK |  | 472 | 459 | / | / | 1.800 |  |  |  | 2.15 |  |  | Kinga |  | 3 | 3 | 24016
1 | 0 | 5 | Old A | 2024-10-10 | 09:33 | 2024-10-09 | 14:42 | MARK |  | 1 | 0 | / | / | 0.030 |  |  |  | 4.87 |  |  | Kinga |  | 3 | 1 | 24016
3 | 480 | 6 | Valid | 2024-10-10 | 09:36 | 2024-10-09 | 14:42 | MARK |  | 479 | 468 | / | / | 1.826 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 3 | 95554 | NEW STD
3 | 480 | 7 | Valid | 2024-10-10 | 09:37 | 2024-10-09 | 14:42 | MARK |  | 446 | 436 | / | / | 1.700 | 3.022 |  |  | 092 |  |  | Kinga |  | 3 | 3 | 95554 | NEW STD
3 | 480 | 8 | Valid | 2024-10-10 | 09:38 | 2024-10-09 | 14:42 | MARK |  | 442 | 440 | / | / | 1.688 |  |  |  | 22.8 |  |  | Kinga |  | 3 | 3 | 95554 | NEW STD
2 | 120 | 9 | Valid | 2024-10-10 | 09:40 | 2024-10-09 | 14:42 | MARK |  | 110 | 107 | / | / | 0.435 | 2.984 |  |  | 7.64 |  |  | Kinga |  | 3 | 2 | 95554 | NEW STD
2 | 120 | 10 | Valid | 2024-10-10 | 9:40 | 2024-10-09 | 14:42 | MARK |  | 110 | 106 | / | / | 0.435 |  |  |  | 1.07 |  |  | Kinga |  | 3 | 2 | 95554 | NEW STD
2 | 120 | 11 | Valid | 2024-10-10 | 9:40 | 2024-10-09 | 14:42 | MARK |  | 106 | 105 | / | / | 0.416 | 2.982 |  |  | 1 |  |  | Kinga |  | 3 | 2 | 24016
1 | 0 | 12 | Valid | 2024-10-10 | 9:40 | 2024-10-09 | 14:42 | MARK |  | 5 | 0 | / | / | 0.046 | 3.057 |  |  | 2.44 |  |  | Kinga |  | 3 | 2 | DWA
1 | 0 | 13 | Valid | 2024-10-10 | 9:40 | 2024-10-09 | 14:42 | MARK |  | 4 | 0 | / | / | 0.040 |  |  |  | 1.36 |  |  | Kinga |  | 3 | 2 | DWA
1 | 0 | 14 | Valid | 2024-10-10 | 9:40 | 2024-10-09 | 14:42 | MARK |  | 3 | 0 | / | / | 0.037 |  |  |  | 1.14 |  |  | Kinga |  | 3 | 2 | DWA
3 | 480 | 15 | Valid | 2024-10-10 | 10:50 | 2024-10-09 | 14:42 | MARK |  | 414 | 426 | / | / | 1.580 | [6 empty] | Kinga |  | 3 | 2 | DWA
3 | 480 | 16 | Valid | 2024-10-10 | 11:02 | 2024-10-10 | 14:42 | ELENA | 2 | 432 | 426 | / | / | 1.647 | [6 empty] | Brigitta P |  | 3 | 3 | 95554
2 | 120 | 17 | Valid | 2024-10-10 | 14:05 | 2024-10-10 |  | ERIKA |  | 114 | 106 | / | / | 0.449 |  |  |  | 1.55 |  |  | Kinga |  | 3 | 2 | 95554
2 | 120 | 18 | Valid | 2024-10-10 | 14:05 | 2024-10-10 |  | ERIKA |  | 116 | 106 | / | / | 0.449 |  |  |  | 0.98 |  |  | Kinga |  | 3 | 2 | 95554
3 | 480 | 19 | Valid | 2024-10-10 | 14:06 | 2024-10-10 |  | ERIKA |  | 479 | 463 | / | / | 1.828 |  |  |  | 2.13 |  |  | Kinga |  | 3 | 3 | 95554
3 | 480 | 20 | Valid | 2024-10-10 | 14:06 | 2024-10-10 |  | ERIKA |  | 483 | 468 | / | / | 1.842 |  |  |  | 1.23 |  |  | Kinga |  | 3 | 3 | 95554
1 | 0 | 21 | Valid | 2024-10-10 | 14:07 | 2024-10-10 |  | ERIKA |  | 0 | 0 | / | / | 0.026 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 1 | 95554
2 | 120 | 22 | Valid | 2024-10-10 | 14:25 | 2024-10-10 |  | ERIKA |  | 113 | 108 | / | / | 0.445 | 3.005 |  |  | 4.35 |  |  | Kinga |  | 3 | 2 | 95554
2 | 120 | 23 | P/Final | 2024-10-17 | 09:05 | 2024-10-17 | 07:30 | TAMARA | 1 | 114 | 115 | / | / | 0.448 |  |  |  | 4.53 |  |  | Brigitta P |  | 3 | 2 | 95554
2 | 120 | 24 | P/Final | 2024-10-17 | 09:05 | 2024-10-17 | 07:30 | TAMARA | 1 | 112 | 113 | / | / | 0.444 |  |  |  | 5.90 |  |  | Brigitta P |  | 3 | 2 | 95554
3 | 480 | 25 | P/Final | 2024-10-17 | 09:07 | 2024-10-17 | 07:30 | TAMARA | 1 | 468 | 462 | / | / | 1.787 |  |  |  | 1.69 |  |  | Brigitta P |  | 3 | 3 | 95554
3 | 480 | 26 | P/Final | 2024-10-17 | 09:08 | 2024-10-17 | 07:30 | TAMARA | 1 | 471 | 465 | / | / | 1.798 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 3 | 95554
1 | 0 | 27 | P/Final | 2024-10-17 | 09:09 | 2024-10-17 | 07:30 | TAMARA | 1 | 0 | 0 | / | / | 0.025 |  |  |  | 1.02 |  |  | Brigitta P |  | 3 | 1 | 95554
2 | 120 | 28 | P/Final | 2024-10-18 | 09:06 | 2024-10-18 | 14:30 | MARA | 1 | 115 | 110 | / | / | 0.452 |  |  |  | 4.15 |  |  | Brigitta P |  | 3 | 2 | 95554
2 | 120 | 29 | P/Final | 2024-10-18 | 09:07 | 2024-10-18 | 14:30 | MARA | 1 | 122 | 133 | / | / | 0.481 |  |  |  | 4.53 |  |  | Brigitta P |  | 3 | 2 | 95554
3 | 480 | 30 | P/Final | 2024-10-18 | 09:07 | 2024-10-18 | 14:30 | MARA | 1 | 461 | 450 | / | / | 1.760 |  |  |  | 1.60 |  |  | Brigitta P |  | 3 | 3 | 95554
3 | 480 | 31 | P/Final | 2024-10-18 | 09:08 | 2024-10-18 | 14:30 | MARA | 1 | 461 | 450 | / | / | 1.759 |  |  |  | 1.69 |  |  | Brigitta P |  | 3 | 3 | 95554
1 | 0 | 32 | P/Final | 2024-10-18 | 09:08 | 2024-10-18 | 14:30 | MARA | 1 | 0 | 0 | / | / | 0.028 |  |  |  | 1.02 |  |  | Brigitta P |  | 3 | 1 | 95554
1 | 0 | 33 | Old A | 2024-10-18 | 09:09 | 2024-10-18 | 14:30 | MARA | 1 | 1 | 0 | / | / | 0.030 | [6 empty] | Brigitta P |  | 3 | 1 | 95554
2 | 120 | 34 | Old A | 2024-10-18 | 09:09 | 2024-10-18 | 14:30 | MARA | 1 | 107 | 98 | / | / | 0.420 | [6 empty] | Brigitta P |  | 3 | 2 | 95554
2 | 120 | 35 | Old A | 2024-10-18 | 09:09 | 2024-10-18 | 14:30 | MARA | 1 | 108 | 101 | / | / | 0.427 | [6 empty] | Brigitta P |  | 3 | 2 | 95554
3 | 480 | 36 | Valid | 2024-10-18 | 09:10 | 2024-10-18 | 14:30 | MARA | 1 | 451 | 442 | / | / | 1.719 | [6 empty] | Brigitta P |  | 3 | 3 | 95554
3 | 480 | 37 | Old A | 2024-10-18 | 09:10 | 2024-10-18 | 14:30 | MARA | 1 | 451 | 443 | / | / | 1.720 | [6 empty] | Brigitta P |  | 3 | 3 | 95554
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 117 µg/L | 4 | 8 | 117 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 461 µg/L | 4 | 8 | 461 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 µg/L | 2 | 4 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
120 | 107 ÷ 133 | 117 | YES
480 | 441 ÷ 519 | 461 | YES
Validation Date | by