## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
0903 | HI93707-0 | CP-R31 | W 04/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite LR Reagent | 2030-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-01-23 | 2025-02-06 | 2 |  |  | 0669
[6 empty] | Expiration A | Expiration B | Expiration D
2029-08-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 480 | 441 | 519 |  | MR102 |  | 5 | & | 7% | 100% |  | 3.0 | 2.9 | 3.1
2 | 120 | 107 | 133
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97707 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 480 | 1 | Valid | 2025-01-23 | 15:29 | 2025-01-23 | 14:41 | ERIKA |  | 447 | 442 | / | / | 1.705 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 3
3 | 480 | 2 | Valid | 2025-01-23 | 15:29 | 2025-01-23 | 14:41 | ERIKA |  | 448 | 440 | / | / | 1.709 |  |  |  | 1.47 |  |  | Kinga |  | 3 | 3
3 | 480 | 3 | Valid | 2025-01-23 | 15:30 | 2025-01-23 | 14:41 | ERIKA |  | 449 | 442 | / | / | 1.714 |  |  |  | 1.41 |  |  | Kinga |  | 3 | 3
2 | 120 | 4 | Valid | 2025-01-23 | 15:30 | 2025-01-23 | 14:41 | ERIKA |  | 105 | 102 | / | / | 0.417 |  |  |  | 1.39 |  |  | Kinga |  | 3 | 2
2 | 120 | 5 | Valid | 2025-01-23 | 15:32 | 2025-01-23 | 14:41 | ERIKA |  | 108 | 106 | / | / | 0.426 |  |  |  | 6.54 |  |  | Kinga |  | 3 | 2
2 | 120 | 6 | Valid | 2025-01-23 | 15:32 | 2025-01-23 | 14:41 | ERIKA |  | 107 | 105 | / | / |  |  |  |  | 6.54 |  |  | Kinga |  | 3 | 2
1 | 0 | 7 | Valid | 2025-01-23 | 15:33 | 2025-01-23 | 14:41 | ERIKA |  | 0 | 0 | / | / | -0.002 |  |  |  | 15.7 |  |  | Kinga |  | 3 | 1
1 | 0 | 8 | Valid | 2025-01-23 | 15:33 | 2025-01-23 | 14:41 | ERIKA |  | 0 | 0 | / | / | -0.004 |  |  |  | 1.60 |  |  | Kinga |  | 3 | 1
1 | 0 | 9 | Old A | 2025-01-23 | 15:33 | 2025-01-23 | 14:41 | ERIKA |  | 0 | 0 | / | / | -0.010 |  |  |  | 1.68 |  |  | Kinga |  | 3 | 1
3 | 480 | 10 | Valid | 2025-01-23 | 15:34 | 2025-01-23 | 14:41 | ERIKA |  | 443 | 435 | / | / | 1.690 |  |  |  | 1.19 |  |  | Kinga |  | 3 | 3
2 | 120 | 11 | Old A | 2025-01-23 | 15:35 | 2025-01-23 | 14:41 | ERIKA |  | 107 | 113 | / | / | 0.422 |  |  |  | 15.8 |  |  | Kinga |  | 3 | 2
2 | 120 | 12 | Old A | 2025-02-06 | 08:51 | 2025-02-06 | 06:10 | MARA | 1 | 111 | 109 | / | / | 0.437 |  |  |  | 10.8 |  |  | Kinga |  | 3 | 2
3 | 480 | 13 | Old A | 2025-02-06 | 08:56 | 2025-02-06 | 06:10 | MARA | 1 | 455 | 464 | / | / | 1.736 |  |  |  | 28.4 |  |  | Kinga |  | 3 | 3
1 | 0 | 14 | P/Prod | 2025-02-06 | 08:57 | 2025-02-06 | 06:10 | MARA | 1 | 2 | 0 | / | / | 0.035 |  |  |  | 11.0 |  |  | Kinga |  | 3 | 1
2 | 120 | 15 | P/Prod | 2025-02-06 | 08:58 | 2025-02-06 | 06:10 | MARA | 1 | 116 | 112 | / | / | 0.457 |  |  |  | 3.65 | 268 |  | Kinga |  | 3 | 2
2 | 120 | 16 | P/Prod | 2025-02-06 | 08:59 | 2025-02-06 | 06:10 | MARA | 1 | 115 | 112 | / | / | 0.453 | 3.044 |  |  | 2.55 | 287 |  | Kinga |  | 3 | 2
3 | 480 | 17 | P/Prod | 2025-02-06 | 09:00 | 2025-02-06 | 06:10 | MARA | 1 | 455 | 450 | / | / | 1.735 |  |  |  | 0.16 | 284 |  | Kinga |  | 3 | 3
3 | 480 | 18 | P/Prod | 2025-02-06 | 09:01 | 2025-02-06 | 06:10 | MARA | 1 | 458 | 452 | / | / | 1.746 | 3.004 |  |  | 21.6 | 282 |  | Kinga |  | 3 | 3
1 | 0 | 19 | P/Prod | 2025-02-06 | 09:02 | 2025-02-06 | 06:10 | MARA | 1 | 5 | 0 | / | / | 0.047 |  |  |  | 32.8 |  |  | Kinga |  | 3 | 1
1 | 0 | 20 | P/Prod | 2025-02-06 | 09:03 | 2025-02-06 | 06:10 | MARA | 1 | 2 | 0 | / | / | 0.034 | 2.974 |  |  | 44.8 |  |  | Kinga |  | 3 | 1
2 | 120 | 21 | P/Prod | 2025-02-06 | 09:20 | 2025-02-06 | 07:51 | TAMARA | 1 | 115 | 119 | / | / | 0.451 |  |  |  | 11.1 | 286 |  | Kinga |  | 3 | 2
2 | 120 | 22 | P/Prod | 2025-02-06 | 09:20 | 2025-02-06 | 07:51 | TAMARA | 1 | 115 | 111 | / | / | 0.454 | 3.148 |  |  | 5.00 | 280 |  | Kinga |  | 3 | 2
3 | 480 | 23 | P/Prod | 2025-02-06 | 09:22 | 2025-02-06 | 07:51 | TAMARA | 1 | 458 | 450 | / | / | 1.748 |  |  |  | 17.4 | 276 |  | Kinga |  | 3 | 3
3 | 480 | 24 | P/Prod | 2025-02-06 | 09:23 | 2025-02-06 | 07:51 | TAMARA | 1 | 456 | 449 | / | / | 1.738 | 3.180 |  |  | 2.01 | 270 |  | Kinga |  | 3 | 3
1 | 0 | 25 | P/Prod | 2025-02-06 | 09:24 | 2025-02-06 | 07:51 | TAMARA | 1 | 3 | 0 | / | / | 0.037 |  |  |  | 21.4 |  |  | Kinga |  | 3 | 1
1 | 0 | 26 | P/Prod | 2025-02-06 | 09:25 | 2025-02-06 | 07:51 | TAMARA | 1 | 4 | 0 | / | / | 0.042 | 3.216 |  |  | 44.5 |  |  | Kinga |  | 3 | 1
2 | 120 | 27 | P/Prod | 2025-02-06 | 15:25 | 2025-02-06 | 14:13 | MARA | 1 | 114 | 114 | / | / | 0.450 | 3.189 |  |  |  | 269 |  | Kinga |  | 3 | 2 | 95554
2 | 120 | 28 | P/Prod | 2025-02-06 | 15:26 | 2025-02-06 | 14:13 | MARA | 1 | 121 | 120 | / | / | 0.462 |  |  |  | 3.22 | 260 |  | Kinga |  | 3 | 2 | 95554
3 | 480 | 29 | P/Prod | 2025-02-06 | 15:27 | 2025-02-06 | 14:13 | MARA | 1 | 460 | 457 | / | / | 1.756 | 3.117 |  |  | 27.7 | 268 |  | Kinga |  | 3 | 3 | 95554
3 | 480 | 30 | P/Prod | 2025-02-06 | 15:30 | 2025-02-06 | 14:13 | MARA | 1 | 474 | 470 | / | / | 1.809 |  |  |  | 29.8 | 256 |  | Kinga |  | 3 | 3 | 95554
1 | 0 | 31 | P/Prod | 2025-02-06 | 15:31 | 2025-02-06 | 14:13 | MARA | 1 | 2 | 0 | / | / | 0.033 | 3.196 |  |  | 36.2 |  |  | Kinga |  | 3 | 1 | 95554
1 | 0 | 32 | P/Prod | 2025-02-06 | 15:31 | 2025-02-06 | 14:13 | MARA | 1 | 1 | 0 | / | / | 0.031 |  |  |  | 5.85 |  |  | Kinga |  | 3 | 1 | 95554
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 457 µg/L | 6 | 12 | 457 µg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 115 µg/L | 6 | 12 | 115 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 1 µg/L | 7 | 14 | 1 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 1 | YES
120 | 107 ÷ 133 | 115 | YES
480 | 441 ÷ 519 | 457 | YES
Validation Date | by
Laura