## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1119 | HI93707-0 | CP-R31 | W 29/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite LR Reagent | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-18 | 2025-07-28 | 1 HEAD |  |  | 0975
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 120 | 107 | 133 |  | MR102 |  | 5 | & | 7% | 100% |  | 3.0 | 2.9 | 3.1
3 | 480 | 441 | 519
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 120 | 1 | Old A | 2025-07-18 | 09:31 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 112 | 113 | / | / | 0.443 |  |  |  | 121 |  |  | Kinga |  | 3 | 2 | 81754112
2 | 120 | 2 | Old A | 2025-07-18 | 09:32 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 115 | 123 | / | / | 0.452 |  |  |  | 102 |  |  | Kinga |  | 3 | 2 | 81754112
3 | 480 | 3 | Old A | 2025-07-18 | 09:33 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 454 | 469 | / | / | 1.731 |  |  |  | 70.9 |  |  | Kinga |  | 3 | 3 | 81754112
3 | 480 | 4 | Old A | 2025-07-18 | 09:33 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 457 | 467 | / | / | 1.742 |  |  |  | 64.1 |  |  | Kinga |  | 3 | 3 | 81754112
1 | 0 | 5 | Old A | 2025-07-18 | 09:34 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 4 | 2 | / | / | 0.042 |  |  |  | 106 |  |  | Kinga |  | 3 | 1 | 81754112
2 | 120 | 6 | Valid | 2025-07-18 | 09:36 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 128 | 133 | / | / | 0.501 |  |  |  | 105 |  |  | Kinga |  | 3 | 2 | 81754112
2 | 120 | 7 | Valid | 2025-07-18 | 09:37 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 126 | 130 | / | / | 0.493 | 3.009 |  |  | 79.1 |  |  | Kinga |  | 3 | 2 | 81754112
2 | 120 | 8 | Valid | 2025-07-18 | 09:38 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 127 | 128 | / | / | 0.497 |  |  |  | 84.9 |  |  | Kinga |  | 3 | 2 | 81754112
3 | 480 | 9 | Valid | 2025-07-18 | 09:39 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 458 | 453 | / | / | 1.747 |  |  |  | 70.3 |  |  | Kinga |  | 3 | 3 | 81754112
3 | 480 | 10 | Valid | 2025-07-18 | 09:39 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 461 | 475 | / | / | 1.760 | 3.053 |  |  | 70.1 |  |  | Kinga |  | 3 | 3 | 81754112
3 | 480 | 11 | Valid | 2025-07-18 | 09:40 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 461 | 453 | / | / | 1.759 |  |  |  | 13.4 |  |  | Kinga |  | 3 | 3 | 81754112
1 | 0 | 12 | Valid | 2025-07-18 | 09:41 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 5 | 0 | / | / | 0.047 |  |  |  | 104 |  |  | Kinga |  | 3 | 1 | 81754112
1 | 0 | 13 | Valid | 2025-07-18 | 09:41 | 2025-07-18 | 08:42 | ERIKA/MARK |  | 4 | 0 | / | / | 0.042 | 3.030 |  |  | 34.4 |  |  | Kinga |  | 3 | 1 | 81754112
1 | 0 | 14 | Old A | 2025-07-25 | 13:58 | 2025-07-25 | 11:17 | IRINA |  | 5 | 4 | / | / | 0.047 |  |  |  | 3.93 |  |  | Andrea V |  | 3 | 1 | 81754
1 | 0 | 15 | Old A | 2025-07-25 | 13:59 | 2025-07-25 | 11:17 | IRINA |  | 4 | 2 | / | / | 0.042 | 3.111 |  |  | 2.75 |  |  | Andrea V |  | 3 | 1 | 81754
2 | 120 | 16 | Old A | 2025-07-25 | 14:00 | 2025-07-25 | 11:17 | IRINA |  | 116 | 117 | / | / | 0.457 | 3.115 |  |  | 6.97 |  |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 17 | Old A | 2025-07-25 | 14:00 | 2025-07-25 | 11:17 | IRINA |  | 117 | 117 | / | / | 0.461 |  |  |  | 7.21 |  |  | Andrea V |  | 3 | 2 | 81754
3 | 480 | 18 | Old A | 2025-07-25 | 14:06 | 2025-07-25 | 11:17 | IRINA |  | 470 | 464 | / | / | 1.794 |  |  |  | 5.78 |  |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 19 | Old A | 2025-07-25 | 14:06 | 2025-07-25 | 11:17 | IRINA |  | 467 | 461 | / | / | 1.782 |  |  |  | 5.74 |  |  | Andrea V |  | 3 | 3 | 81754
1 | 0 | 20 | P/FINAL | 2025-07-25 | 14:07 | 2025-07-25 | 11:17 | IRINA |  | 1 | 0 | / | / | 0.032 |  |  |  | 1.26 |  |  | Andrea V |  | 3 | 1 | 81754
1 | 0 | 21 | P/FINAL | 2025-07-25 | 14:08 | 2025-07-25 | 11:17 | IRINA |  | 1 | 0 | / | / | 0.029 | 3.270 |  |  | 2.10 |  |  | Andrea V |  | 3 | 1 | 81754
2 | 120 | 22 | P/FINAL | 2025-07-25 | 14:10 | 2025-07-25 | 11:17 | IRINA |  | 128 | 127 | / | / | 0.503 |  |  |  | 36.3 | 280 |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 23 | P/FINAL | 2025-07-25 | 14:12 | 2025-07-25 | 11:17 | IRINA |  | 122 | 122 | / | / | 0.478 | 3.155 |  |  | 28.7 | 286 |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 24 | P/FINAL | 2025-07-25 | 14:13 | 2025-07-25 | 11:17 | IRINA |  | 131 | 128 | / | / | 0.513 |  |  |  | 34.5 | 285 |  | Andrea V |  | 3 | 2 | 81754
3 | 480 | 25 | P/FINAL | 2025-07-25 | 14:14 | 2025-07-25 | 11:17 | IRINA |  | 472 | 462 | / | / | 1.800 |  |  |  | 2.33 | 270 |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 26 | P/FINAL | 2025-07-25 | 14:14 | 2025-07-25 | 11:17 | IRINA |  | 471 | 464 | / | / | 1.798 | 3.151 |  |  | 2.76 | 283 |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 27 | P/FINAL | 2025-07-25 | 14:15 | 2025-07-25 | 11:17 | IRINA |  | 472 | 468 | / | / | 1.799 |  |  |  | 4.35 |  |  | Andrea V |  | 3 | 3 | 81754
1 | 0 | 28 | P/FINAL | 2025-07-25 | 15:14 | 2025-07-25 | 14:38 | MARA | 1 | 0 | 0 | / | / | 0.026 | 3.163 |  |  | 11.1 |  |  | Andrea V |  | 3 | 1 | 81754
1 | 0 | 29 | P/FINAL | 2025-07-25 | 15:15 | 2025-07-25 | 14:38 | MARA | 1 | 0 | 0 | / | / | 0.023 |  |  |  | 1.30 |  |  | Andrea V |  | 3 | 1 | 81754
2 | 120 | 30 | P/FINAL | 2025-07-25 | 15:17 | 2025-07-25 | 14:38 | MARA | 1 | 130 | 127 | / | / | 0.508 |  |  |  | 41.0 | 303 |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 31 | P/FINAL | 2025-07-25 | 15:18 | 2025-07-25 | 14:38 | MARA | 1 | 127 | 129 | / | / | 0.499 | 3.168 |  |  | 44.6 | 307 |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 32 | P/FINAL | 2025-07-25 | 15:18 | 2025-07-25 | 14:38 | MARA | 1 | 120 | 128 | / | / | 0.471 |  |  |  | 37.2 | 309 |  | Andrea V |  | 3 | 2 | 81754
3 | 480 | 33 | P/FINAL | 2025-07-25 | 15:19 | 2025-07-25 | 14:38 | MARA | 1 | 471 | 459 | / | / | 1.798 |  |  |  | 2.50 | 298 |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 34 | P/FINAL | 2025-07-25 | 15:20 | 2025-07-25 | 14:38 | MARA | 1 | 466 | 455 | / | / | 1.777 | 3.176 |  |  | 3.77 |  |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 35 | P/FINAL | 2025-07-25 | 15:20 | 2025-07-25 | 14:38 | MARA | 1 | 471 | 460 | / | / | 1.796 |  |  |  | 5.86 |  |  | Andrea V |  | 3 | 3 | 81754
1 | 0 | 36 | Old A | 2025-07-28 | 08:45 | 2025-07-28 | 06:35 | MARA |  | 0 | 0 | / | / | 0.023 |  |  |  | 2.81 |  |  | Andrea V |  | 3 | 1 | 81754
1 | 0 | 37 | Old A | 2025-07-28 | 08:46 | 2025-07-28 | 06:35 | MARA |  | 1 | 4 | / | / | 0.029 |  |  |  | 14.1 |  |  | Andrea V |  | 3 | 1 | 81754
3 | 480 | 38 | Old A | 2025-07-28 | 08:47 | 2025-07-28 | 06:35 | MARA |  | 472 | 462 | / | / | 1.800 |  |  |  | 1.76 |  |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 39 | Old A | 2025-07-28 | 08:48 | 2025-07-28 | 06:35 | MARA |  | 475 | 466 | / | / | 1.812 |  |  |  | 1.66 |  |  | Andrea V |  | 3 | 3 | 81754
2 | 120 | 40 | Old A | 2025-07-28 | 08:49 | 2025-07-28 | 06:35 | MARA |  | 122 | 128 | / | / | 0.479 |  |  |  | 33.6 |  |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 41 | Old A | 2025-07-28 | 08:50 | 2025-07-28 | 06:35 | MARA |  | 124 | 127 | / | / | 0.488 |  |  |  | 35.4 |  |  | Andrea V |  | 3 | 2 | 81754
1 | 0 | 42 | P/FINAL | 2025-07-28 | 08:51 | 2025-07-28 | 06:35 | MARA |  | 0 | 0 | / | / | 0.015 |  |  |  | 1.26 |  |  | Andrea V |  | 3 | 1 | 81754
1 | 0 | 43 | P/FINAL | 2025-07-28 | 08:52 | 2025-07-28 | 06:35 | MARA |  | 0 | 0 | / | / | 0.017 | 3.141 |  |  | 1.19 |  |  | Andrea V |  | 3 | 1 | 81754
2 | 120 | 44 | P/FINAL | 2025-07-28 | 08:55 | 2025-07-28 | 06:35 | MARA |  | 124 | 124 | / | / | 0.486 |  |  |  | 29.2 | 261 |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 45 | P/FINAL | 2025-07-28 | 08:56 | 2025-07-28 | 06:35 | MARA |  | 119 | 114 | / | / | 0.467 | 3.135 |  |  | 24.9 | 264 |  | Andrea V |  | 3 | 2 | 81754
2 | 120 | 46 | P/FINAL | 2025-07-28 | 08:57 | 2025-07-28 | 06:35 | MARA |  | 119 | 125 | / | / | 0.468 |  |  |  | 30.4 | 277 |  | Andrea V |  | 3 | 2 | 81754
3 | 480 | 47 | P/FINAL | 2025-07-28 | 08:57 | 2025-07-28 | 06:35 | MARA |  | 467 | 458 | / | / | 1.783 | 3.129 |  |  | 1.64 | 265 |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 48 | P/FINAL | 2025-07-28 | 08:58 | 2025-07-28 | 06:35 | MARA |  | 465 | 456 | / | / | 1.774 |  |  |  | 1.11 | 253 |  | Andrea V |  | 3 | 3 | 81754
3 | 480 | 49 | P/FINAL | 2025-07-28 | 08:59 | 2025-07-28 | 06:35 | MARA |  | 468 | 460 | / | / | 1.787 |  |  |  | 21.6 | 266 |  | Andrea V |  | 3 | 3 | 81754
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 125 µg/L | 9 | 18 | 125 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 465 µg/L | 9 | 18 | 465 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 µg/L | 6 | 12 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
120 | 107 ÷ 133 | 125 | YES
480 | 441 ÷ 519 | 465 | YES
Validation Date | by