## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1233 | HI93707-0 | CP-R31 | W 46/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite LR Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-10 | 2025-11-13 | 1 HEAD |  |  | 0975
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 120 | 107 | 133 |  | MR102 |  | 5 | & | 7% | 100% |  | 3.0 | 2.9 | 3.1
3 | 480 | 441 | 519
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97707 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 120 | 1 | Old A | 2025-11-11 | 08:37 | 2025-11-10 | 15:39 | ERIKA |  | 116 | 129 | / | / | 0.459 |  |  |  | 45.7 |  |  | Kinga |  | 3 | 2
2 | 120 | 2 | Old A | 2025-11-11 | 08:39 | 2025-11-10 | 15:39 | ERIKA |  | 117 | 118 | / | / | 0.460 |  |  |  | 12.8 |  |  | Kinga |  | 3 | 2
3 | 480 | 3 | Old A | 2025-11-11 | 08:41 | 2025-11-10 | 15:39 | ERIKA |  | 457 | 457 | / | / | 1.743 |  |  |  | 111 |  |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 4 | Old A | 2025-11-11 | 08:41 | 2025-11-10 | 15:39 | ERIKA |  | 452 | 448 | / | / | 1.724 |  |  |  | 67.8 |  |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 5 | Old A | 2025-11-11 | 08:45 | 2025-11-10 | 15:39 | ERIKA |  | 6 | 3 | / | / | 0.049 |  |  |  | 55.6 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 6 | Old A | 2025-11-11 | 08:45 | 2025-11-10 | 15:39 | ERIKA |  | 5 | 4 | / | / | 0.023 |  |  |  | 51.2 |  |  | Kinga |  | 3 | 1 | 114842
2 | 120 | 7 | Valid | 2025-11-11 | 08:46 | 2025-11-10 | 15:39 | ERIKA |  | 108 | 120 | / | / | 0.429 |  |  |  | 1.46 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 8 | Valid | 2025-11-11 | 08:47 | 2025-11-10 | 15:39 | ERIKA |  | 110 | 109 | / | / | 0.434 |  |  |  | 45.3 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 9 | Valid | 2025-11-11 | 08:47 | 2025-11-10 | 15:39 | ERIKA |  | 113 | 121 | / | / | 0.439 | 3.075 |  |  | 33.1 |  |  | Kinga |  | 3 | 2 | 114842
3 | 480 | 10 | Valid | 2025-11-11 | 08:58 | 2025-11-10 | 15:39 | ERIKA |  | 464 | 452 | / | / | 1.769 |  |  |  | 1.19 |  |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 11 | Valid | 2025-11-11 | 08:59 | 2025-11-10 | 15:39 | ERIKA |  | 467 | 458 | / | / | 1.783 |  |  |  | 1.80 |  |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 12 | Valid | 2025-11-11 | 08:59 | 2025-11-10 | 15:39 | ERIKA |  | 466 | 458 | / | / | 1.778 | 3.000 |  |  | 15.0 |  |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 13 | Valid | 2025-11-11 | 09:03 | 2025-11-10 | 15:39 | ERIKA |  | 2 | 0 | / | / | 0.030 |  |  |  | 45.2 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 14 | Valid | 2025-11-11 | 09:03 | 2025-11-10 | 15:39 | ERIKA |  | 1 | 3 | / | / | 0.030 | 3.008 |  |  | 45.6 |  |  | Kinga |  | 3 | 1 | 114842
3 | 480 | 15 | Old A | 2025-11-13 | 09:23 | 2025-11-13 | 06:22 | TAMARA | 1 | 447 | 444 | / | / | 1.705 |  |  |  | 14.9 |  |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 16 | Old A | 2025-11-13 | 09:24 | 2025-11-13 | 06:22 | TAMARA | 1 | 447 | 445 | / | / | 1.709 |  |  |  | 11.2 |  |  | Kinga |  | 3 | 3 | 114842
2 | 120 | 17 | Old A | 2025-11-13 | 09:24 | 2025-11-13 | 06:22 | TAMARA | 1 | 107 | 110 | / | / | 0.423 |  |  |  | 31.3 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 18 | Old A | 2025-11-13 | 09:26 | 2025-11-13 | 06:22 | TAMARA | 1 | 110 | 112 | / | / | 0.432 |  |  |  | 46.1 |  |  | Kinga |  | 3 | 2 | 114842
1 | 0 | 19 | Old A | 2025-11-13 | 09:26 | 2025-11-13 | 06:22 | TAMARA | 1 | 0 | 0 | / | / | 0.023 |  |  |  | 5.07 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 20 | Old A | 2025-11-13 | 09:26 | 2025-11-13 | 06:22 | TAMARA | 1 | 0 | 0 | / | / | 0.021 |  |  |  | 46.4 |  |  | Kinga |  | 3 | 1 | 114842
2 | 120 | 21 | P/FINAL | 2025-11-13 | 09:29 | 2025-11-13 | 06:22 | TAMARA | 1 | 125 | 112 | / | / | 0.492 |  |  |  | 86.6 | 274 |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 22 | P/FINAL | 2025-11-13 | 09:30 | 2025-11-13 | 06:22 | TAMARA | 1 | 121 | 108 | / | / | 0.474 |  |  |  | 58.5 | 282 |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 23 | P/FINAL | 2025-11-13 | 09:31 | 2025-11-13 | 06:22 | TAMARA | 1 | 124 | 110 | / | / | 0.479 |  |  |  | 51.4 | 282 |  | Kinga |  | 3 | 2 | 114842
3 | 480 | 24 | P/FINAL | 2025-11-13 | 09:34 | 2025-11-13 | 06:22 | TAMARA | 1 | 455 | 447 | / | / | 1.736 |  |  |  | 52.7 | 272 |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 25 | P/FINAL | 2025-11-13 | 09:35 | 2025-11-13 | 06:22 | TAMARA | 1 | 458 | 447 | / | / | 1.749 |  |  |  | 79.1 | 279 |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 26 | P/FINAL | 2025-11-13 | 09:36 | 2025-11-13 | 06:22 | TAMARA | 1 | 467 | 455 | / | / | 1.781 |  |  |  | 24.3 |  |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 27 | P/FINAL | 2025-11-13 | 09:36 | 2025-11-13 | 06:22 | TAMARA | 1 | 1 | 0 | / | / | 0.030 |  |  |  | 82.7 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 28 | P/FINAL | 2025-11-13 | 09:37 | 2025-11-13 | 06:22 | TAMARA | 1 | 1 | 0 | / | / | 0.029 |  |  |  | 82.7 |  |  | Kinga |  | 3 | 1 | 114842
2 | 120 | 29 | P/FINAL | 2025-11-13 | 15:33 | 2025-11-13 | 14:35 | MARA | 1 | 112 | 108 | / | / | 0.456 |  |  |  | 77.5 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 30 | P/FINAL | 2025-11-13 | 15:34 | 2025-11-13 | 14:35 | MARA | 1 | 116 | 109 | / | / | 0.456 | 3.021 |  |  | 73.4 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 31 | P/FINAL | 2025-11-13 | 15:34 | 2025-11-13 | 14:35 | MARA | 1 | 129 | 114 | / | / | 0.504 |  |  |  | 34.4 | 281 |  | Kinga |  | 3 | 2 | 114842
3 | 480 | 32 | P/FINAL | 2025-11-13 | 15:35 | 2025-11-13 | 14:35 | MARA | 1 | 481 | 485 | / | / | 1.833 |  |  |  | 76.1 | 268 |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 33 | P/FINAL | 2025-11-13 | 15:35 | 2025-11-13 | 14:35 | MARA | 1 | 478 | 462 | / | / | 1.825 | 3.013 |  |  | 50.8 | 269 |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 34 | P/FINAL | 2025-11-13 | 15:36 | 2025-11-13 | 14:35 | MARA | 1 | 478 | 463 | / | / | 1.824 |  |  |  | 22.5 | 280 |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 35 | P/FINAL | 2025-11-13 | 15:37 | 2025-11-13 | 14:35 | MARA | 1 | 0 | 0 | / | / | 0.023 |  |  |  | 7.29 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 36 | P/FINAL | 2025-11-13 | 15:38 | 2025-11-13 | 14:35 | MARA | 1 | 0 | 4 | / | / | 0.019 | 3.015 |  |  | 71.5 |  |  | Kinga |  | 3 | 1 | 114842
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 116 µg/L | 6 | 12 | 116 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 465 µg/L | 6 | 12 | 465 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 1 µg/L | 4 | 8 | 1 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 1 | YES
120 | 107 ÷ 133 | 116 | YES
480 | 441 ÷ 519 | 465 | YES
Validation Date | by