## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
1309 | HI93707-0 | CP-R31 | W 40/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite LR Reagent | 2031-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-20 | 2026-01-22 | 1 HEAD |  |  | 1233
[6 empty] | Expiration A | Expiration B | Expiration D
2030-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 120 | 107 | 133 |  | MR102 |  | 5 | & | 7% | 100% |  | 3.0 | 2.9 | 3.1
3 | 480 | 441 | 519
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97707 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 120 | 1 | Old A | 2026-01-20 | 09:34 | 2026-01-20 | 08:36 | ERIKA |  | 125 | 120 | / | / | 0.492 |  |  |  | 31.5 |  |  | Kinga |  | 3 | 2
2 | 120 | 2 | Old A | 2026-01-20 | 09:35 | 2026-01-20 | 08:36 | ERIKA |  | 122 | 119 | / | / | 0.479 |  |  |  | 23.7 |  |  | Kinga |  | 3 | 2
3 | 480 | 3 | Old A | 2026-01-20 | 09:39 | 2026-01-20 | 08:36 | ERIKA |  | 472 | 460 | / | / | 1.802 |  |  |  | 2.43 |  |  | Kinga |  | 3 | 3
3 | 480 | 4 | Old A | 2026-01-20 | 09:39 | 2026-01-20 | 08:36 | ERIKA |  | 474 | 466 | / | / | 1.808 |  |  |  | 3.92 |  |  | Kinga |  | 3 | 3
1 | 0 | 5 | Old A | 2026-01-20 | 09:40 | 2026-01-20 | 08:36 | ERIKA |  | 1 | 0 | / | / | 0.029 |  |  |  | 2.94 |  |  | Kinga |  | 3 | 1
1 | 0 | 6 | Old A | 2026-01-20 | 09:40 | 2026-01-20 | 08:36 | ERIKA |  | 0 | 0 | / | / | 0.027 |  |  |  | 1.84 |  |  | Kinga |  | 3 | 1
2 | 120 | 7 | Valid | 2026-01-20 | 10:06 | 2026-01-20 | 08:36 | ERIKA |  | 110 | 110 | / | / | 0.434 |  |  |  | 1.42 |  |  | Andrea V |  | 3 | 2
2 | 120 | 8 | Valid | 2026-01-20 | 10:06 | 2026-01-20 | 08:36 | ERIKA |  | 110 | 110 | / | / | 0.434 |  |  |  | 1.42 |  |  | Andrea V |  | 3 | 2
3 | 480 | 9 | Valid | 2026-01-20 | 10:07 | 2026-01-20 | 08:36 | ERIKA |  | 456 | 455 | / | / | 1.740 |  |  |  | 1.10 |  |  | Andrea V |  | 3 | 3 | 114842
3 | 480 | 10 | Valid | 2026-01-20 | 10:07 | 2026-01-20 | 08:36 | ERIKA |  | 455 | 454 | / | / | 1.737 |  |  |  | 2.52 |  |  | Andrea V |  | 3 | 3 | 114842
1 | 0 | 11 | Valid | 2026-01-20 | 10:09 | 2026-01-20 | 08:36 | ERIKA |  | 8 | 7 | / | / | 0.056 |  |  |  | 1.16 |  |  | Andrea V |  | 3 | 1 | 114842
1 | 0 | 12 | Valid | 2026-01-20 | 10:09 | 2026-01-20 | 08:36 | ERIKA |  | 8 | 8 | / | / | 0.058 |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 1 | 114842
1 | 0 | 13 | Valid | 2026-01-20 | 12:42 | 2026-01-20 | 12:05 | EVELIN |  | 10 | 11 | / | / | 0.063 |  |  |  | 0.93 | 288 |  | Andrea V |  | 3 | 1
1 | 0 | 14 | Valid | 2026-01-20 | 12:43 | 2026-01-20 | 12:05 | EVELIN |  | 10 | 10 | / | / | 0.065 |  |  |  | 0.91 | 283 |  | Andrea V |  | 3 | 1
2 | 120 | 15 | Valid | 2026-01-20 | 14:02 | 2026-01-20 | 12:05 | EVELIN |  | 114 | 114 | / | / | 0.448 |  |  |  | 1.85 |  |  | Andrea V |  | 3 | 2 | 114842
2 | 120 | 16 | Valid | 2026-01-20 | 14:03 | 2026-01-20 | 12:05 | EVELIN |  | 111 | 112 | / | / | 0.440 |  |  |  | 2.86 |  |  | Andrea V |  | 3 | 2 | 114842
3 | 480 | 17 | Valid | 2026-01-20 | 14:05 | 2026-01-20 | 12:05 | EVELIN |  | 461 | 460 | / | / | 1.759 |  |  |  | 2.52 |  |  | Andrea V |  | 3 | 3 | 114842
3 | 480 | 18 | Valid | 2026-01-20 | 14:05 | 2026-01-20 | 12:05 | EVELIN |  | 462 | 460 | / | / | 1.763 |  |  |  | 1.96 |  |  | Andrea V |  | 3 | 3 | 114842
1 | 0 | 19 | Valid | 2026-01-20 | 14:06 | 2026-01-20 | 12:05 | EVELIN |  | 9 | 9 | / | / | 0.060 |  |  |  | 0.95 |  |  | Andrea V |  | 3 | 1 | 114842
2 | 120 | 20 | P/FINAL | 2026-01-22 | 09:25 | 2026-01-21 | 14:54 | MARA | 1 | 112 | 114 | / | / | 0.443 |  |  |  | 1.73 | 265 |  | Andrea V |  | 3 | 2
2 | 120 | 21 | P/FINAL | 2026-01-22 | 09:26 | 2026-01-21 | 14:54 | MARA | 1 | 113 | 114 | / | / | 0.447 |  |  |  | 1.09 | 264 |  | Andrea V |  | 3 | 2
2 | 120 | 22 | P/FINAL | 2026-01-22 | 09:27 | 2026-01-21 | 14:54 | MARA | 1 | 114 | 128 | / | / | 0.449 | 3.0901 |  |  | 19.1 |  |  | Andrea V |  | 3 | 2
3 | 480 | 23 | P/FINAL | 2026-01-22 | 09:28 | 2026-01-21 | 14:54 | MARA | 1 | 468 | 466 | / | / | 1.787 |  |  |  | 0.84 | 302 |  | Andrea V |  | 3 | 3
3 | 480 | 24 | P/FINAL | 2026-01-22 | 09:28 | 2026-01-21 | 14:54 | MARA | 1 | 470 | 471 | / | / | 1.794 |  |  |  | 3.21 | 259 |  | Andrea V |  | 3 | 3
3 | 480 | 25 | P/FINAL | 2026-01-22 | 09:30 | 2026-01-21 | 14:54 | MARA | 1 | 470 | 468 | / | / | 1.794 | 3.053 |  |  | 1.02 |  |  | Andrea V |  | 3 | 3
1 | 0 | 26 | P/FINAL | 2026-01-22 | 09:30 | 2026-01-21 | 14:54 | MARA | 1 | 8 | 7 | / | / | 0.055 |  |  |  | 1.03 | 270 |  | Andrea V |  | 3 | 1
1 | 0 | 27 | P/FINAL | 2026-01-22 | 09:31 | 2026-01-21 | 14:54 | MARA | 1 | 7 | 6 | / | / | 0.052 | 3.073 |  |  | 1.11 | 247 |  | Andrea V |  | 3 | 1
2 | 120 | 28 | P/FINAL | 2026-01-22 | 09:37 | 2026-01-22 | 07:22 | TAMARA | 1 | 113 | 124 | / | / | 0.447 |  |  |  | 10.2 | 252 |  | Andrea V |  | 3 | 2
2 | 120 | 29 | P/FINAL | 2026-01-22 | 09:38 | 2026-01-22 | 07:22 | TAMARA | 1 | 112 | 112 | / | / | 0.441 | 3.064 |  |  | 0.82 | 260 |  | Andrea V |  | 3 | 2
2 | 120 | 30 | P/FINAL | 2026-01-22 | 09:38 | 2026-01-22 | 07:22 | TAMARA | 1 | 112 | 113 | / | / | 0.444 |  |  |  | 1.78 |  |  | Andrea V |  | 3 | 2
3 | 480 | 31 | P/FINAL | 2026-01-22 | 09:39 | 2026-01-22 | 07:22 | TAMARA | 1 | 469 | 466 | / | / | 1.790 |  |  |  | 0.92 | 264 |  | Andrea V |  | 3 | 3 | 114842
3 | 480 | 32 | P/FINAL | 2026-01-22 | 09:40 | 2026-01-22 | 07:22 | TAMARA | 1 | 468 | 468 | / | / | 1.786 | 3.055 |  |  | 0.96 | 268 |  | Andrea V |  | 3 | 3 | 114842
3 | 480 | 33 | P/FINAL | 2026-01-22 | 09:40 | 2026-01-22 | 07:22 | TAMARA | 1 | 465 | 465 | / | / | 1.772 |  |  |  | 5.67 |  |  | Andrea V |  | 3 | 3 | 114842
1 | 0 | 34 | P/FINAL | 2026-01-22 | 09:41 | 2026-01-22 | 07:22 | TAMARA | 1 | 9 | 7 | / | / | 0.060 |  |  |  | 1.75 | 267 |  | Andrea V |  | 3 | 1 | 114842
1 | 0 | 35 | P/FINAL | 2026-01-22 | 09:41 | 2026-01-22 | 07:22 | TAMARA | 1 | 9 | 9 | / | / | 0.062 | 3.092 |  |  | 1.07 | 255 |  | Andrea V |  | 3 | 1 | 114842
2 | 120 | 36 | Old A | 2026-01-22 | 10:00 | 2026-01-22 | 07:22 | TAMARA | 1 | 113 | 116 | / | / | 0.447 |  |  |  | 22.3 |  |  | Andrea V |  | 3 | 2 | 114842
2 | 120 | 37 | Old A | 2026-01-22 | 10:00 | 2026-01-22 | 07:22 | TAMARA | 1 | 113 | 112 | / | / | 0.447 |  |  |  | 9.43 |  |  | Andrea V |  | 3 | 2 | 114842
3 | 480 | 38 | Old A | 2026-01-22 | 10:01 | 2026-01-22 | 07:22 | TAMARA | 1 | 481 | 476 | / | / | 1.836 |  |  |  | 21.9 |  |  | Andrea V |  | 3 | 3 | 114842
3 | 480 | 39 | Old A | 2026-01-22 | 10:02 | 2026-01-22 | 07:22 | TAMARA | 1 | 476 | 467 | / | / | 1.817 |  |  |  | 15.3 |  |  | Andrea V |  | 3 | 3 | 114842
1 | 0 | 40 | Old A | 2026-01-22 | 10:02 | 2026-01-22 | 07:22 | TAMARA | 1 | 0 | 0 | / | / | 0.023 |  |  |  | 2.47 |  |  | Andrea V |  | 3 | 1 | 114842
1 | 0 | 41 | Old A | 2026-01-22 | 10:03 | 2026-01-22 | 07:22 | TAMARA | 1 | 2 | 0 | / | / | 0.036 |  |  |  | 1.32 |  |  | Andrea V |  | 3 | 1 | 114842
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 115 µg/L | 6 | 12 | 115 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 468 µg/L | 6 | 12 | 468 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 8 µg/L | 4 | 8 | 8 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 8 | NO
120 | 107 ÷ 133 | 115 | YES
480 | 441 ÷ 519 | 468 | YES
Validation Date | by