## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI3873-0 | HI707-0 | HI764-0 | HI767-0 | HI93707-0 | HI96789-0
TEST | HI93707-0 | CP-R31 | W 46/1 |  | Parameter Formula | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2 | N-NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite LR Reagent | 2030-11-01 | L57 Powder |  |  | Laboratory | YABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
285 | 275 | 295
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 µg/L | 600 µg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-10 |  |  |  |  | 0975
[6 empty] | Expiration A | Expiration B | Expiration D
2030-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97707 | CTO-630
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | µg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 120 | 107 | 133 |  | MR102 |  | 5 | & | 7% | 100% |  | 3.0 | 2.9 | 3.1
3 | 480 | 441 | 519
1 | 0 | 0 | 5
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 120 | 1 | Old A | 2025-11-10 | 12:16 | 2025-11-10 | 11:36 | ERIKA |  | 115 | 115 | / | / | 0.453 |  |  |  | 8.13 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 2 | Old A | 2025-11-10 | 12:17 | 2025-11-10 | 11:36 | ERIKA |  | 114 | 115 | / | / | 0.449 |  |  |  | 40.5 |  |  | Kinga |  | 3 | 2 | 114842
3 | 480 | 3 | Old A | 2025-11-10 | 12:19 | 2025-11-10 | 11:36 | ERIKA |  | 453 | 445 | / | / | 1.730 |  |  |  | 6.38 |  |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 4 | Old A | 2025-11-10 | 12:19 | 2025-11-10 | 11:36 | ERIKA |  | 462 | 456 | / | / | 1.764 |  |  |  | 10.5 |  |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 5 | Old A | 2025-11-10 | 12:24 | 2025-11-10 | 11:36 | ERIKA |  | 7 | 5 | / | / | 0.052 |  |  |  | 5.83 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 6 | Old A | 2025-11-10 | 12:25 | 2025-11-10 | 11:36 | ERIKA |  | 4 | 1 | / | / | 0.043 |  |  |  | 6.71 |  |  | Kinga |  | 3 | 1 | 114842
2 | 120 | 7 | Test | 2025-11-10 | 12:27 | 2025-11-10 | 11:36 | ERIKA |  | 111 | 104 | / | / | 0.432 | 3.072 |  |  | 2.59 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 8 | Test | 2025-11-10 | 12:27 | 2025-11-10 | 11:36 | ERIKA |  | 109 | 105 | / | / | 0.432 |  |  |  | 1.03 |  |  | Kinga |  | 3 | 2 | 114842
3 | 480 | 9 | Test | 2025-11-10 | 12:32 | 2025-11-10 | 11:36 | ERIKA |  | 475 | 460 | / | / | 1.811 |  |  |  | 2.36 |  |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 10 | Test | 2025-11-10 | 12:34 | 2025-11-10 | 11:36 | ERIKA |  | 477 | 463 | / | / | 1.819 | 3.164 |  |  | 2.66 |  |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 11 | Test | 2025-11-10 | 12:35 | 2025-11-10 | 11:36 | ERIKA |  | 0 | 0 | / | / | 0.023 |  |  |  | 2.39 |  |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 12 | Test | 2025-11-10 | 12:35 | 2025-11-10 | 11:36 | ERIKA |  | 0 | 0 | / | / | 0.021 |  |  |  | 1.42 |  |  | Kinga |  | 3 | 1 | 114842
2 | 120 | 13 | Test | 2025-11-10 | 12:44 | 2025-11-10 | 11:36 | ERIKA |  | 111 | 107 | / | / | 0.439 |  |  |  | 1.22 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 14 | Test | 2025-11-10 | 12:45 | 2025-11-10 | 11:36 | ERIKA |  | 111 | 106 | / | / | 0.440 |  |  |  | 1.00 |  |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 15 | Test | 2025-11-10 | 14:36 | 2025-11-10 | 11:36 | ERIKA |  | 110 | 106 | / | / | 0.436 |  |  |  | 25.1 | 295 |  | Kinga |  | 3 | 2 | 114842
2 | 120 | 16 | Test | 2025-11-10 | 14:37 | 2025-11-10 | 11:36 | ERIKA |  | 111 | 106 | / | / | 0.440 |  |  |  | 31.9 | 294 |  | Kinga |  | 3 | 2 | 114842
3 | 480 | 17 | Test | 2025-11-10 | 14:38 | 2025-11-10 | 11:36 | ERIKA |  | 474 | 465 | / | / | 1.809 |  |  |  | 60.8 | 297 |  | Kinga |  | 3 | 3 | 114842
3 | 480 | 18 | Test | 2025-11-10 | 14:39 | 2025-11-10 | 11:36 | ERIKA |  | 483 | 467 | / | / | 1.844 |  |  |  | 5.79 | 299 |  | Kinga |  | 3 | 3 | 114842
1 | 0 | 19 | Test | 2025-11-10 | 14:42 | 2025-11-10 | 11:36 | ERIKA |  | 1 | 0 | / | / | 0.032 |  |  |  | 57.5 | 296 |  | Kinga |  | 3 | 1 | 114842
1 | 0 | 20 | Test | 2025-11-10 | 14:44 | 2025-11-10 | 11:36 | ERIKA |  | 2 | 1 | / | / | 0.029 |  |  |  | 17.9 | 296 |  | Kinga |  | 3 | 1 | 114842
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
0 | 0 | 0 µg/L | 0 | 0 | 0 µg/L
Specifications
Standard Value [ppb] | Target Value ÷ U [ppb] | Mean Value [ppb] | Passed
0 | 0 ÷ 5 | 0 | YES
120 | 107 ÷ 133 | 0 | NO
480 | 441 ÷ 519 | 0 | NO
Validation Date | by