## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI708-0 | HI93708-0
0872 | HI708-0 | CP-R32 | W 50/1 |  | Parameter Formula | NO2 | NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite High Range Reagent | 2029-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
325 | 300 | 350
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-12-17 | 2024-12-17 | 1HEAD |  |  | 0506
[6 empty] | Expiration A | Expiration B | Expiration D
2029-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97708 | CTO-623
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 30 | 26 | 35 |  | MR102 |  | 3 | & | 5% | 100% |  | 1.5 | 1.3 | 1.7
3 | 120 | 111 | 129
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97708 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 30 | 1 | P/Final | 2024-12-18 | 10:25 | 2024-12-17 | 09:51 | MARA | 1 | 30 | 28 | / | / | 0.206 | 1.410 |  |  | 0.83 | 331 |  | Kinga |  | 3 | 2
2 | 30 | 2 | P/Final | 2024-12-18 | 10:26 | 2024-12-17 | 09:51 | MARA | 1 | 29 | 28 | / | / | 0.202 |  |  |  | 0.65 | 326 |  | Kinga |  | 3 | 2
3 | 120 | 3 | P/Final | 2024-12-18 | 10:36 | 2024-12-17 | 09:51 | MARA | 1 | 112 | 113 | / | / | 0.803 | 1.403 |  |  | 0.98 | 339 |  | Kinga |  | 3 | 3 | 82534
3 | 120 | 4 | P/Final | 2024-12-18 | 10:36 | 2024-12-17 | 09:51 | MARA | 1 | 114 | 113 | / | / | 0.828 |  |  |  | 0.67 | 305 |  | Kinga |  | 3 | 3 | 82534
1 | 0 | 5 | P/Final | 2024-12-18 | 10:37 | 2024-12-17 | 09:51 | MARA | 1 | 0 | 0 | / | / | 0.010 | 1.356 |  |  | 1.15 |  |  | Kinga |  | 3 | 1 | 82534
1 | 0 | 6 | P/Final | 2024-12-18 | 10:38 | 2024-12-17 | 09:51 | MARA | 1 | 0 | 0 | / | / | 0.009 |  |  |  | 1.06 |  |  | Kinga |  | 3 | 1 | 82534
2 | 30 | 7 | P/Final | 2024-12-18 | 10:41 | 2024-12-17 | 14:16 | TAMARA | 1 | 32 | 30 | / | / | 0.218 | 1.357 |  |  | 0.68 | 323 |  | Kinga |  | 3 | 2 | 82534
2 | 30 | 8 | P/Final | 2024-12-18 | 10:42 | 2024-12-17 | 14:16 | TAMARA | 1 | 31 | 30 | / | / | 0.216 |  |  |  | 1.63 | 327 |  | Kinga |  | 3 | 2 | 82534
3 | 120 | 9 | P/Final | 2024-12-18 | 10:42 | 2024-12-17 | 14:16 | TAMARA | 1 | 115 | 114 | / | / | 0.835 | 1.383 |  |  | 0.63 | 330 |  | Kinga |  | 3 | 3 | 82534
3 | 120 | 10 | P/Final | 2024-12-18 | 10:43 | 2024-12-17 | 14:16 | TAMARA | 1 | 116 | 116 | / | / | 0.845 |  |  |  | 0.50 | 331 |  | Kinga |  | 3 | 3 | 82534
1 | 0 | 11 | P/Final | 2024-12-18 | 10:44 | 2024-12-17 | 14:16 | TAMARA | 1 | 0 | 0 | / | / | 0.011 | 1.350 |  |  | 1.86 |  |  | Kinga |  | 3 | 1 | 82534
1 | 0 | 12 | P/Final | 2024-12-18 | 10:45 | 2024-12-17 | 14:16 | TAMARA | 1 | 0 | 0 | / | / | 0.011 |  |  |  | 0.85 |  |  | Kinga |  | 3 | 1 | 82534
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 30 mg/L | 4 | 8 | 30 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 114 mg/L | 4 | 8 | 114 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 0 | YES
30 | 26 ÷ 35 | 30 | YES
120 | 111 ÷ 129 | 114 | YES
Validation Date | by