## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI708-0 | HI93708-0
0998 | HI708-0 | CP-R32 | W 16/1 |  | Parameter Formula | NO2 | NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite HR Reagent | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
325 | 300 | 350
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-15 | 2025-04-17 | 2 HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97708 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 120 | 111 | 129 |  | MR102 |  | 3 | & | 5% | 100% |  | 1.5 | 1.3 | 1.7
2 | 30 | 26 | 35
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97708 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 120 | 1 | P/FINAL | 2025-04-16 | 16:09 | 2025-04-16 | 14:58 | MARA |  | 111 | 112 | / | / | 0.770 | 1.590 |  |  | 0.24 | 338 |  | Kinga |  | 3 | 3 | 120318
3 | 120 | 2 | P/FINAL | 2025-04-16 | 16:09 | 2025-04-16 | 14:58 | MARA |  | 112 | 113 | / | / | 0.817 |  |  |  | 0.82 | 310 |  | Kinga |  | 3 | 3 | 120318
2 | 30 | 3 | P/FINAL | 2025-04-16 | 16:10 | 2025-04-16 | 14:58 | MARA |  | 26 | 26 | / | / | 0.176 | 1.588 |  |  | 0.62 | 343 |  | Kinga |  | 3 | 2 | 120318
2 | 30 | 4 | P/FINAL | 2025-04-16 | 16:11 | 2025-04-16 | 14:58 | MARA |  | 26 | 27 | / | / | 0.179 |  |  |  | 0.40 | 320 |  | Kinga |  | 3 | 2 | 120318
1 | 0 | 5 | P/FINAL | 2025-04-16 | 16:12 | 2025-04-16 | 14:58 | MARA |  | 0 | 0 | / | / | -0.003 | 1.588 |  |  | 0.50 | 343 |  | Kinga |  | 3 | 1 | 120318
1 | 0 | 6 | P/FINAL | 2025-04-16 | 16:12 | 2025-04-16 | 14:58 | MARA |  | 0 | 0 | / | / | 0.001 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 1 | 120318
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 112 mg/L | 2 | 4 | 112 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 26 mg/L | 2 | 4 | 26 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 0 | YES
30 | 26 ÷ 35 | 26 | YES
120 | 111 ÷ 129 | 112 | YES
Validation Date | by