## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI708-0 | HI93708-0
1224 | HI708-0 | CP-R32 | W 44/1 |  | Parameter Formula | NO2 | NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite HR Reagent | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
325 | 300 | 350
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-04 | 2025-11-04 | 2 HEAD |  |  | 1078
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97708 | CTO-623
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 30 | 26 | 35 |  | MR102 |  | 3 | & | 5% | 100% |  | 1.5 | 1.3 | 1.7
3 | 120 | 111 | 129
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97708 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 30 | 1 | Old A | 2025-11-04 | 06:34 | 2025-11-04 | 06:07 | ELENA | 1 | 33 | 32 | / | / | 0.226 |  |  |  | 11.2 |  |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 2 | Old A | 2025-11-04 | 06:35 | 2025-11-04 | 06:07 | ELENA | 1 | 33 | 31 | / | / | 0.224 |  |  |  | 34.6 |  |  | Kinga |  | 3 | 2 | 82802
3 | 120 | 3 | Old A | 2025-11-04 | 06:36 | 2025-11-04 | 06:07 | ELENA | 1 | 113 | 111 | / | / | 0.812 |  |  |  | 48.4 |  |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 4 | Old A | 2025-11-04 | 06:37 | 2025-11-04 | 06:07 | ELENA | 1 | 115 | 112 | / | / | 0.825 |  |  |  | 28.3 |  |  | Kinga |  | 3 | 3 | 82802
1 | 0 | 5 | Old A | 2025-11-04 | 06:38 | 2025-11-04 | 06:07 | ELENA | 1 | 2 | 1 | / | / | 0.030 |  |  |  | 6.90 |  |  | Kinga |  | 3 | 1 | 82802
1 | 0 | 6 | Old A | 2025-11-04 | 06:38 | 2025-11-04 | 06:07 | ELENA | 1 | 1 | 1 | / | / | 0.028 |  |  |  | 6.76 |  |  | Kinga |  | 3 | 1 | 82802
2 | 30 | 7 | P/FINAL | 2025-11-04 | 06:42 | 2025-11-04 | 06:07 | ELENA | 1 | 28 | 27 | / | / | 0.191 |  |  |  | 2.61 | 328 |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 8 | P/FINAL | 2025-11-04 | 06:42 | 2025-11-04 | 06:07 | ELENA | 1 | 28 | 27 | / | / | 0.193 |  |  |  | 1.63 | 324 |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 9 | P/FINAL | 2025-11-04 | 06:43 | 2025-11-04 | 06:07 | ELENA | 1 | 28 | 28 | / | / | 0.194 | 1.548 |  |  | 2.47 | 318 |  | Kinga |  | 3 | 2 | 82802
3 | 120 | 10 | P/FINAL | 2025-11-04 | 06:50 | 2025-11-04 | 06:07 | ELENA | 1 | 111 | 112 | / | / | 0.808 | 1.525 |  |  | 3.85 | 331 |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 11 | P/FINAL | 2025-11-04 | 06:51 | 2025-11-04 | 06:07 | ELENA | 1 | 112 | 114 | / | / | 0.812 |  |  |  | 3.36 |  |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 12 | P/FINAL | 2025-11-04 | 06:51 | 2025-11-04 | 06:07 | ELENA | 1 | 112 | 113 | / | / | 0.810 |  |  |  | 3.00 |  |  | Kinga |  | 3 | 3 | 82802
1 | 0 | 13 | P/FINAL | 2025-11-04 | 06:52 | 2025-11-04 | 06:07 | ELENA | 1 | 0 | 0 | / | / | 0.003 |  |  |  | 1.49 |  |  | Kinga |  | 3 | 1 | 82802
1 | 0 | 14 | P/FINAL | 2025-11-04 | 06:53 | 2025-11-04 | 20:18 | TAMARA | 1 | 0 | 0 | / | / | 0.002 | 1.521 |  |  | 1.46 |  |  | Kinga |  | 3 | 1 | 82802
2 | 30 | 15 | P/FINAL | 2025-11-04 | 08:22 | 2025-11-04 | 07:01 | FLORICA | 1 | 28 | 28 | / | / | 0.194 |  |  |  | 1.54 | 317 |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 16 | P/FINAL | 2025-11-04 | 08:22 | 2025-11-04 | 07:01 | FLORICA | 1 | 29 | 28 | / | / | 0.197 |  |  |  | 0.70 | 334 |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 17 | P/FINAL | 2025-11-04 | 08:23 | 2025-11-04 | 07:01 | FLORICA | 1 | 30 | 30 | / | / | 0.210 | 1.528 |  |  | 4.22 | 313 |  | Kinga |  | 3 | 2 | 82802
1 | 0 | 18 | P/FINAL | 2025-11-04 | 08:24 | 2025-11-04 | 07:01 | FLORICA | 1 | 0 | 0 | / | / | 0.003 |  |  |  | 1.24 | 348 |  | Kinga |  | 3 | 1 | 82802
1 | 0 | 19 | P/FINAL | 2025-11-04 | 08:24 | 2025-11-04 | 07:01 | FLORICA | 1 | 0 | 0 | / | / | 0.002 | 1.467 |  |  | 1.11 |  |  | Kinga |  | 3 | 1 | 82802
3 | 120 | 20 | P/FINAL | 2025-11-04 | 08:27 | 2025-11-04 | 07:01 | FLORICA | 1 | 112 | 114 | / | / | 0.815 | 1.465 |  |  | 1.76 |  |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 21 | P/FINAL | 2025-11-04 | 08:28 | 2025-11-04 | 07:01 | FLORICA | 1 | 112 | 115 | / | / | 0.817 |  |  |  | 1.35 |  |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 22 | P/FINAL | 2025-11-04 | 08:29 | 2025-11-04 | 07:01 | FLORICA | 1 | 114 | 116 | / | / | 0.828 |  |  |  | 1.17 |  |  | Kinga |  | 3 | 3 | 82802
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 28 mg/L | 6 | 12 | 28 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 113 mg/L | 6 | 12 | 113 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 0 | YES
30 | 26 ÷ 35 | 28 | YES
120 | 111 ÷ 129 | 113 | YES
Validation Date | by