## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI708-0 | HI93708-0
0872 | HI93708-0 | CP-R32 | W50/1 |  | Parameter Formula | NO2 | NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite High Range Reagent | 2024-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
325 | 300 | 350
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA/MARK | 2024-12-16 | 2024-12-18 | 1HEAD |  |  | 0678
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI93708 | CTO-623
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-840
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 30 | 25 | 35 |  | MR102 |  | 4 | & | 4% | 100% |  | 1.5 | 1.3 | 1.7
3 | 120 | 111 | 129
1 | 0 | 0 | 4
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 30 | 1 | Old A | 2024-12-16 | 11:57 | 2024-12-16 | 11:31 | MARA | 1 | 31 | 31 | / | / | 0.215 |  |  |  | 5.72 |  |  | Kinga |  | 3 | 2 | 32918
3 | 120 | 2 | Old A | 2024-12-16 | 11:58 | 2024-12-16 | 11:31 | MARA | 1 | 116 | 117 | / | / | 0.846 |  |  |  | 8.58 |  |  | Kinga |  | 3 | 3 | 32918
1 | 0 | 3 | Old A | 2024-12-16 | 11:59 | 2024-12-16 | 11:31 | MARA | 1 | 2 | 3 | / | / | 0.031 |  |  |  | 8.05 |  |  | Kinga |  | 3 | 1 | 32918
2 | 30 | 4 | P/Final | 2024-12-16 | 12:00 | 2024-12-16 | 11:31 | MARA | 1 | 29 | 28 | / | / | 0.198 |  |  |  | 8.05 | 342 |  | Kinga |  | 3 | 2 | 32918
2 | 30 | 5 | P/Final | 2024-12-16 | 12:01 | 2024-12-16 | 11:31 | MARA | 1 | 31 | 30 | / | / | 0.214 | 1.382 |  |  | 0.65 | 345 |  | Kinga |  | 3 | 2 | 32918
3 | 120 | 6 | P/Final | 2024-12-16 | 12:02 | 2024-12-16 | 11:31 | MARA | 1 | 114 | 116 | / | / | 0.834 |  |  |  | 0.51 | 334 |  | Kinga |  | 3 | 3 | 32918
3 | 120 | 7 | P/Final | 2024-12-16 | 12:03 | 2024-12-16 | 11:31 | MARA | 1 | 116 | 115 | / | / | 0849 | 1.306 |  |  | 0.71 | 350 |  | Kinga |  | 3 | 3 | 32918
1 | 0 | 8 | P/Final | 2024-12-16 | 12:03 | 2024-12-16 | 11:31 | MARA | 1 | 0 | 0 | / | / | 0.009 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 1 | 32918
1 | 0 | 9 | P/Final | 2024-12-16 | 12:04 | 2024-12-16 | 11:31 | MARA | 1 | 0 | 0 | / | / | 0.004 | 4.859 |  |  | 0.68 |  |  | Kinga |  | 3 | 1 | 32918
2 | 30 | 10 | P/Final | 2024-12-16 | 14:53 | 2024-12-16 | 14:23 | TAMARA |  | 29 | 28 | / | / | 0.200 | 1.467 |  |  | 0.61 | 315 |  | Kinga |  | 3 | 2 | 122824
2 | 30 | 11 | P/Final | 2024-12-16 | 14:54 | 2024-12-16 | 14:23 | TAMARA |  | 29 | 28 | / | / | 0.198 |  |  |  | 0.54 | 306 |  | Kinga |  | 3 | 2 | 122824
3 | 120 | 12 | P/Final | 2024-12-16 | 14:55 | 2024-12-16 | 14:23 | TAMARA |  | 115 | 115 | / | / | 0.841 | 1.473 |  |  | 0.45 | 297 |  | Kinga |  | 3 | 3 | 122824
3 | 120 | 13 | P/Final | 2024-12-16 | 14:56 | 2024-12-16 | 14:23 | TAMARA |  | 116 | 115 | / | / | 0.844 |  |  |  | 0.44 | 323 |  | Kinga |  | 3 | 3 | 122824
1 | 0 | 14 | P/Final | 2024-12-16 | 14:57 | 2024-12-16 | 14:23 | TAMARA |  | 0 | 0 | / | / | 0.003 |  |  |  | 0.73 |  |  | Kinga |  | 3 | 1 | 122824
1 | 0 | 15 | P/Final | 2024-12-16 | 14:57 | 2024-12-16 | 14:23 | TAMARA |  | 0 | 0 | / | / | 0.002 | 1.471 |  |  | 0.58 |  |  | Kinga |  | 3 | 1 | 122824
2 | 30 | 16 | P/Final | 2024-12-17 | 08:37 | 2024-12-17 | 06:44 | MARA | 1 | 29 | 28 | / | / | 0.202 | 1.404 |  |  | 0.76 |  |  | Violeta |  | 3 | 2 | 122824
2 | 30 | 17 | P/Final | 2024-12-17 | 08:39 | 2024-12-17 | 06:44 | MARA | 1 | 30 | 30 | / | / | 0.210 | 1.368 |  |  | 0.75 |  |  | Violeta |  | 3 | 2 | 122824
2 | 30 | 18 | P/Final | 2024-12-17 | 08:40 | 2024-12-17 | 06:44 | MARA | 1 | 30 | 31 | / | / | 0.209 | 1.350 |  |  | 0.66 |  |  | Violeta |  | 3 | 2 | 122824
1 | 0 | 19 | P/Final | 02024/12/17 | 08:42 | 2024-12-17 | 06:44 | MARA | 1 | 0 | 0 | / | / | 0.004 | 1.331 |  |  | 0.61 |  |  | Violeta |  | 3 | 1 | 122824
1 | 0 | 20 | P/Final | 02024/12/17 | 08:44 | 2024-12-17 | 06:44 | MARA | 1 | 0 | 0 | / | / | 0.006 | 1.351 |  |  | 2.56 |  |  | Violeta |  | 3 | 1 | 122824
3 | 120 | 21 | P/Final | 02024/12/17 | 09:12 | 2024-12-17 | 06:44 | MARA | 1 | 112 | 114 | / | / | 0.815 |  |  |  | 0.58 |  |  | Violeta |  | 3 | 3 | 122824
3 | 120 | 22 | P/Final | 02024/12/17 | 09:12 | 2024-12-17 | 06:44 | MARA | 1 | 112 | 111 | / | / | 0.817 |  |  |  | 0.28 |  |  | Violeta |  | 3 | 3 | 122824
3 | 120 | 23 | P/Final | 02024/12/17 | 09:19 | 2024-12-17 | 06:44 | MARA | 1 | 117 | 117 | / | / | 0.856 | 1.375 |  |  | 0.43 |  |  | Violeta |  | 3 | 3 | 122824
3 | 120 | 24 | P/Final | 02024/12/17 | 09:20 | 2024-12-17 | 06:44 | MARA | 1 | 115 | 116 | / | / | 0.839 |  |  |  | 0.34 |  |  | Violeta |  | 3 | 3 | 122824
2 | 30 | 25 | Old A | 2024-12-18 | 09:08 | 2024-12-17 | 19:33 | TAMARA | 1 | 25 | 28 | / | / | 0.176 |  |  |  | 0.95 |  |  | Kinga |  | 3 | 2 | 82534
3 | 120 | 26 | Old A | 2024-12-18 | 09:12 | 2024-12-17 | 19:33 | TAMARA | 1 | 116 | 113 | / | / | 0.867 |  |  |  | 0.73 |  |  | Kinga |  | 3 | 3 | 82534
1 | 0 | 27 | Old A | 2024-12-18 | 09:14 | 2024-12-17 | 19:33 | TAMARA | 1 | 0 | 0 | / | / | 0.003 |  |  |  | 0.96 |  |  | Kinga |  | 3 | 1 | 82534
2 | 30 | 28 | P/Final | 2024-12-18 | 09:18 | 2024-12-17 | 19:33 | TAMARA | 1 | 31 | 30 | / | / | 0.216 | 1.372 |  |  | 0.95 | 312 |  | Kinga |  | 3 | 2 | 82534
2 | 30 | 29 | P/Final | 2024-12-18 | 09:19 | 2024-12-17 | 19:33 | TAMARA | 1 | 30 | 29 | / | / | 0.208 |  |  |  | 0.79 | 318 |  | Kinga |  | 3 | 2 | 82534
3 | 120 | 30 | P/Final | 2024-12-18 | 09:23 | 2024-12-17 | 19:33 | TAMARA | 1 | 115 | 119 | / | / | 0.840 | 1.461 |  |  | 0.42 | 330 |  | Kinga |  | 3 | 3 | 82534
3 | 120 | 31 | P/Final | 2024-12-18 | 09:24 | 2024-12-17 | 19:33 | TAMARA | 1 | 115 | 116 | / | / | 0.867 |  |  |  | 0.42 | 343 |  | Kinga |  | 3 | 3 | 82534
1 | 0 | 32 | P/Final | 2024-12-18 | 09:25 | 2024-12-17 | 19:33 | TAMARA | 1 | 0 | 0 | / | / | 0.005 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 1 | 82534
1 | 0 | 33 | P/Final | 2024-12-18 | 09:26 | 2024-12-17 | 19:33 | TAMARA | 1 | 0 | 0 | / | / | 0.005 | 1.390 |  |  | 0.71 |  |  | Kinga |  | 3 | 1 | 82534
2 | 30 | 34 | P/Final | 2024-12-18 | 09:41 | 2024-12-18 | 06:52 | MARA | 1 | 29 | 27 | / | / | 0.195 |  |  |  | 0.61 | 312 |  | Kinga |  | 3 | 2 | 82534
2 | 30 | 35 | P/Final | 2024-12-18 | 09:42 | 2024-12-18 | 06:52 | MARA | 1 | 29 | 28 | / | / | 0.198 | 1.406 |  |  | 0.59 | 298 |  | Kinga |  | 3 | 2 | 82534
3 | 120 | 36 | P/Final | 2024-12-18 | 09:43 | 2024-12-18 | 06:52 | MARA | 1 | 113 | 114 | / | / | 0.826 |  |  |  | 0.50 | 309 |  | Kinga |  | 3 | 3 | 82534
3 | 120 | 37 | P/Final | 2024-12-18 | 09:44 | 2024-12-18 | 06:52 | MARA | 1 | 114 | 114 | / | / | 0.830 | 1.423 |  |  | 0.50 | 297 |  | Kinga |  | 3 | 3 | 82534
1 | 0 | 38 | P/Final | 2024-12-18 | 09:45 | 2024-12-18 | 06:52 | MARA | 1 | 0 | 0 | / | / | 0.009 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 1 | 82534
1 | 0 | 39 | P/Final | 2024-12-18 | 09:45 | 2024-12-18 | 06:52 | MARA | 1 | 0 | 0 | / | / | 0.009 | 1.366 |  |  | 0.97 |  |  | Kinga |  | 3 | 1 | 82534
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 29 mg/L | 11 | 22 | 29 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 115 mg/L | 12 | 24 | 115 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 0 mg/L | 10 | 20 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 4 | 0 | YES
30 | 25 ÷ 35 | 29 | YES
120 | 111 ÷ 129 | 115 | YES
Validation Date | by