## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI708-0 | HI93708-0
0998 | HI93708-0 | CP-R32 | W 16/1 |  | Parameter Formula | NO2 | NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite HR Reagent | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
325 | 300 | 350
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-04-15 | 2025-04-17 | 2 HEAD |  |  | 0872
[6 empty] | Expiration A | Expiration B | Expiration D
2029-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97708 | CTO-623
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 120 | 112 | 128 |  | MR102 |  | 3 | & | 4% | 100% |  | 1.5 | 1.3 | 1.7
2 | 30 | 26 | 34
1 | 0 | 0 | 3
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97708 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 120 | 1 | Old A | 2025-04-15 | 09:44 | 2025-04-15 | 09:12 | ERIKA |  | 113 | 113 | / | / | 0.824 |  |  |  | 9.82 |  |  | Kinga |  | 3 | 3 | 120318
2 | 30 | 2 | Old A | 2025-04-15 | 09:45 | 2025-04-15 | 09:12 | ERIKA |  | 32 | 30 | / | / | 0.219 |  |  |  | 6.39 |  |  | Kinga |  | 3 | 2 | 120318
1 | 0 | 3 | Old A | 2025-04-15 | 09:53 | 2025-04-15 | 09:12 | ERIKA |  | 0 | 0 | / | / | 0.012 |  |  |  | 2.10 |  |  | Kinga |  | 3 | 1 | 120318
2 | 30 | 4 | Valid | 2025-04-15 | 09:54 | 2025-04-15 | 09:12 | ERIKA |  | 26 | 26 | / | / | 0.179 |  |  |  | 0.50 |  |  | Kinga |  | 3 | 2 | 120318
2 | 30 | 5 | Valid | 2025-04-15 | 09:54 | 2025-04-15 | 09:12 | ERIKA |  | 26 | 26 | / | / | 0.179 | 1.523 |  |  | 0.49 |  |  | Kinga |  | 3 | 2 | 120318
2 | 30 | 6 | Valid | 2025-04-15 | 09:56 | 2025-04-15 | 09:12 | ERIKA |  | 26 | 25 | / | / | 0.182 |  |  |  | 0.52 |  |  | Kinga |  | 3 | 2 | 120318
3 | 120 | 7 | Valid | 2025-04-15 | 09:57 | 2025-04-15 | 09:12 | ERIKA |  | 115 | 115 | / | / | 0.835 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 3 | 120318
3 | 120 | 8 | Valid | 2025-04-15 | 09:58 | 2025-04-15 | 09:12 | ERIKA |  | 111 | 111 | / | / | 0.802 | 1.500 |  |  | 0.30 |  |  | Kinga |  | 3 | 3 | 120318
3 | 120 | 9 | Valid | 2025-04-15 | 10:15 | 2025-04-15 | 09:12 | ERIKA |  | 112 | 112 | / | / | 0.819 |  |  |  | 0.74 |  |  | Kinga |  | 3 | 3 | 120318
1 | 0 | 10 | Valid | 2025-04-15 | 10:16 | 2025-04-15 | 09:12 | ERIKA |  | 0 | 0 | / | / | 0.007 | 1.439 |  |  | 0.53 |  |  | Kinga |  | 3 | 1 | 120318
1 | 0 | 11 | Valid | 2025-04-15 | 10:17 | 2025-04-15 | 09:12 | ERIKA |  | 0 | 0 | / | / | 0.008 |  |  |  | 0.57 |  |  | Kinga |  | 3 | 1 | 120318
3 | 120 | 12 | P/FINAL | 2025-04-16 | 21:14 | 2025-04-16 | 19:23 | MARA | 1 | 112 | 112 | / | / | 0.814 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 3
3 | 120 | 13 | P/FINAL | 2025-04-16 | 21:16 | 2025-04-16 | 19:23 | MARA | 1 | 115 | 112 | / | / | 0.835 |  |  |  | 0.23 |  |  | Brigitta P |  | 3 | 3
2 | 30 | 14 | P/FINAL | 2025-04-16 | 21:16 | 2025-04-16 | 19:23 | MARA | 1 | 27 | 26 | / | / | 0.185 |  |  |  | 0.39 | 314 |  | Brigitta P |  | 3 | 2
2 | 30 | 15 | P/FINAL | 2025-04-16 | 21:17 | 2025-04-16 | 19:23 | MARA | 1 | 26 | 26 | / | / | 0.180 |  |  |  | 0.40 | 293 |  | Brigitta P |  | 3 | 2
1 | 0 | 16 | P/FINAL | 2025-04-16 | 21:18 | 2025-04-16 | 19:23 | MARA | 1 | 0 | 0 | / | / | 0.007 |  |  |  | 0.54 | 297 |  | Brigitta P |  | 3 | 1
3 | 120 | 17 | P/FINAL | 2025-04-17 | 09:12 | 2025-04-17 | 06:44 | TAMARA | 1 | 112 | 113 | / | / | 0.814 | 1.615 |  |  | 0.18 | 328 |  | Kinga |  | 3 | 3 | 120318
3 | 120 | 18 | P/FINAL | 2025-04-17 | 09:14 | 2025-04-17 | 06:44 | TAMARA | 1 | 113 | 114 | / | / | 0.813 |  |  |  | 0.30 | 315 |  | Kinga |  | 3 | 3 | 120318
1 | 0 | 19 | P/FINAL | 2025-04-17 | 09:15 | 2025-04-17 | 06:44 | TAMARA | 1 | 0 | 0 | / | / | 0.004 | 1.651 |  |  | 0.56 | 333 |  | Kinga |  | 3 | 1 | 120318
1 | 0 | 20 | P/FINAL | 2025-04-17 | 09:16 | 2025-04-17 | 06:44 | TAMARA | 1 | 0 | 0 | / | / | 0.003 |  |  |  | 0.56 | 303 |  | Kinga |  | 3 | 1 | 120318
2 | 30 | 21 | P/FINAL | 2025-04-17 | 09:17 | 2025-04-17 | 06:44 | TAMARA | 1 | 26 | 26 | / | / | 0.176 | 1.657 |  |  | 0.56 |  |  | Kinga |  | 3 | 2 | 120318
2 | 30 | 22 | P/FINAL | 2025-04-17 | 09:18 | 2025-04-17 | 06:44 | TAMARA | 1 | 27 | 27 | / | / | 0.179 |  |  |  | 0.56 | 339 |  | Kinga |  | 3 | 2 | 120318
1 | 0 | 23 | P/FINAL | 2025-04-17 | 15:50 | 2025-04-17 | 14:13 | MARA | 1 | 0 | 0 | / | / | 0.009 | 2.570 |  |  | 0.72 | 334 |  | Kinga |  | 3 | 1
1 | 0 | 24 | P/FINAL | 2025-04-17 | 15:51 | 2025-04-17 | 14:13 | MARA | 1 | 0 | 0 | / | / | 0.005 |  |  |  | 0.76 | 324 |  | Kinga |  | 3 | 1
3 | 120 | 25 | P/FINAL | 2025-04-17 | 15:55 | 2025-04-17 | 14:13 | MARA | 1 | 113 | 112 | / | / | 0.808 | 1.592 |  |  | 0.39 | 313 |  | Kinga |  | 3 | 3
3 | 120 | 26 | P/FINAL | 2025-04-17 | 15:56 | 2025-04-17 | 14:13 | MARA | 1 | 112 | 112 | / | / | 0.778 |  |  |  | 0.41 |  |  | Kinga |  | 3 | 3
2 | 30 | 27 | P/FINAL | 2025-04-17 | 15:57 | 2025-04-17 | 14:13 | MARA | 1 | 27 | 26 | / | / | 0.186 | 1.600 |  |  | 0.51 |  |  | Kinga |  | 3 | 2
2 | 30 | 28 | P/FINAL | 2025-04-17 | 15:58 | 2025-04-17 | 14:13 | MARA | 1 | 28 | 26 | / | / | 0.194 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 2
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 113 mg/L | 6 | 12 | 113 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 27 mg/L | 6 | 12 | 27 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 0 | YES
30 | 26 ÷ 34 | 27 | YES
120 | 112 ÷ 128 | 113 | YES
Validation Date | by