## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI708-0 | HI93708-0
1224 | HI93708-0 | CP-R32 | W 44/1 |  | Parameter Formula | NO2 | NO2
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Nitrite HR Reagent | 2030-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
325 | 300 | 350
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0 mg/L | 150 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-31 | 2025-11-05 | 1 HEAD |  |  | 1078
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97708 | CTO-623
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0 | 0 | 3 |  | MR102 |  | 3 | & | 4% | 100% |  | 1.5 | 1.3 | 1.7
2 | 30 | 26 | 34
3 | 120 | 112 | 128
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97708 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0 | 1 | Old A | 2025-10-31 | 08:48 | 2025-10-31 | 07:21 | ERIKA |  | 0 | 1 | / | / | 0.016 |  |  |  | 2.65 |  |  | Andrea V |  | 3 | 1
1 | 0 | 2 | Old A | 2025-10-31 | 08:49 | 2025-10-31 | 07:21 | ERIKA |  | 0 | 1 | / | / | 0.016 |  |  |  | 2.17 |  |  | Andrea V |  | 3 | 1
2 | 30 | 3 | Old A | 2025-10-31 | 08:50 | 2025-10-31 | 07:21 | ERIKA |  | 33 | 32 | / | / | 0.225 |  |  |  | 1.67 |  |  | Andrea V |  | 3 | 2
2 | 30 | 4 | Old A | 2025-10-31 | 08:51 | 2025-10-31 | 07:21 | ERIKA |  | 31 | 30 | / | / | 0.216 |  |  |  | 1.50 |  |  | Andrea V |  | 3 | 2
3 | 120 | 5 | Old A | 2025-10-31 | 08:52 | 2025-10-31 | 07:21 | ERIKA |  | 117 | 118 | / | / | 0.853 |  |  |  | 1.10 |  |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 6 | Old A | 2025-10-31 | 08:53 | 2025-10-31 | 07:21 | ERIKA |  | 118 | 118 | / | / | 0.859 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 3 | 82802
1 | 0 | 7 | Valid | 2025-10-31 | 08:54 | 2025-10-31 | 07:21 | ERIKA |  | 0 | 0 | / | / | 0.007 |  |  |  | 0.79 |  |  | Andrea V |  | 3 | 1 | 82802
1 | 0 | 8 | Valid | 2025-10-31 | 08:54 | 2025-10-31 | 07:21 | ERIKA |  | 0 | 0 | / | / | 0.006 | 1.427 |  |  | 0.98 |  |  | Andrea V |  | 3 | 1 | 82802
2 | 30 | 9 | Valid | 2025-10-31 | 09:01 | 2025-10-31 | 07:21 | ERIKA |  | 30 | 28 | / | / | 0.206 |  |  |  | 0.74 |  |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 10 | Valid | 2025-10-31 | 09:02 | 2025-10-31 | 07:21 | ERIKA |  | 30 | 29 | / | / | 0.205 | 1.495 |  |  | 0.58 |  |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 11 | Valid | 2025-10-31 | 09:02 | 2025-10-31 | 07:21 | ERIKA |  | 30 | 29 | / | / | 0.207 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 2 | 82802
3 | 120 | 12 | Valid | 2025-10-31 | 09:03 | 2025-10-31 | 07:21 | ERIKA |  | 119 | 117 | / | / | 0.871 |  |  |  | 0.74 |  |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 13 | Valid | 2025-10-31 | 09:03 | 2025-10-31 | 07:21 | ERIKA |  | 119 | 118 | / | / | 0.868 |  |  |  | 0.56 |  |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 14 | Valid | 2025-10-31 | 09:04 | 2025-10-31 | 07:21 | ERIKA |  | 119 | 120 | / | / | 0.871 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 3 | 82802
2 | 30 | 15 | Old A | 2025-11-04 | 10:42 | 2025-11-04 | 09:51 | FLORICA | 1 | 33 | 33 | / | / | 0.226 |  |  |  | 11.2 |  |  | Andrea V |  | 3 | 2
2 | 30 | 16 | Old A | 2025-11-04 | 10:42 | 2025-11-04 | 09:51 | FLORICA | 1 | 33 | 31 | / | / | 0.224 |  |  |  | 34.6 |  |  | Andrea V |  | 3 | 2
3 | 120 | 17 | Old A | 2025-11-04 | 10:43 | 2025-11-04 | 09:51 | FLORICA | 1 | 113 | 111 | / | / | 0.812 |  |  |  | 48.4 |  |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 18 | Old A | 2025-11-04 | 10:43 | 2025-11-04 | 09:51 | FLORICA | 1 | 115 | 112 | / | / | 0.825 |  |  |  | 28.3 |  |  | Andrea V |  | 3 | 3 | 82802
1 | 0 | 19 | Old A | 2025-11-04 | 10:43 | 2025-11-04 | 09:51 | FLORICA | 1 | 2 | 1 | / | / | 0.030 |  |  |  | 6.90 |  |  | Andrea V |  | 3 | 1 | 82802
1 | 0 | 20 | Old A | 2025-11-04 | 10:44 | 2025-11-04 | 09:51 | FLORICA | 1 | 1 | 1 | / | / | 0.028 |  |  |  | 6.76 | 351 |  | Andrea V |  | 3 | 1 | 82802
1 | 0 | 21 | P/FINAL | 2025-11-04 | 10:45 | 2025-11-04 | 09:51 | FLORICA | 1 | 0 | 0 | / | / | 0.005 |  |  |  | 0.92 |  |  | Andrea V |  | 3 | 1 | 82802
1 | 0 | 22 | P/FINAL | 2025-11-04 | 10:46 | 2025-11-04 | 09:51 | FLORICA | 1 | 0 | 0 | / | / | 0.007 | 1.637 |  |  | 1.06 | 323 |  | Andrea V |  | 3 | 1 | 82802
2 | 30 | 23 | P/FINAL | 2025-11-04 | 10:47 | 2025-11-04 | 09:51 | FLORICA | 1 | 29 | 27 | / | / | 0.198 |  |  |  | 0.77 |  |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 24 | P/FINAL | 2025-11-04 | 10:48 | 2025-11-04 | 09:51 | FLORICA | 1 | 28 | 28 | / | / | 0.196 | 1.631 |  |  | 0.80 | 352 |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 25 | P/FINAL | 2025-11-04 | 10:48 | 2025-11-04 | 09:51 | FLORICA | 1 | 29 | 28 | / | / | 0.202 |  |  |  | 0.72 | 344 |  | Andrea V |  | 3 | 2 | 82802
3 | 120 | 26 | P/FINAL | 2025-11-04 | 10:49 | 2025-11-04 | 09:51 | FLORICA | 1 | 114 | 113 | / | / | 0.828 |  |  |  | 0.89 |  |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 27 | P/FINAL | 2025-11-04 | 10:50 | 2025-11-04 | 09:51 | FLORICA | 1 | 113 | 112 | / | / | 0.824 | 1.595 |  |  | 1.23 | 334 |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 28 | P/FINAL | 2025-11-04 | 10:51 | 2025-11-04 | 09:51 | FLORICA | 1 | 113 | 112 | / | / | 0.797 |  |  |  | 1.38 | 360 |  | Andrea V |  | 3 | 3 | 82802
1 | 0 | 29 | P/FINAL | 2025-11-05 | 06:48 | 2025-11-04 | 14:23 | TAMARA | 1 | 0 | 0 | / | / | 0.008 |  |  |  | 0.90 |  |  | Andrea V |  | 3 | 1
1 | 0 | 30 | P/FINAL | 2025-11-05 | 06:50 | 2025-11-04 | 14:23 | TAMARA | 1 | 0 | 0 | / | / | 0.011 | 1.448 |  |  | 1.10 | 301 |  | Andrea V |  | 3 | 1
2 | 30 | 31 | P/FINAL | 2025-11-05 | 06:50 | 2025-11-04 | 14:23 | TAMARA | 1 | 30 | 28 | / | / | 0.206 |  |  |  | 0.66 | 319 |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 32 | P/FINAL | 2025-11-05 | 06:51 | 2025-11-04 | 14:23 | TAMARA | 1 | 30 | 29 | / | / | 0.209 | 1.448 |  |  | 0.74 | 339 |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 33 | P/FINAL | 2025-11-05 | 06:52 | 2025-11-04 | 14:23 | TAMARA | 1 | 31 | 29 | / | / | 0.211 |  |  |  | 1.06 | 294 |  | Andrea V |  | 3 | 2 | 82802
3 | 120 | 34 | P/FINAL | 2025-11-05 | 06:53 | 2025-11-04 | 14:23 | TAMARA | 1 | 116 | 118 | / | / | 0.848 |  |  |  | 0.66 | 335 |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 35 | P/FINAL | 2025-11-05 | 06:53 | 2025-11-04 | 14:23 | TAMARA | 1 | 117 | 117 | / | / | 0.855 | 1.458 |  |  | 0.77 | 312 |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 36 | P/FINAL | 2025-11-05 | 06:54 | 2025-11-04 | 14:23 | TAMARA | 1 | 118 | 118 | / | / | 0.862 |  |  |  | 0.74 |  |  | Andrea V |  | 3 | 3 | 82802
1 | 0 | 37 | Old A | 2025-11-05 | 07:02 | 2025-11-04 | 14:23 | TAMARA | 1 | 1 | 2 | / | / | 0.023 |  |  |  | 3.65 |  |  | Andrea V |  | 3 | 1 | 82802
1 | 0 | 38 | Old A | 2025-11-05 | 07:03 | 2025-11-04 | 14:23 | TAMARA | 1 | 0 | 1 | / | / | 0.016 |  |  |  | 2.74 |  |  | Andrea V |  | 3 | 1 | 82802
2 | 30 | 39 | Old A | 2025-11-05 | 07:07 | 2025-11-04 | 14:23 | TAMARA | 1 | 32 | 31 | / | / | 0.217 |  |  |  | 2.60 |  |  | Andrea V |  | 3 | 2 | 82802
2 | 30 | 40 | Old A | 2025-11-05 | 07:08 | 2025-11-04 | 14:23 | TAMARA | 1 | 30 | 30 | / | / | 0.206 |  |  |  | 1.49 |  |  | Andrea V |  | 3 | 2 | 82802
3 | 120 | 41 | Old A | 2025-11-05 | 07:09 | 2025-11-04 | 14:23 | TAMARA | 1 | 116 | 117 | / | / | 0.849 |  |  |  | 1.49 |  |  | Andrea V |  | 3 | 3 | 82802
3 | 120 | 42 | Old A | 2025-11-05 | 07:10 | 2025-11-04 | 14:23 | TAMARA | 1 | 114 | 113 | / | / | 0.829 |  |  |  | 1.17 |  |  | Andrea V |  | 3 | 3 | 82802
2 | 30 | 43 | P/FINAL | 2025-11-05 | 09:13 | 2025-11-05 | 06:57 | MARA | 1 | 30 | 28 | / | / | 0.210 |  |  |  | 0.67 |  |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 44 | P/FINAL | 2025-11-05 | 09:13 | 2025-11-05 | 06:57 | MARA | 1 | 29 | 28 | / | / | 0.199 | 1.524 |  |  | 6.44 | 346 |  | Kinga |  | 3 | 2 | 82802
2 | 30 | 45 | P/FINAL | 2025-11-05 | 09:14 | 2025-11-05 | 06:57 | MARA | 1 | 30 | 29 | / | / | 0.211 |  |  |  | 0.69 | 327 |  | Kinga |  | 3 | 2 | 82802
3 | 120 | 46 | P/FINAL | 2025-11-05 | 09:14 | 2025-11-05 | 06:57 | MARA | 1 | 114 | 113 | / | / | 0.829 |  |  |  | 1.31 | 337 |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 47 | P/FINAL | 2025-11-05 | 09:14 | 2025-11-05 | 06:57 | MARA | 1 | 116 | 116 | / | / | 0.843 | 1.481 |  |  | 2.11 | 334 |  | Kinga |  | 3 | 3 | 82802
3 | 120 | 48 | P/FINAL | 2025-11-05 | 09:15 | 2025-11-05 | 06:57 | MARA | 1 | 115 | 117 | / | / | 0.841 |  |  |  | 2.11 | 328 |  | Kinga |  | 3 | 3 | 82802
1 | 0 | 49 | P/FINAL | 2025-11-05 | 09:15 | 2025-11-05 | 06:57 | MARA | 1 | 0 | 0 | / | / | 0.08 | 1.478 |  |  | 1.72 | 322 |  | Kinga |  | 3 | 1 | 82802
1 | 0 | 50 | P/FINAL | 2025-11-05 | 09:15 | 2025-11-05 | 06:57 | MARA | 1 | 0 | 0 | / | / | 0.007 |  |  |  | 1.86 |  |  | Kinga |  | 3 | 1 | 82802
1 | 0 | 51 | P/FINAL | 2025-11-05 | 14:44 | 2025-11-05 | 14:09 | TAMARA |  | 0 | 0 | / | / | 0.007 | 1.498 |  |  | 1.17 |  |  | Kinga |  | 3 | 1
1 | 0 | 52 | P/FINAL | 2025-11-05 | 14:44 | 2025-11-05 | 14:09 | TAMARA |  | 0 | 0 | / | / | 0.012 |  |  |  | 1.12 | 311 |  | Kinga |  | 3 | 1
3 | 120 | 53 | P/FINAL | 2025-11-05 | 14:45 | 2025-11-05 | 14:09 | TAMARA |  | 112 | 113 | / | / | 0.819 |  |  |  | 1.62 | 319 |  | Kinga |  | 3 | 3
3 | 120 | 54 | P/FINAL | 2025-11-05 | 14:45 | 2025-11-05 | 14:09 | TAMARA |  | 113 | 114 | / | / | 0.826 | 1.492 |  |  | 1.55 | 320 |  | Kinga |  | 3 | 3
3 | 120 | 55 | P/FINAL | 2025-11-05 | 14:46 | 2025-11-05 | 14:09 | TAMARA |  | 113 | 114 | / | / | 0.798 |  |  |  | 1.08 | 317 |  | Kinga |  | 3 | 3
2 | 30 | 56 | P/FINAL | 2025-11-05 | 14:47 | 2025-11-05 | 14:09 | TAMARA |  | 29 | 28 | / | / | 0.197 | 1.499 |  |  | 1.57 |  |  | Kinga |  | 3 | 2
2 | 30 | 57 | P/FINAL | 2025-11-05 | 14:48 | 2025-11-05 | 14:09 | TAMARA |  | 26 | 26 | / | / | 0.182 |  |  |  | 1.25 |  |  | Kinga |  | 3 | 2
2 | 30 | 58 | P/FINAL | 2025-11-05 | 14:48 | 2025-11-05 | 14:09 | TAMARA |  | 30 | 30 | / | / | 0.206 |  |  |  | 1.02 |  |  | Kinga |  | 3 | 2
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 29 mg/L | 12 | 24 | 29 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 115 mg/L | 12 | 24 | 115 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0 | 0 ÷ 3 | 0 | YES
30 | 26 ÷ 34 | 29 | YES
120 | 112 ÷ 128 | 115 | YES
Validation Date | by