## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709A-0 | HI93709A-0
1273 | HI709A-0 | CP-R33 | W 50/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent A | 2030-12-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1273 | 1210
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-12-01 | 2030-10-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-12-15 | 2025-12-16 | PRECI |  |  | 1068
[6 empty] | Expiration A | Expiration B | Expiration D
2030-06-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-797
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.6 | 4.4 |  | MR37 |  | 0.2 | & | 5% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.0 | 17.0 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97709 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old A | 2025-12-15 | 08:36 | 2025-12-15 | 06:44 | FLORICA | PRECI | 4.1 | 4.1 | / | / | 0.346 |  |  |  | 1.22 |  | 1 | Kinga |  | 3 | 2 | 11504706
2 | 4.0 | 2 | Old A | 2025-12-15 | 08:37 | 2025-12-15 | 06:44 | FLORICA | PRECI | 4.0 | 4.0 | / | / | 0.335 |  |  |  | 7.55 |  | 1 | Kinga |  | 3 | 2 | 11504706
3 | 16.0 | 3 | Old A | 2025-12-15 | 08:43 | 2025-12-15 | 06:44 | FLORICA | PRECI | 15.6 | 16.1 | / | / | 1.134 |  |  |  | 5.09 |  | 1 | Kinga |  | 3 | 3 | 11504706
3 | 16.0 | 4 | Old A | 2025-12-15 | 08:44 | 2025-12-15 | 06:44 | FLORICA | PRECI | 16.9 | 17.0 | / | / | 1.207 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 3 | 11504706
1 | 0.0 | 5 | P/FINAL | 2025-12-15 | 08:48 | 2025-12-15 | 06:44 | FLORICA | PRECI | 0.0 | 0.1 | / | / | 0.006 |  |  |  | 1.67 |  | 1 | Kinga |  | 3 | 1 | 11504706
1 | 0.0 | 6 | P/FINAL | 2025-12-15 | 08:49 | 2025-12-15 | 06:44 | FLORICA | PRECI | 0.2 | 0.0 | / | / | 0.029 |  |  |  | 1.82 |  | 1 | Kinga |  | 3 | 1 | 11504706
1 | 0.0 | 7 | Old A | 2025-12-15 | 08:50 | 2025-12-15 | 06:44 | FLORICA | PRECI | 0.0 | 0.0 | / | / | 0.020 |  |  |  | 1.82 |  | 1 | Kinga |  | 3 | 1 | 11504706
1 | 0.0 | 8 | Old A | 2025-12-15 | 08:50 | 2025-12-15 | 06:44 | FLORICA | PRECI | 0.2 | 0.0 | / | / | 0.025 |  |  |  | 1.91 |  | 1 | Kinga |  | 3 | 1 | 11504706
1 | 0.0 | 9 | P/FINAL | 2025-12-15 | 08:51 | 2025-12-15 | 06:44 | FLORICA | PRECI | 0.2 | 0.0 | / | / | 0.015 |  |  |  | 5.43 |  | 1 | Kinga |  | 3 | 1 | 11504706
1 | 0.0 | 10 | P/FINAL | 2025-12-15 | 08:52 | 2025-12-15 | 06:44 | FLORICA | PRECI | 0.1 | 0.0 | / | / | 0.009 |  | 6.056 |  | 1.53 | 143 | 1 | Kinga |  | 3 | 1 | 11504706
2 | 4.0 | 11 | P/FINAL | 2025-12-15 | 08:59 | 2025-12-15 | 06:44 | FLORICA | PRECI | 4.0 | 4.0 | / | / | 0.341 |  |  |  | 1.48 | 124 | 1 | Kinga |  | 3 | 2 | 11504706
2 | 4.0 | 12 | P/FINAL | 2025-12-15 | 08:59 | 2025-12-15 | 06:44 | FLORICA | PRECI | 4.0 | 4.0 | / | / | 0.342 |  | 6.137 |  | 2.70 | 168 | 1 | Kinga |  | 3 | 2 | 11504706
2 | 4.0 | 13 | P/FINAL | 2025-12-15 | 09:04 | 2025-12-15 | 06:44 | FLORICA | PRECI | 4.0 | 4.0 | / | / | 0.337 |  |  |  | 0.57 | 165 | 1 | Kinga |  | 3 | 2 | 11504706
3 | 16.0 | 14 | P/FINAL | 2025-12-15 | 09:09 | 2025-12-15 | 06:44 | FLORICA | PRECI | 16.2 | 16.4 | / | / | 1.163 |  |  |  | 3.12 |  | 1 | Kinga |  | 3 | 3 | 11504706
3 | 16.0 | 15 | P/FINAL | 2025-12-15 | 09:10 | 2025-12-15 | 06:44 | FLORICA | PRECI | 16.0 | 16.1 | / | / | 1.154 |  | 6.002 |  | 3.60 |  | 1 | Kinga |  | 3 | 3 | 11504706
3 | 16.0 | 16 | P/FINAL | 2025-12-15 | 09:14 | 2025-12-15 | 06:44 | FLORICA | PRECI | 17.0 | 17.1 | / | / | 1.211 |  |  |  | 1.11 |  | 1 | Kinga |  | 3 | 3 | 11504706
2 | 4.0 | 17 | P/FINAL | 2025-12-15 | 15:09 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 3.8 | 3.9 | / | / | 0.319 |  |  |  | 1.07 |  | 1 | Kinga |  | 3 | 2 | 115047
2 | 4.0 | 18 | P/FINAL | 2025-12-15 | 15:10 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 4.0 | 4.0 | / | / | 0.337 |  | 6.151 |  | 0.98 | 135 | 1 | Kinga |  | 3 | 2 | 115047
2 | 4.0 | 19 | P/FINAL | 2025-12-15 | 15:10 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 4.0 | 4.0 | / | / | 0.339 |  |  |  | 1.01 | 137 | 1 | Kinga |  | 3 | 2 | 115047
1 | 0.0 | 20 | P/FINAL | 2025-12-15 | 15:16 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 0.0 | 0.0 | / | / | 0.003 |  |  |  | 0.82 | 152 | 1 | Kinga |  | 3 | 1 | 115047
1 | 0.0 | 21 | P/FINAL | 2025-12-15 | 15:17 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 0.0 | 0.0 | / | / | -0.002 |  | 6.117 |  | 1.54 | 149 | 1 | Kinga |  | 3 | 1 | 115047
3 | 16.0 | 22 | P/FINAL | 2025-12-15 | 15:18 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 15.9 | 16.2 | / | / | 1.148 |  |  |  | 0.72 |  | 1 | Kinga |  | 3 | 3 | 115047
3 | 16.0 | 23 | P/FINAL | 2025-12-15 | 15:19 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 16.4 | 16.7 | / | / | 1.177 |  |  |  | 1.07 |  | 1 | Kinga |  | 3 | 3 | 115047
3 | 16.0 | 24 | P/FINAL | 2025-12-15 | 15:19 | 2025-12-15 | 14:30 | GABRIELLA | PRECI | 15.8 | 16.1 | / | / | 1.141 |  | 6.022 |  | 1.84 |  | 1 | Kinga |  | 3 | 3 | 115047
2 | 4.0 | 25 | Old A | 2025-12-16 | 09:39 | 2025-12-16 | 07:01 | FLORICA | PRECI | 3.9 | 4.0 | / | / | 0.327 |  |  |  | 3.48 |  | 1 | Kinga |  | 3 | 2 | 115047
2 | 4.0 | 26 | Old A | 2025-12-16 | 09:40 | 2025-12-16 | 07:01 | FLORICA | PRECI | 4.0 | 4.0 | / | / | 0.338 |  |  |  | 4.74 |  | 1 | Kinga |  | 3 | 2 | 115047
1 | 0.0 | 27 | Old A | 2025-12-16 | 09:41 | 2025-12-16 | 07:01 | FLORICA | PRECI | 0.0 | 0.0 | / | / | -0.009 |  |  |  | 5.28 |  | 1 | Kinga |  | 3 | 1 | 115047
1 | 0.0 | 28 | Old A | 2025-12-16 | 09:42 | 2025-12-16 | 07:01 | FLORICA | PRECI | 0.0 | 0.0 | / | / | -0.001 |  |  |  | 2.56 |  | 1 | Kinga |  | 3 | 1 | 115047
3 | 16.0 | 29 | Old A | 2025-12-16 | 09:49 | 2025-12-16 | 07:01 | FLORICA | PRECI | 15.9 | 15.9 | / | / | 1.151 |  |  |  | 11.3 |  | 1 | Kinga |  | 3 | 3 | 115047
3 | 16.0 | 30 | Old A | 2025-12-16 | 09:49 | 2025-12-16 | 07:01 | FLORICA | PRECI | 16.9 | 17.1 | / | / | 1.206 |  |  |  | 1.27 |  | 1 | Kinga |  | 3 | 3 | 115047
2 | 4.0 | 31 | P/FINAL | 2025-12-16 | 09:56 | 2025-12-16 | 07:01 | FLORICA | PRECI | 4.0 | 4.0 | / | / | 0.336 |  |  |  | 2.31 | 137 | 1 | Kinga |  | 3 | 2 | 115047
2 | 4.0 | 32 | P/FINAL | 2025-12-16 | 09:57 | 2025-12-16 | 07:01 | FLORICA | PRECI | 4.0 | 4.2 | / | / | 0.338 |  |  |  | 5.09 | 131 | 1 | Kinga |  | 3 | 2 | 115047
2 | 4.0 | 33 | P/FINAL | 2025-12-16 | 09:58 | 2025-12-16 | 07:01 | FLORICA | PRECI | 3.8 | 4.0 | / | / | 0.326 |  | 6.018 |  | 1.97 | 133 | 1 | Kinga |  | 3 | 2 | 115047
1 | 0.0 | 34 | P/FINAL | 2025-12-16 | 09:59 | 2025-12-16 | 07:01 | FLORICA | PRECI | 0.0 | 0.0 | / | / | -0.005 |  |  |  | 2.52 | 141 | 1 | Kinga |  | 3 | 1 | 115047
1 | 0.0 | 35 | P/FINAL | 2025-12-16 | 09:59 | 2025-12-16 | 07:01 | FLORICA | PRECI | 0.0 | 0.0 | / | / | -0.003 |  |  |  | 2.65 | 145 | 1 | Kinga |  | 3 | 1 | 115047
3 | 16.0 | 36 | P/FINAL | 2025-12-16 | 10:21 | 2025-12-16 | 07:01 | FLORICA | PRECI | 16.0 | 16.2 | / | / | 1.152 |  | 6.033 |  | 2.67 |  | 1 | Kinga |  | 3 | 3 | 115047
3 | 16.0 | 37 | P/FINAL | 2025-12-16 | 10:21 | 2025-12-16 | 07:01 | FLORICA | PRECI | 16.7 | 16.9 | / | / | 1.159 |  |  |  | 1.28 |  | 1 | Kinga |  | 3 | 3 | 115047
3 | 16.0 | 38 | P/FINAL | 2025-12-16 | 10:22 | 2025-12-16 | 07:01 | FLORICA | PRECI | 15.9 | 16.1 | / | / | 1.156 |  |  |  | 1.98 |  | 1 | Kinga |  | 3 | 3 | 115047
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4 mg/L | 9 | 18 | 4 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 16.3 mg/L | 9 | 18 | 16.3 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.0 | YES
4.0 | 3.6 ÷ 4.4 | 4.0 | YES
16.0 | 15.0 ÷ 17.0 | 16.3 | YES
Validation Date | by