## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709A-0 | HI93709A-0
0607/N | HI93709A-0 | CP-R33 | W25/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent A | 2029-08-01 | L57 Powder |  |  | Laboratory | TABLET 1 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-06-20 | 2024-08-28 | PRECI
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
HI5522 | QCC-224 | HI98703 | CTO-782
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.7 | 4.3 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97709 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | P/Final | 2024-08-28 | 11:48 | 2024-08-28 | 07:24 | FLORICA | PRECI | 3.7 | 3.9 | / | / | 0.344 |  |  |  | 0.66 | 134 |  | Brigitta P |  | 3 | 2
2 | 4.0 | 2 | P/Final | 2024-08-28 | 11:50 | 2024-08-28 | 07:24 | FLORICA | PRECI | 3.8 | 4.0 | / | / | 0.352 |  | 6.270 |  | 0.94 | 133 |  | Brigitta P |  | 3 | 2
3 | 16.0 | 3 | P/Final | 2024-08-28 | 11:53 | 2024-08-28 | 07:24 | FLORICA | PRECI | 15.5 | 15.7 | / | / | 1.135 |  | 6.108 |  | 1.75 | 132 |  | Brigitta P |  | 3 | 3
3 | 16.0 | 4 | P/Final | 2024-08-28 | 11:54 | 2024-08-28 | 07:24 | FLORICA | PRECI | 15.6 | 15.8 | / | / | 1.140 |  |  |  | 1.26 | 134 |  | Brigitta P |  | 3 | 3
1 | 0.0 | 5 | P/Final | 2024-08-28 | 11:50 | 2024-08-28 | 07:24 | FLORICA | PRECI | 0.1 | 0.3 | / | / | 0.005 |  | 6.200 |  | 0.92 |  |  | Brigitta P |  | 3 | 3
2 | 4.0 | 6 | Old A | 2024-08-29 | 09:47 | 2024-08-29 | 07:17 | FLORICA | PRECI | 3.7 | 3.8 | / | / | 0.002 |  |  |  |  | 122 |  | Brigitta P |  | 3 | 2
2 | 4.0 | 7 | P/Final | 2024-08-29 | 9:45 | 2024-08-29 | 07:17 | FLORICA | PRECI | 3.6 | 3.9 | / | / | 0.324 |  |  |  |  | 133 |  | Brigitta P |  | 3 | 2
3 | 16.0 | 8 | P/Final | 2024-08-29 | 9:45 | 2024-08-29 | 07:17 | FLORICA | PRECI | 15.3 | 15.3 | / | / | 0.332 |  |  |  |  | 126 |  | Brigitta P |  | 3 | 2
3 | 16.0 | 9 | Old A | 2024-08-29 | 9:45 | 2024-08-29 | 07:17 | FLORICA | PRECI | 15.3 | 15.5 | / | / | 1.125 |  |  |  |  | 133 |  | Brigitta P |  | 3 | 2
1 | 0.0 | 10 | Old A | 2024-08-29 | 9:45 | 2024-08-29 | 07:17 | FLORICA | PRECI | 0.1 | 0.3 | / | / | 1.126 | [6 empty] | Brigitta P |  | 3 | 2
1 | 0.0 | 11 | P/Final | 2024-08-29 | 11:07 | 2024-08-29 | 07:17 | FLORICA | PRECI | 0.1 | 0.2 | / | / | 0.002 |  | 6.171 |  | 1.34 | 122 |  | Brigitta P |  | 3 | 1 | 82510
2 | 4.0 | 12 | P/Final | 2024-08-29 | 11:08 | 2024-08-29 | 07:17 | FLORICA | PRECI | 3.7 | 3.8 | / | / | 0.324 |  |  |  | 0.73 | 133 |  | Brigitta P |  | 3 | 2 | 82510
2 | 4.0 | 13 | P/Final | 2024-08-29 | 11:08 | 2024-08-29 | 07:17 | FLORICA | PRECI | 3.7 | 3.9 | / | / | 0.332 |  | 6.150 |  | 0.79 | 126 |  | Brigitta P |  | 3 | 2 | 82510
3 | 16.0 | 14 | P/Final | 2024-08-29 | 11:09 | 2024-08-29 | 07:17 | FLORICA | PRECI | 15.3 | 15.3 | / | / | 1.125 |  |  |  | 0.72 | 133 |  | Brigitta P |  | 3 | 3 | 82510
3 | 16.0 | 15 | P/Final | 2024-08-29 | 11:09 | 2024-08-29 | 07:17 | FLORICA | PRECI | 15.3 | 15.5 | / | / | 1.126 |  | 5.990 |  | 0.67 |  |  | Brigitta P |  | 3 | 3 | DWA
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 3.8 mg/L | 5 | 10 | 3.8 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 15.5 mg/L | 5 | 10 | 15.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.2 mg/L | 2 | 4 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.2 | YES
4.0 | 3.7 ÷ 4.3 | 3.8 | YES
16.0 | 15.3 ÷ 16.7 | 15.5 | YES
Validation Date | by