## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709A-0 | HI93709A-0
0766 | HI93709A-0 | CP-R33 | W43/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent A | 2029-10-01 | L57 Powder |  |  | Laboratory |  | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0766 | 0674
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-10-01 | 2029-09-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-10-23 |  | PRECI |  |  | 0708
[6 empty] | Expiration A | Expiration B | Expiration D
2029-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI93708 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.7 | 4.3 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old A | 2024-10-23 | 06:55 | 2024-10-22 | 16:21 | MARK |  | 3.7 | 4.0 | / | / | 0.342 |  |  |  | 0.99 |  | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 2 | Old A | 2024-10-23 | 06:55 | 2024-10-22 | 16:21 | MARK |  | 3.7 | 3.9 | / | / | 0.339 |  |  |  | 1.11 |  | 1 | Brigitta P |  | 3 | 2 | 115813
3 | 16.0 | 3 | Old A | 2024-10-23 | 06:56 | 2024-10-22 | 16:21 | MARK |  | 16.7 | 16.9 | / | / | 1.220 |  |  |  | 1.11 |  | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 4 | Old A | 2024-10-23 | 06:58 | 2024-10-22 | 16:21 | MARK |  | 16.7 | 16.9 | / | / | 1.210 |  |  |  | 0.86 |  | 1 | Brigitta P |  | 3 | 3 | 115813
2 | 4.0 | 5 | Valid | 2024-10-23 | 07:08 | 2024-10-22 | 16:21 | MARK |  | 3.7 | 3.8 | / | / | 0.337 |  |  |  | 0.32 |  | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 6 | Valid | 2024-10-23 | 07:08 | 2024-10-22 | 16:21 | MARK |  | 3.7 | 3.9 | / | / | 0.337 |  |  |  | 0.75 |  | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 7 | Valid | 2024-10-23 | 07:09 | 2024-10-22 | 16:21 | MARK |  | 3.7 | 3.9 | / | / | 0.340 |  |  |  | 0.85 |  | 1 | Brigitta P |  | 3 | 2 | 115813
3 | 16.0 | 8 | Valid | 2024-10-23 | 07:16 | 2024-10-22 | 16:21 | MARK |  | 16.6 | 16.8 | / | / | 1.202 |  |  |  | 0.53 |  | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 9 | Valid | 2024-10-23 | 07:18 | 2024-10-22 | 16:21 | MARK |  | 16.6 | 16.7 | / | / | 1.202 |  |  |  | 0.65 |  | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 10 | Valid | 2024-10-23 | 07:19 | 2024-10-22 | 16:21 | MARK |  | 16.9 | 16.9 | / | / | 1.218 |  |  |  | 0.40 |  | 1 | Brigitta P |  | 3 | 3 | 115813
1 | 0.0 | 11 | Valid | 2024-10-23 | 7:20 | 2024-10-22 | 16:21 | MARK |  | 0.1 | 0.3 | / | / | 0.005 |  |  |  | 0.85 |  | 1 | Brigitta P |  | 3 | 3 | 115813
1 | 0.0 | 12 | Valid | 2024-10-23 | 7:20 | 2024-10-22 | 16:21 | MARK |  | 0.1 | 0.3 | / | / | 0.002 |  |  |  | 0.56 |  | 1 | Brigitta P |  | 3 | 3 | 115813
2 | 4.0 | 13 | P/Final | 2024-10-25 | 11:01 | 2024-10-25 | 07:01 | FLORICA | PRECI | 3.8 | 4.1 | / | / | 0.350 |  |  |  | 0.71 |  | 1 | Kinga |  | 3 | 2 | 81937
2 | 4.0 | 14 | P/Final | 2024-10-25 | 11:05 | 2024-10-25 | 07:01 | FLORICA | PRECI | 3.8 | 4.1 | / | / | 0.350 |  |  |  | 0.86 |  | 1 | Kinga |  | 3 | 2 | 81937
2 | 4.0 | 15 | P/Final | 2024-10-25 | 11:10 | 2024-10-25 | 07:01 | FLORICA | PRECI | 3.8 | 4.0 | / | / | 0.346 |  |  |  | 0.88 |  | 1 | Kinga |  | 3 | 2 | 81937
1 | 0.0 | 16 | P/Final | 2024-10-25 | 11:17 | 2024-10-25 | 07:01 | FLORICA | PRECI | 0.1 | 0.2 | / | / | 0.005 |  |  |  | 0.83 |  | 1 | Kinga |  | 3 | 1 | 81937
1 | 0.0 | 17 | P/Final | 2024-10-25 | 11:20 | 2024-10-25 | 07:01 | FLORICA | PRECI | 0.1 | 0.2 | / | / | 0.009 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 1 | 81937
3 | 16.0 | 18 | P/Final | 2024-10-25 | 11:47 | 2024-10-25 | 07:01 | FLORICA | PRECI | 16.7 | 16.7 | / | / | 1.209 |  |  |  | 0.56 |  | 1 | Kinga |  | 3 | 3 | 113217
3 | 16.0 | 19 | P/Final | 2024-10-25 | 11:49 | 2024-10-25 | 07:01 | FLORICA | PRECI | 16.7 | 16.8 | / | / | 1.210 |  |  |  | 0.77 |  | 1 | Kinga |  | 3 | 3 | 113217
3 | 16.0 | 20 | P/Final | 2024-10-25 | 11:57 | 2024-10-25 | 07:01 | FLORICA | PRECI | 17.3 | 17.4 | / | / | 1.240 |  |  |  | 0.65 |  | 1 | Kinga |  | 3 | 3 | 113217
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 3.9 mg/L | 3 | 6 | 3.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 16.9 mg/L | 2 | 4 | 16.7 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.2 mg/L | 2 | 4 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.2 | YES
4.0 | 3.7 ÷ 4.3 | 3.9 | YES
16.0 | 15.3 ÷ 16.7 | 16.7 | YES
Validation Date | by