## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709A-0 | HI93709A-0
0931 | HI93709A-0 | CP-R33 | W 07/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent A | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 140 | 160
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0931 | 0844
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2029-11-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-14 | 2025-03-17 | PRECI |  |  | 0804
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.7 | 4.3 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97709 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old A | 2025-02-12 | 16:39 | 2025-02-12 | 15:54 | MARK |  | 3.7 | 3.9 | / | / | 0.337 |  |  |  | 0.76 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 2 | Valid | 2025-02-12 | 16:39 | 2025-02-12 | 15:54 | MARK |  | 3.7 | 3.9 | / | / | 0.344 |  | 6.140 |  | 0.76 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 3 | Valid | 2025-02-12 | 16:46 | 2025-02-12 | 15:54 | MARK |  | 3.6 | 3.8 | / | / | 0.336 |  |  |  | 0.76 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 4 | Valid | 2025-02-12 | 16:47 | 2025-02-12 | 15:54 | MARK |  | 3.8 | 4.0 | / | / | 0.346 |  |  |  | 0.83 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 5 | Valid | 2025-02-12 | 16:55 | 2025-02-12 | 15:54 | MARK |  | 15.9 | 15.8 | / | / | 1.158 |  |  |  | 0.84 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 6 | Valid | 2025-02-12 | 16:56 | 2025-02-12 | 15:54 | MARK |  | 15.9 | 15.4 | / | / | 1.158 |  | 6.228 |  | 1.11 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 7 | Valid | 2025-02-12 | 16:57 | 2025-02-12 | 15:54 | MARK |  | 15.8 | 15.8 | / | / | 1.156 |  |  |  | 1.58 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 8 | Valid | 2025-02-12 | 16:59 | 2025-02-12 | 15:54 | MARK |  | 0.1 | 0.3 | / | / | 0.005 |  | 6.237 |  | 0.88 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 9 | Valid | 2025-02-12 | 16:59 | 2025-02-12 | 15:54 | MARK |  | 0.0 | 0.2 | / | / | -0.001 |  |  |  | 1.05 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 10 | Old A | 2025-02-12 | 16:59 | 2025-02-12 | 15:54 | MARK |  | 0.0 | 0.4 | / | / | -0.001 |  |  |  | 0.84 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 11 | Old A | 2025-02-14 | 12:30 | 2025-02-14 | 11:22 | FLORICA | PRECI | 3.8 | 4.0 | / | / | 0.346 |  |  |  | 0.22 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 12 | Old A | 2025-02-14 | 12:34 | 2025-02-14 | 11:22 | FLORICA | PRECI | 16.2 | 16.7 | / | / | 1.162 |  |  |  | 0.85 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 13 | Old A | 2025-02-14 | 12:36 | 2025-02-14 | 11:22 | FLORICA | PRECI | 0.1 | 0.2 | / | / | 0.003 |  |  |  | 0.89 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 14 | P/Prod | 2025-02-14 | 12:44 | 2025-02-14 | 11:22 | FLORICA | PRECI | 3.7 | 3.9 | / | / | 0.335 |  |  |  | 0.85 | 135 | 1 | Kinga |  | 3 | 2
3 | 16.0 | 15 | P/Prod | 2025-02-14 | 12:47 | 2025-02-14 | 11:22 | FLORICA | PRECI | 16.3 | 16.5 | / | / | 1.184 |  |  |  | 0.63 | 137 | 1 | Kinga |  | 3 | 3
3 | 16.0 | 16 | P/Prod | 2025-02-14 | 12:48 | 2025-02-14 | 11:22 | FLORICA | PRECI | 16.7 | 16.9 | / | / | 1.217 |  |  |  | 0.91 | 140 | 1 | Kinga |  | 3 | 3
2 | 4.0 | 17 | P/Prod | 2025-02-14 | 12:49 | 2025-02-14 | 11:22 | FLORICA | PRECI | 3.7 | 3.9 | / | / | 0.341 |  | 6.003 |  | 0.78 | 143 | 1 | Kinga |  | 3 | 2
1 | 0.0 | 18 | P/Prod | 2025-02-14 | 12:50 | 2025-02-14 | 11:22 | FLORICA | PRECI | 0.1 | 0.2 | / | / | 0.006 |  |  |  | 1.32 | 140 | 1 | Kinga |  | 3 | 1
1 | 0.0 | 19 | P/Prod | 2025-02-14 | 12:51 | 2025-02-14 | 11:22 | FLORICA | PRECI | 0.1 | 0.2 | / | / | 0.002 |  | 6.220 |  | 1.28 |  | 1 | Kinga |  | 3 | 1
3 | 16.0 | 20 | Old A | 2025-02-17 | 09:30 | 2025-02-17 | 06:56 | NINA |  | 15.9 | 15.9 | / | / | 1.185 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 21 | Old A | 2025-02-17 | 09:31 | 2025-02-17 | 06:56 | NINA |  | 16.0 | 16.2 | / | / | 1.168 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 3
2 | 4.0 | 22 | Old A | 2025-02-17 | 09:31 | 2025-02-17 | 06:56 | NINA |  | 3.8 | 4.1 | / | / | 0.346 |  |  |  | 1.59 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 23 | Old A | 2025-02-17 | 09:32 | 2025-02-17 | 06:56 | NINA |  | 3.8 | 4.1 | / | / | 0.351 |  |  |  | 1.29 |  | 1 | Kinga |  | 3 | 2
1 | 0.0 | 24 | Old A | 2025-02-17 | 09:32 | 2025-02-17 | 06:56 | NINA |  | 0.1 | 0.2 | / | / | 0.002 |  |  |  | 1.90 |  | 1 | Kinga |  | 3 | 1
3 | 16.0 | 25 | P/Prod | 2025-02-17 | 09:33 | 2025-02-17 | 06:56 | NINA |  | 16.7 | 17.1 | / | / | 1.219 |  | 5.987 |  | 036 | 130 | 1 | Kinga |  | 3 | 3
3 | 16.0 | 26 | P/Prod | 2025-02-17 | 09:34 | 2025-02-17 | 06:56 | NINA |  | 16.7 | 17.1 | / | / | 1.215 |  |  |  | 0.39 | 139 | 1 | Kinga |  | 3 | 3
2 | 4.0 | 27 | P/Prod | 2025-02-17 | 09:34 | 2025-02-17 | 06:56 | NINA |  | 3.7 | 4.0 | / | / | 0.342 |  | 5.610 |  | 0.47 | 129 | 1 | Kinga |  | 3 | 2
2 | 4.0 | 28 | P/Prod | 2025-02-17 | 09:35 | 2025-02-17 | 06:56 | NINA |  | 3.8 | 4.0 | / | / | 0.346 |  |  |  | 0.48 | 140 | 1 | Kinga |  | 3 | 2
1 | 0.0 | 29 | P/Prod | 2025-02-17 | 09:35 | 2025-02-17 | 06:56 | NINA |  | 0.0 | 0.0 | / | / | 0.004 |  | 6.104 |  | 1.87 | 137 | 1 | Kinga |  | 3 | 1
2 | 4.0 | 30 | P/Prod | 2025-02-17 | 15:12 | 2025-02-17 | 14:25 | FLORICA |  | 3.7 | 3.7 | / | / | 0.343 |  |  |  | 0.74 | 124 | 1 | Brigitta P |  | 3 | 2
2 | 4.0 | 31 | P/Prod | 2025-02-17 | 15:13 | 2025-02-17 | 14:25 | FLORICA |  | 3.7 | 4.0 | / | / | 0.340 |  | 5.986 |  | 0.97 | 139 | 1 | Brigitta P |  | 3 | 2
3 | 16.0 | 32 | P/Prod | 2025-02-17 | 15:20 | 2025-02-17 | 14:25 | FLORICA |  | 16.2 | 16.7 | / | / | 1.175 |  |  |  | 0.59 | 133 | 1 | Brigitta P |  | 3 | 3
3 | 16.0 | 33 | P/Prod | 2025-02-17 | 15:21 | 2025-02-17 | 14:25 | FLORICA |  | 16.3 | 16.7 | / | / | 1.181 |  | 5.933 |  | 0.46 | 135 | 1 | Brigitta P |  | 3 | 3
1 | 0.0 | 34 | P/Prod | 2025-02-17 | 15:28 | 2025-02-17 | 14:25 | FLORICA |  | 0.0 | 0.2 | / | / | -0.011 |  |  |  | 2.21 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 35 | P/Prod | 2025-02-17 | 15:28 | 2025-02-17 | 14:25 | FLORICA |  | 0.0 | 0.0 | / | / | -0.012 |  | 6.070 |  | 2.35 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0 mg/L | 0 | 0 | 0 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 0 | 0 | 0 mg/L