## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709B-0 | HI93709B-0
0674 | HI93709B-0 | CP-R34 | W37/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent B | 2029-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-09-09 | 2024-10-12 | 1HEAD |  |  | 0607 | 0636
[6 empty] | Expiration A | Expiration B | Expiration D
[6 empty] | 2029-06-01 | 2029-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-805
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.7 | 4.3 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old B | 2024-09-10 | 11:44 | 2024-09-10 | 14:56 | ERIKA |  | 3.7 | 4.0 | / | / |  |  |  |  | 1.22 |  |  | Brigitta P |  | 3 | 2
3 | 16.0 | 2 | Old A | 2024-09-10 | 13:47 | 2024-09-10 | 14:56 | ERIKA |  | 16.4 | 16.7 | / | / | 1.189 |  |  |  | 1.63 |  |  | Brigitta P |  | 3 | 3
1 | 0.0 | 3 | Old B | 2024-09-10 | 13:48 | 2024-09-10 | 14:56 | ERIKA |  | 0.1 | 0.4 | / | / | 0.002 |  |  |  | 1.52 |  |  | Brigitta P |  | 3 | 1
2 | 4.0 | 4 | Valid | 2024-09-10 | 13:57 | 2024-09-10 | 14:56 | ERIKA |  | 3.7 | 4.0 | / | / | 0.338 |  |  |  | 0.72 |  |  | Brigitta P |  | 3 | 2
2 | 4.0 | 5 | Valid | 2024-09-10 | 13:58 | 2024-09-10 | 14:56 | ERIKA |  | 3.7 | 4.0 | / | / | 0.337 |  |  |  | 0.72 |  |  | Brigitta P |  | 3 | 2
2 | 4.0 | 6 | Valid | 2024-09-10 | 13:58 | 2024-09-10 | 14:56 | ERIKA |  | 3.7 | 4.0 | / | / | 0.337 |  |  |  | 1.05 |  |  | Brigitta P |  | 3 | 2
3 | 16.0 | 7 | Valid | 2024-09-10 | 14:02 | 2024-09-10 | 14:56 | ERIKA |  | 16.1 | 16.4 | / | / | 1.172 |  |  |  | 0.82 |  |  | Brigitta P |  | 3 | 3
3 | 16.0 | 8 | Valid | 2024-09-10 | 14:02 | 2024-09-10 | 14:56 | ERIKA |  | 16.4 | 16.7 | / | / | 1.188 |  |  |  | 0.59 |  |  | Brigitta P |  | 3 | 3
3 | 16.0 | 9 | Valid | 2024-09-10 | 14:00 | 2024-09-10 | 14:56 | ERIKA |  | 16.1 | 16.4 | / | / | 1.171 |  |  |  | 0.59 |  |  | Brigitta P |  | 3 | 3
1 | 0.0 | 10 | Valid | 2024-09-10 | 14:05 | 2024-09-10 | 14:56 | ERIKA |  | 0.0 | 0.3 | / | / | -0.005 | [6 empty] | Brigitta P |  | 3 | 3
1 | 0.0 | 11 | Valid | 2024-09-10 | 14:05 | 2024-09-10 | 14:56 | ERIKA |  | 0.0 | 0.3 | / | / | -0.008 | [6 empty] | Brigitta P |  | 3 | 3
1 | 0.0 | 12 | P/Final | 2024-09-12 | 14:05 | 2024-09-10 | 14:56 | MARA | 08:32 | 0.0 | 0.3 | / | / | -0.008 | [6 empty] | Brigitta P |  | 3 | 3
1 | 0.0 | 13 | P/Final | 2024-09-12 | 14:05 | 2024-09-10 | 14:56 | MARA | 08:32 | 0.0 | 0.3 | / | / | -0.008 | [6 empty] | Brigitta P |  | 3 | 3
2 | 4.0 | 14 | P/Final | 2024-09-12 | 14:05 | 2024-09-10 | 14:56 | MARA | 08:32 | 3.7 | 4.0 | / | / | 0.339 | [6 empty] | Brigitta P |  | 3 | 3
2 | 4.0 | 15 | P/Final | 2024-09-12 | 14:05 | 2024-09-10 | 14:56 | MARA | 08:32 | 3.7 | 4.0 | / | / | 0.337 | [6 empty] | Brigitta P |  | 3 | 3
3 | 16.0 | 16 | P/Final | 2024-09-12 | 14:05 | 2024-09-10 | 14:56 | MARA | 08:32 | 16.1 | 16.4 | / | / | 1.171 | [6 empty] | Brigitta P |  | 3 | 3
3 | 16.0 | 17 | P/Final | 2024-09-12 | 14:05 | 2024-09-10 | 14:56 | MARA | 08:32 | 16.1 | 16.4 | / | / | 1.171 | [6 empty] | Brigitta P |  | 3 | 3
2 | 4.0 | 18 | P/Final | 2024-09-13 | 11:04 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 3.7 | 4.0 | / | / | 0.340 |  |  |  | 0.78 |  |  | Brigitta P |  | 3 | 2 | 104036
2 | 4.0 | 19 | P/Final | 2024-09-13 | 11:05 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 3.7 | 3.9 | / | / | 0.339 |  |  |  | 0.97 |  |  | Brigitta P |  | 3 | 2 | 104036
2 | 4.0 | 20 | P/Final | 2024-09-13 | 11:11 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 3.7 | 4.0 | / | / | 0.342 |  |  |  | 0.67 |  |  | Brigitta P |  | 3 | 2 | 104036
3 | 16.0 | 21 | P/Final | 2024-09-13 | 11:19 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 16.5 | 16.7 | / | / | 1.197 |  |  |  | 0.76 |  |  | Brigitta P |  | 3 | 3 | 104036
3 | 16.0 | 22 | P/Final | 2024-09-13 | 11:20 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 16.5 | 16.7 | / | / | 1.194 |  |  |  | 0.75 |  |  | Brigitta P |  | 3 | 3 | 104036
3 | 16.0 | 23 | P/Final | 2024-09-13 | 11:26 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 16.5 | 16.7 | / | / | 1.194 |  |  |  | 0.65 |  |  | Brigitta P |  | 3 | 3 | 104036
1 | 0.0 | 24 | P/Final | 2024-09-13 | 11:31 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 0.0 | 0.2 | / | / | -0.002 |  |  |  | 0.65 |  |  | Brigitta P |  | 3 | 1
1 | 0.0 | 25 | P/Final | 2024-09-13 | 11:32 | 2024-09-12 | 2024/09/12 14:45 | Irina |  | 0.0 | 0.2 | / | / | -0.002 |  |  |  | 1.14 |  |  | Brigitta P |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 3.8 mg/L | 5 | 10 | 3.8 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 16.5 mg/L | 5 | 10 | 16.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.1 mg/L | 4 | 8 | 0.1 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.1 | YES
4.0 | 3.7 ÷ 4.3 | 3.8 | YES
16.0 | 15.3 ÷ 16.7 | 16.5 | YES
Validation Date | by