## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709B-0 | HI93709B-0
0716 | HI93709B-0 | CP-R34 | W40/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent B | 2029-09-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0708 | 0716
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-09-01 | 2029-09-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2024-10-14 | 2024-10-15 | 1HEAD |  |  |  | 0636
[6 empty] | Expiration A | Expiration B | Expiration D
2029-07-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.7 | 4.3 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97709 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | P/Final | 2024-10-14 | 15:35 | 2024-10-14 |  | FLORICA | 1 | 3.7 | 3.7 | / | / | 0.339 | [5 empty] | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 2 | P/Final | 2024-10-14 | 15:35 | 2024-10-14 |  | FLORICA | 1 | 3.7 | 3.9 | / | / | 0.339 | [5 empty] | 1 | Brigitta P |  | 3 | 2 | 115813
3 | 16.0 | 3 | P/Final | 2024-10-14 | 15:39 | 2024-10-14 |  | FLORICA | 1 | 16.5 | 17.1 | / | / | 1.198 | [5 empty] | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 4 | P/Final | 2024-10-14 | 15:39 | 2024-10-14 |  | FLORICA | 1 | 16.7 | 17.0 | / | / | 1.209 | [5 empty] | 1 | Brigitta P |  | 3 | 3 | 115813
1 | 0.0 | 5 | P/Final | 2024-10-14 | 15:40 | 2024-10-14 |  | FLORICA | 1 | 0.0 | 0.3 | / | / | -0.006 | [5 empty] | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 6 | Old B | 2024-10-14 | 15:42 | 2024-10-14 |  | FLORICA | 1 | 16.5 | 16.8 | / | / | 1.198 | [5 empty] | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 7 | Old B | 2024-10-14 | 15:40 | 2024-10-14 |  | FLORICA | 1 | 3.7 | 3.9 | / | / | 1.198 | [5 empty] | 1 | Brigitta P |  | 3 | 2 | 115813
1 | 0.0 | 8 | Old B | 2024-10-14 | 15:40 | 2024-10-14 |  | FLORICA | 1 | 0.0 | 0.2 | / | / | -0.006 | [5 empty] | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 9 | P/Final | 2024-10-15 | 08:53 | 2024-10-15 | 07:13 | IRINA | 1 | 3.7 | 3.9 | / | / | 0.344 |  |  |  | 0.89 |  | 1 | Brigitta P |  | 3 | 2 | 115813
2 | 4.0 | 10 | P/Final | 2024-10-15 | 08:54 | 2024-10-15 | 07:13 | IRINA | 1 | 3.8 | 3.9 | / | / | 0.346 |  |  |  | 0.89 |  | 1 | Brigitta P |  | 3 | 2 | 115813
3 | 16.0 | 11 | P/Final | 2024-10-15 | 08:58 | 2024-10-15 | 07:13 | IRINA | 1 | 16.2 | 16.3 | / | / | 1.178 |  |  |  | 0.89 |  | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 12 | P/Final | 2024-10-15 | 08:59 | 2024-10-15 | 07:13 | IRINA | 1 | 16.1 | 16.2 | / | / | 1.174 |  |  |  | 0.81 |  | 1 | Brigitta P |  | 3 | 3 | 115813
2 | 4.0 | 13 | Old B | 2024-10-15 | 9:00 | 2024-10-15 | 07:13 | IRINA | 1 | 3.7 | 3.9 | / | / | 0.342 |  |  |  | 1.14 |  | 1 | Brigitta P |  | 3 | 3 | 115813
3 | 16.0 | 14 | Old B | 2024-10-15 | 9:00 | 2024-10-15 | 07:13 | IRINA | 1 | 16.5 | 16.7 | / | / | 1.198 |  |  |  | 0.80 |  | 1 | Brigitta P |  | 3 | 3 | 115813
1 | 0.0 | 15 | P/Final | 2024-10-15 | 9:05 | 2024-10-15 | 07:13 | IRINA | 1 | 0.1 | 0.3 | / | / | 0.005 |  |  |  | 0.90 |  | 1 | Brigitta P |  | 3 | 3 | 115813
1 | 0.0 | 16 | P/Final | 2024-10-15 | 9:05 | 2024-10-15 | 07:13 | IRINA | 1 | 0.1 | 0.3 | / | / | 0.003 |  |  |  | 0.98 |  | 1 | Brigitta P |  | 3 | 3 | 115813
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 3.8 mg/L | 4 | 8 | 3.8 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 16.5 mg/L | 4 | 8 | 16.5 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.2 mg/L | 3 | 6 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.2 | YES
4.0 | 3.7 ÷ 4.3 | 3.8 | YES
16.0 | 15.3 ÷ 16.7 | 16.5 | YES
Validation Date | by