## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709B-0 | HI93709B-0
0920 | HI93709B-0 | CP-R34 | W 07/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent B | 2030-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0804 | 0920
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2029-11-01 | 2030-02-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-17 | 2025-03-19 | 1HEAD |  |  |  | 0844
[6 empty] | Expiration A | Expiration B | Expiration D
2029-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 4.0 | 3.7 | 4.3 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 4.0 | 1 | Old B | 2025-02-13 | 12:52 | 2025-02-13 | 12:24 | ERIKA |  | 3.7 | 3.9 | / | / | 0.336 |  |  |  | 0.86 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 2 | Old B | 2025-02-13 | 12:54 | 2025-02-13 | 12:24 | ERIKA |  | 15.7 | 15.9 | / | / | 1.198 |  |  |  | 0.70 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 3 | Old B | 2025-02-13 | 12:59 | 2025-02-13 | 12:24 | ERIKA |  | 0.1 | 0.4 | / | / | 0.006 |  |  |  | 0.99 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 4 | P/Prod | 2025-02-13 | 13:47 | 2025-02-13 | 12:24 | ERIKA |  | 3.7 | 4.1 | / | / | 0.339 |  |  |  | 0.47 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 5 | P/Prod | 2025-02-13 | 13:47 | 2025-02-13 | 12:24 | ERIKA |  | 3.7 | 3.9 | / | / | 0.339 | 5.898 |  |  | 0.53 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 6 | P/Prod | 2025-02-13 | 13:55 | 2025-02-13 | 12:24 | ERIKA |  | 16.7 | 16.7 | / | / | 1.214 |  |  |  | 0.40 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 7 | P/Prod | 2025-02-13 | 13:59 | 2025-02-13 | 12:24 | ERIKA |  | 16.5 | 16.6 | / | / | 1.198 | 5.977 |  |  | 0.41 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 8 | P/Prod | 2025-02-13 | 14:04 | 2025-02-13 | 12:24 | ERIKA |  | 0.1 | 0.2 | / | / | 0.007 |  |  |  | 0.63 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 9 | P/Prod | 2025-02-13 | 14:04 | 2025-02-13 | 12:24 | ERIKA |  | 0.1 | 0.1 | / | / | 0.003 | 5.888 |  |  | 0.71 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 10 | P/Prod | 2025-02-18 | 14:44 | 2025-02-18 | 11:04 | TAMARA |  | 3.7 | 4.0 | / | / | 0.343 |  |  |  | 1.80 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 11 | P/Prod | 2025-02-18 | 14:45 | 2025-02-18 | 11:04 | TAMARA |  | 3.7 | 4.0 | / | / | 0.341 |  |  |  | 0.50 | 91 | 1 | Kinga |  | 3 | 2
3 | 16.0 | 12 | P/Prod | 2025-02-18 | 14:51 | 2025-02-18 | 11:04 | TAMARA |  | 16.5 | 16.7 | / | / | 1.196 |  |  |  | 0.57 | 85 | 1 | Kinga |  | 3 | 3
3 | 16.0 | 13 | P/Prod | 2025-02-18 | 14:52 | 2025-02-18 | 11:04 | TAMARA |  | 16.7 | 16.7 | / | / | 1.205 |  |  |  | 0.46 | 96 | 1 | Kinga |  | 3 | 3
3 | 16.0 | 14 | P/Prod | 2025-02-18 | 14:53 | 2025-02-18 | 11:04 | TAMARA |  | 16.5 | 16.7 | / | / | 1.197 |  |  |  | 0.47 | 83 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 15 | P/Prod | 2025-02-18 | 15:02 | 2025-02-18 | 11:04 | TAMARA |  | 0.1 | 0.0 | / | / | 0.004 |  |  |  | 0.73 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 16 | P/Prod | 2025-02-18 | 15:03 | 2025-02-18 | 11:04 | TAMARA |  | 0.0 | 0.2 | / | / | -0.003 |  |  |  | 0.93 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 17 | P/Prod | 2025-02-18 | 15:04 | 2025-02-18 | 11:04 | TAMARA |  | 0.0 | 0.2 | / | / | -0.002 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 18 | P/FINAL | 2025-02-19 | 09:22 | 2025-02-19 | 07:42 | TAMARA |  | 3.8 | 4.0 | / | / | 0.349 |  |  |  | 0.50 | 93 | 1 | Kinga |  | 3 | 2
2 | 4.0 | 19 | P/FINAL | 2025-02-19 | 09:26 | 2025-02-19 | 07:42 | TAMARA |  | 3.8 | 3.9 | / | / | 0.346 | 5.960 |  |  | 0.50 | 99 | 1 | Kinga |  | 3 | 2
3 | 16.0 | 20 | P/FINAL | 2025-02-19 | 09:30 | 2025-02-19 | 07:42 | TAMARA |  | 16.6 | 16.6 | / | / | 1.202 |  |  |  | 0.46 | 101 | 1 | Kinga |  | 3 | 3
3 | 16.0 | 21 | P/FINAL | 2025-02-19 | 09:31 | 2025-02-19 | 07:42 | TAMARA |  | 16.6 | 16.7 | / | / | 1.239 | 5.792 |  |  | 0.40 | 96 | 1 | Kinga |  | 3 | 3
1 | 0.0 | 22 | P/FINAL | 2025-02-19 | 09:38 | 2025-02-19 | 07:42 | TAMARA |  | 0.0 | 0.0 | / | / | 0.001 |  |  |  | 0.96 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 23 | P/FINAL | 2025-02-19 | 09:38 | 2025-02-19 | 07:42 | TAMARA |  | 0.1 | 0.2 | / | / | 0.002 | 5.883 |  |  | 0.56 |  | 1 | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.9 mg/L | 6 | 12 | 3.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 16.6 mg/L | 7 | 14 | 16.6 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 0.1 mg/L | 7 | 14 | 0.1 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.1 | YES
4.0 | 3.7 ÷ 4.3 | 3.9 | YES
16.0 | 15.3 ÷ 16.7 | 16.6 | YES
Validation Date | by