## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709B-0 | HI93709B-0
1014 | HI93709B-0 | CP-R34 | W17 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent B | 2030-04-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
0931 | 1014
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-02-01 | 2030-04-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-04-23 | 2025-04-30 | 1HEAD |  |  |  | 0994
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
3 | 16.0 | 15.3 | 16.7 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
2 | 4.0 | 3.7 | 4.3 | [8 empty] | 5.7 | 5.0 | 6.6
1 | 0.0 | 0.0 | 0.2
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97709 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
3 | 16.0 | 1 | Old B | 2025-04-23 | 15:13 | 2025-04-23 | 14:27 | ERIKA |  | 16.6 | 16.7 | / | / | 1.204 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 3
2 | 4.0 | 2 | Old B | 2025-04-23 | 15:14 | 2025-04-23 | 14:27 | ERIKA |  | 3.8 | 3.9 | / | / | 0.317 |  |  |  | 0.60 |  | 1 | Kinga |  | 3 | 2
1 | 0.0 | 3 | Old B | 2025-04-23 | 15:15 | 2025-04-23 | 14:27 | ERIKA |  | 0.0 | 0.2 | / | / | -0.02 |  |  |  | 1.16 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 4 | Valid | 2025-04-23 | 15:23 | 2025-04-23 | 14:27 | ERIKA |  | 3.4 | 4.1 | / | / | 0.315 |  |  |  | 1.02 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 5 | Valid | 2025-04-23 | 15:24 | 2025-04-23 | 14:27 | ERIKA |  | 3.5 | 4.0 | / | / | 0.321 |  | 6.173 |  | 1.08 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 6 | Valid | 2025-04-23 | 15:25 | 2025-04-23 | 14:27 | ERIKA |  | 16.5 | 16.6 | / | / | 1.194 |  |  |  | 1.11 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 7 | Valid | 2025-04-23 | 15:26 | 2025-04-23 | 14:27 | ERIKA |  | 16.6 | 16.7 | / | / | 1.203 |  | 6.119 |  | 0.58 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 8 | Valid | 2025-04-23 | 15:27 | 2025-04-23 | 14:27 | ERIKA |  | 0.0 | 0.2 | / | / | -0.026 |  |  |  | 2.51 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 9 | Valid | 2025-04-23 | 15:28 | 2025-04-23 | 14:27 | ERIKA |  | 0.0 | 0.1 | / | / | -0.024 |  | 6.274 |  | 2.36 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 10 | P/FINAL | 2025-04-29 | 11:52 | 2025-04-29 | 11:22 | Tamara |  | 3.9 | 4.1 | / | / | 0.354 |  | 6.231 |  | 0.79 | 93 | 1 | Kinga |  | 3 | 2 | 115905
2 | 4.0 | 11 | P/FINAL | 2025-04-29 | 11:53 | 2025-04-29 | 11:22 | Tamara |  | 3.8 | 4.1 | / | / | 0.351 |  | 6.241 |  | 1.16 | 85 | 1 | Kinga |  | 3 | 2 | 115905
3 | 16.0 | 12 | P/FINAL | 2025-04-29 | 12:09 | 2025-04-29 | 11:22 | Tamara |  | 16.6 | 16.7 | / | / | 1.211 |  |  |  | 1.46 | 92 | 1 | Kinga |  | 3 | 3 | 115905
3 | 16.0 | 13 | P/FINAL | 2025-04-29 | 12:10 | 2025-04-29 | 11:22 | Tamara |  | 16.5 | 16.6 | / | / | 1.194 |  | 6.048 |  | 1.65 | 76 | 1 | Kinga |  | 3 | 3 | 115905
3 | 16.0 | 14 | P/FINAL | 2025-04-29 | 12:11 | 2025-04-29 | 11:22 | Tamara |  | 15.8 | 16.0 | / | / | 1.157 |  | 6.178 |  | 1.64 | 102 | 1 | Kinga |  | 3 | 3 | 115905
1 | 0.0 | 15 | P/FINAL | 2025-04-29 | 12:19 | 2025-04-29 | 11:22 | Tamara |  | 0.2 | 0.0 | / | / | 0.041 |  |  |  | 0.64 |  | 1 | Kinga |  | 3 | 1 | 115905
2 | 4.0 | 16 | P/FINAL | 2025-04-29 | 15:38 | 2025-04-29 | 14:36 | MARA | 1 | 3.7 | 4.0 | / | / | 0.373 |  | 6.142 |  | 0.50 | 88 | 1 | Brigitta P |  | 3 | 2 | 115905
2 | 4.0 | 17 | P/FINAL | 2025-04-29 | 15:38 | 2025-04-29 | 14:36 | MARA | 1 | 3.8 | 4.0 | / | / | 0.352 |  |  |  | 0.58 | 71 | 1 | Brigitta P |  | 3 | 2 | 115905
1 | 0.0 | 18 | P/FINAL | 2025-04-29 | 15:42 | 2025-04-29 | 14:36 | MARA | 1 | 0.1 | 0.3 | / | / | 0.008 |  | 6.146 |  | 0.48 | 70 | 1 | Brigitta P |  | 3 | 1 | 115905
3 | 16.0 | 19 | P/FINAL | 2025-04-29 | 15:45 | 2025-04-29 | 14:36 | MARA | 1 | 16.7 | 16.9 | / | / | 1.146 |  |  |  | 0.76 | 84 | 1 | Brigitta P |  | 3 | 1 | 115905
3 | 16.0 | 20 | P/FINAL | 2025-04-29 | 15:45 | 2025-04-29 | 14:36 | MARA | 1 | 16.7 | 16.7 | / | / | 1.146 |  | 6.421 |  | 0.37 | 61 | 1 | Brigitta P |  | 3 | 1 | 115905
2 | 4.0 | 21 | P/FINAL | 2025-04-30 | 09:10 | 2025-04-30 | 06:42 | NINA | PRECI | 3.8 | 4.1 | / | / | 0.352 |  |  |  | 0.41 | 85 | 1 | Brigitta P |  | 3 | 2 | 115905
2 | 4.0 | 22 | P/FINAL | 4.42025/04/30 | 09:11 | 2025-04-30 | 06:42 | NINA | PRECI | 4.4 | 4.0 | / | / | 0.396 |  | 6.023 |  | 0.67 | 78 | 1 | Brigitta P |  | 3 | 2 | 115905
3 | 16.0 | 23 | P/FINAL | 4.42025/04/30 | 09:11 | 2025-04-30 | 06:42 | NINA | PRECI | 16.1 | 16.4 | / | / | 1.169 |  |  |  | 0.46 | 87 | 1 | Brigitta P |  | 3 | 3 | 115905
3 | 16.0 | 24 | P/FINAL | 4.42025/04/30 | 09:11 | 2025-04-30 | 06:42 | NINA | PRECI | 16.0 | 16.4 | / | / | 1.168 |  | 6.019 |  | 0.53 | 78 | 1 | Brigitta P |  | 3 | 3 | 115905
1 | 0.0 | 25 | P/FINAL | 4.42025/04/30 | 09:12 | 2025-04-30 | 06:42 | NINA | PRECI | 0.1 | 0.2 | / | / | 0.003 |  |  |  | 1.23 | 107 | 1 | Brigitta P |  | 3 | 1 | 115905
1 | 0.0 | 26 | P/FINAL | 4.42025/04/30 | 09:12 | 2025-04-30 | 06:42 | NINA | PRECI | 0.1 | 0.2 | / | / | 0.002 |  |  |  | 0.54 | 91 | 1 | Brigitta P |  | 3 | 1 | 115905
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 16.4 mg/L | 7 | 14 | 16.4 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4 mg/L | 6 | 12 | 4 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.2 mg/L | 4 | 8 | 0.2 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.2 | YES
4.0 | 3.7 ÷ 4.3 | 4.0 | YES
16.0 | 15.3 ÷ 16.7 | 16.4 | YES
Validation Date | by
2025-05-01 | Eugenia