## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI709B-0 | HI93709B-0
1096 | HI93709B-0 | CP-R34 | W 27/1 |  | Parameter Formula | Mn | Mn
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Manganese HR Reagent B | 2030-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
105 | 95 | 115
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
1046 | 1096
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
2030-05-01 | 2030-07-01
Reagent Range Min | Reagent Range Max
0.0 mg/L | 20.0 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-04 | 2025-07-10 | 1 HEAD |  |  |  | 0994
[6 empty] | Expiration A | Expiration B | Expiration D
2030-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97709 | CTO-632
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.0 | 0.0 | 0.2 |  | MR37 |  | 0.2 | & | 3% | 100% |  | 5.7 | 5.0 | 6.6
2 | 4.0 | 3.7 | 4.3 | [8 empty] | 5.7 | 5.0 | 6.6
3 | 16.0 | 15.3 | 16.7
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97709 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.0 | 1 | Old B | 2025-07-04 | 09:10 | 2025-07-04 | 07:56 | ERIKA |  | 0.1 | 0.3 | / | / | 0.005 |  |  |  | 0.69 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 2 | Old B | 2025-07-04 | 09:10 | 2025-07-04 | 07:56 | ERIKA |  | 0.1 | 0.3 | / | / | 0.004 |  |  |  | 1.14 |  | 1 | Kinga |  | 3 | 1
2 | 4.0 | 3 | Old B | 2025-07-04 | 09:11 | 2025-07-04 | 07:56 | ERIKA |  | 3.8 | 4.0 | / | / | 0.348 |  |  |  | 1.18 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 4 | Old B | 2025-07-04 | 09:12 | 2025-07-04 | 07:56 | ERIKA |  | 3.8 | 4.0 | / | / | 0.351 |  |  |  | 0.65 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 5 | Old B | 2025-07-04 | 09:12 | 2025-07-04 | 07:56 | ERIKA |  | 16.7 | 16.8 | / | / | 1.207 |  |  |  | 0.49 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 6 | Old B | 2025-07-04 | 09:13 | 2025-07-04 | 07:56 | ERIKA |  | 16.5 | 16.7 | / | / | 1.198 |  |  |  | 0.47 |  | 1 | Kinga |  | 3 | 3
2 | 4.0 | 7 | Valid | 2025-07-04 | 09:28 | 2025-07-04 | 07:56 | ERIKA |  | 3.8 | 3.9 | / | / | 0.349 |  |  |  | 0.52 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 8 | Valid | 2025-07-04 | 09:29 | 2025-07-04 | 07:56 | ERIKA |  | 3.8 | 3.9 | / | / | 0.346 |  | 6.150 |  | 1.34 |  | 1 | Kinga |  | 3 | 2
2 | 4.0 | 9 | Valid | 2025-07-04 | 09:30 | 2025-07-04 | 07:56 | ERIKA |  | 3.8 | 4.0 | / | / | 0.346 |  |  |  | 1.17 |  | 1 | Kinga |  | 3 | 2
3 | 16.0 | 10 | Valid | 2025-07-04 | 09:38 | 2025-07-04 | 07:56 | ERIKA |  | 16.7 | 16.9 | / | / | 1.223 |  |  |  | 0.50 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 11 | Valid | 2025-07-04 | 09:39 | 2025-07-04 | 07:56 | ERIKA |  | 16.6 | 16.2 | / | / | 1.199 |  | 5.947 |  | 0.47 |  | 1 | Kinga |  | 3 | 3
3 | 16.0 | 12 | Valid | 2025-07-04 | 09:41 | 2025-07-04 | 07:56 | ERIKA |  | 16.8 | 16.7 | / | / | 1.212 |  |  |  | 0.91 |  | 1 | Kinga |  | 3 | 3
1 | 0.0 | 13 | Valid | 2025-07-04 | 09:46 | 2025-07-04 | 07:56 | ERIKA |  | 0.0 | 0.2 | / | / | -0.005 |  |  |  | 0.64 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 14 | Valid | 2025-07-04 | 09:47 | 2025-07-04 | 07:56 | ERIKA |  | 0.0 | 0.2 | / | / | -0.003 |  | 6.204 |  | 1.05 |  | 1 | Kinga |  | 3 | 1
1 | 0.0 | 15 | Old B | 2025-07-10 | 08:29 | 2025-07-09 | 19:14 | MARA |  | 0.2 | 0.4 | / | / | 0.015 |  |  |  | 0.84 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 16 | Old B | 2025-07-10 | 08:30 | 2025-07-09 | 19:14 | MARA |  | 0.2 | 0.4 | / | / | 0.017 |  |  |  | 0.82 |  | 1 | Andrea V |  | 3 | 1
2 | 4.0 | 17 | Old B | 2025-07-10 | 08:37 | 2025-07-09 | 19:14 | MARA |  | 3.8 | 4.1 | / | / | 0.347 |  |  |  | 0.59 |  | 1 | Andrea V |  | 3 | 2
2 | 4.0 | 18 | Old B | 2025-07-10 | 08:38 | 2025-07-09 | 19:14 | MARA |  | 3.7 | 4.0 | / | / | 0.341 |  |  |  | 0.61 |  | 1 | Andrea V |  | 3 | 2
3 | 16.0 | 19 | Old B | 2025-07-10 | 08:44 | 2025-07-09 | 19:14 | MARA |  | 15.6 | 15.9 | / | / | 1.143 |  |  |  | 0.46 |  | 1 | Andrea V |  | 3 | 3
3 | 16.0 | 20 | Old B | 2025-07-10 | 08:44 | 2025-07-09 | 19:14 | MARA |  | 16.5 | 16.7 | / | / | 1.198 |  |  |  | 0.67 |  | 1 | Andrea V |  | 3 | 3
1 | 0.0 | 21 | P/FINAL | 2025-07-10 | 08:47 | 2025-07-09 | 19:14 | MARA |  | 0.1 | 0.4 | / | / | 0.006 |  | 6.238 |  | 0.47 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 22 | P/FINAL | 2025-07-10 | 08:48 | 2025-07-09 | 19:14 | MARA |  | 0.1 | 0.4 | / | / | 0.008 |  |  |  | 0.33 |  | 1 | Andrea V |  | 3 | 1
2 | 4.0 | 23 | P/FINAL | 2025-07-10 | 08:54 | 2025-07-09 | 19:14 | MARA |  | 3.8 | 4.0 | / | / | 0.346 |  | 5.995 |  | 0.47 | 86 | 1 | Andrea V |  | 3 | 2
2 | 4.0 | 24 | P/FINAL | 2025-07-10 | 08:55 | 2025-07-09 | 19:14 | MARA |  | 3.8 | 4.0 | / | / | 0.348 |  |  |  | 0.45 | 84 | 1 | Andrea V |  | 3 | 2
2 | 4.0 | 25 | P/FINAL | 32025/07/10 | 09:02 | 2025-07-09 | 19:14 | MARA |  | 3.8 | 4.0 | / | / | 0.348 |  |  |  | 0.44 | 83 | 1 | Andrea V |  | 3 | 2
3 | 16.0 | 26 | P/FINAL | 32025/07/10 | 09:08 | 2025-07-09 | 19:14 | MARA |  | 16.2 | 16.5 | / | / | 1.176 |  | 5.790 |  | 0.32 | 73 | 1 | Andrea V |  | 3 | 3
3 | 16.0 | 27 | P/FINAL | 32025/07/10 | 09:09 | 2025-07-09 | 19:14 | MARA |  | 16.6 | 16.4 | / | / | 1.204 |  |  |  | 0.30 | 90 | 1 | Andrea V |  | 3 | 3
3 | 16.0 | 28 | P/FINAL | 32025/07/10 | 09:10 | 2025-07-09 | 19:14 | MARA |  | 16.2 | 16.4 | / | / | 1.177 |  |  |  | 0.33 |  | 1 | Andrea V |  | 3 | 3
1 | 0.0 | 29 | P/FINAL | 2025-07-10 | 09:23 | 2025-07-10 | 06:19 | TAMARA | 1 | 0.2 | 0.4 | / | / | 0.016 |  | 6.090 |  | 0.67 |  | 1 | Andrea V |  | 3 | 1
1 | 0.0 | 30 | P/FINAL | 2025-07-10 | 09:24 | 2025-07-10 | 06:19 | TAMARA | 1 | 0.1 | 0.4 | / | / | 0.012 |  |  |  | 0.75 |  | 1 | Andrea V |  | 3 | 1
2 | 4.0 | 31 | P/FINAL | 2025-07-10 | 09:30 | 2025-07-10 | 06:19 | TAMARA | 1 | 3.7 | 3.9 | / | / | 0.339 |  | 6.069 |  | 0.53 | 49 | 1 | Andrea V |  | 3 | 2
2 | 4.0 | 32 | P/FINAL | 2025-07-10 | 09:31 | 2025-07-10 | 06:19 | TAMARA | 1 | 3.7 | 4.0 | / | / | 0.343 |  |  |  | 0.39 | 89 | 1 | Andrea V |  | 3 | 2
2 | 4.0 | 33 | P/FINAL | 2025-07-10 | 09:35 | 2025-07-10 | 06:19 | TAMARA | 1 | 3.8 | 4.1 | / | / | 0.349 |  |  |  | 0.46 | 76 | 1 | Andrea V |  | 3 | 2
3 | 16.0 | 34 | P/FINAL | 2025-07-10 | 09:42 | 2025-07-10 | 06:19 | TAMARA | 1 | 16.2 | 16.5 | / | / | 1.176 |  |  |  | 0.47 | 58 | 1 | Andrea V |  | 3 | 3
3 | 16.0 | 35 | P/FINAL | 2025-07-10 | 09:42 | 2025-07-10 | 06:19 | TAMARA | 1 | 15.5 | 15.7 | / | / | 1.139 |  |  |  | 0.36 | 64 | 1 | Andrea V |  | 3 | 3
3 | 16.0 | 36 | P/FINAL | 2025-07-10 | 09:43 | 2025-07-10 | 06:19 | TAMARA | 1 | 15.5 | 15.3 | / | / | 1.134 |  | 5.824 |  | 0.48 |  | 1 | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.3 mg/L | 4 | 8 | 0.3 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 3.9 mg/L | 6 | 12 | 3.9 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 16.1 mg/L | 6 | 12 | 16.1 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.2 | 0.3 | NO
4.0 | 3.7 ÷ 4.3 | 3.9 | YES
16.0 | 15.3 ÷ 16.7 | 16.1 | YES
Validation Date | by