## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0867 | HI711-0 | CP-R35 | W50/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2026-12-01 | L57 Powder |  |  | Laboratory | TAB 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 3.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2024-12-17 | 2024-12-18 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 1.2% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.46 | 0.54
3 | 2.80 | 2.74 | 2.86
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | P/Final | 2024-12-17 | 09:56 | 2024-12-17 | 21:15 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 | 5.815 |  |  | 0.45 |  |  | Brigitta P |  | 3 | 1 | 84225
2 | 0.50 | 2 | P/Final | 2024-12-17 | 09:57 | 2024-12-17 | 21:15 | DORINA | 4 | 0.45 | 0.48 | / | / | 0.0254 | 5.751 |  |  | 0.48 | 124 |  | Brigitta P |  | 3 | 2 | 84225
2 | 0.50 | 3 | P/Final | 2024-12-17 | 09:57 | 2024-12-17 | 21:15 | DORINA | 4 | 0.51 | 0.48 | / | / | 0.283 | 5.775 |  |  | 0.48 | 147 |  | Brigitta P |  | 3 | 2 | 84225
3 | 2.80 | 4 | P/Final | 2024-12-17 | 09:58 | 2024-12-17 | 21:15 | DORINA | 4 | 2.75 | 2.74 | / | / | 1.393 | 5.745 |  |  | 0.33 | 139 |  | Brigitta P |  | 3 | 3 | 84225
3 | 2.80 | 5 | P/Final | 2024-12-17 | 09:58 | 2024-12-17 | 21:15 | DORINA | 4 | 2.79 | 2.79 | / | / | 1.393 |  |  |  | 0.28 | 127 |  | Brigitta P |  | 3 | 3 | 84225
3 | 2.80 | 6 | P/Final | 2024-12-17 | 09:59 | 2024-12-18 | 06:32 | GIORGIANA | 4 | 2.75 | 2.75 | / | / | 1.370 |  |  |  | 0.30 |  |  | Brigitta P |  | 3 | 3 | 84225
3 | 2.80 | 7 | P/Final | 2024-12-17 | 09:59 | 2024-12-18 | 06:32 | GIORGIANA | 4 | 2.81 | 2.82 | / | / | 1.403 | 5.785 |  |  | 0.35 | 155 |  | Brigitta P |  | 3 | 3 | 84225
2 | 0.50 | 8 | P/Final | 2024-12-17 | 10:00 | 2024-12-18 | 06:32 | GIORGIANA | 4 | 0.47 | 0.48 | / | / | 0.264 | 5.747 |  |  | 0.48 | 148 |  | Brigitta P |  | 3 | 2 | 84225
2 | 0.50 | 9 | P/Final | 2024-12-17 | 10:00 | 2024-12-18 | 06:32 | GIORGIANA | 4 | 0.49 | 0.48 | / | / | 0.274 | 5.788 |  |  | 0.55 | 150 |  | Brigitta P |  | 3 | 2 | 84225
1 | 0.00 | 10 | P/Final | 2024-12-17 | 10:00 | 2024-12-18 | 06:32 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.45 | 134 |  | Brigitta P |  | 3 | 1 | 84225
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.48 mg/L | 4 | 8 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2.78 mg/L | 4 | 8 | 2.78 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.54 | 0.48 | YES
2.80 | 2.74 ÷ 2.86 | 2.78 | YES
Validation Date | by