## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0937 | HI711-0 | CP-R35 | W 08/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 3.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-02-19 | 2025-02-21 | 4 HEAD |  |  | 0867
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.54 |  | MR67C |  | 0.03 | & | 1.2% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.80 | 2.74 | 2.86
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-02-21 | 10:41 | 2025-02-21 | 06:52 | DORINA | 4 | 0.48 | 0.47 | / | / | 0.269 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 2
3 | 2.80 | 2 | Old A | 2025-02-21 | 10:42 | 2025-02-21 | 06:52 | DORINA | 4 | 2.84 | 2.82 | / | / | 1.414 |  |  |  | 3.54 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-21 | 10:43 | 2025-02-21 | 06:52 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.014 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 4 | P/Prod | 2025-02-21 | 10:48 | 2025-02-21 | 06:52 | DORINA | 4 | 0.47 | 0.47 | / | / | 0.264 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 2 | 65943
2 | 0.50 | 5 | P/Prod | 2025-02-21 | 10:48 | 2025-02-21 | 06:52 | DORINA | 4 | 0.47 | 0.46 | / | / | 0.263 | 6.305 |  |  | 0.21 | 137 |  | Kinga |  | 3 | 2 | 65943
3 | 2.80 | 6 | P/Prod | 2025-02-21 | 10:50 | 2025-02-21 | 06:52 | DORINA | 4 | 2.74 | 2.72 | / | / | 1.372 |  |  |  | 0.52 | 153 |  | Kinga |  | 3 | 3 | 65943
3 | 2.80 | 7 | P/Prod | 2025-02-21 | 10:52 | 2025-02-21 | 06:52 | DORINA | 4 | 2.76 | 2.76 | / | / | 1.430 | 5.851 |  |  | 0.75 | 128 |  | Kinga |  | 3 | 3 | 65943
1 | 0.00 | 8 | P/Prod | 2025-02-21 | 10:53 | 2025-02-21 | 06:52 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.016 |  |  |  | 0.82 | 159 |  | Kinga |  | 3 | 1 | 65943
1 | 0.00 | 9 | P/Prod | 2025-02-21 | 10:54 | 2025-02-21 | 06:52 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.012 | 5.921 |  |  | 0.81 | 112 |  | Kinga |  | 3 | 1 | 65943
3 | 2.80 | 10 | P/Prod | 2025-02-21 | 14:56 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 2.74 | 2.76 | / | / | 1.368 |  |  |  | 0.28 | 122 |  | Kinga |  | 3 | 3
3 | 2.80 | 11 | P/Prod | 2025-02-21 | 14:58 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 2.75 | 2.73 | / | / | 1.357 | 6.050 |  |  | 0.31 | 132 |  | Kinga |  | 3 | 3
1 | 0.00 | 12 | P/Prod | 2025-02-21 | 14:59 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.30 | 120 |  | Kinga |  | 3 | 1
1 | 0.00 | 13 | P/Prod | 2025-02-21 | 15:00 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.158 |  |  | 0.16 |  |  | Kinga |  | 3 | 1
2 | 0.50 | 14 | P/Prod | 2025-02-21 | 15:04 | 2025-02-21 | 14:33 | GIORGIANA |  | 0.46 | 0.46 | / | / | 0.259 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 2
2 | 0.50 | 15 | P/Prod | 2025-02-21 | 15:05 | 2025-02-21 | 14:33 | GIORGIANA |  | 0.46 | 0.46 | / | / | 0.258 | 6.298 |  |  | 0.23 |  |  | Kinga |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0.46 mg/L | 4 | 8 | 0.46 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 2.75 mg/L | 4 | 8 | 2.75 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.54 | 0.46 | YES
2.80 | 2.74 ÷ 2.86 | 2.75 | YES
Validation Date | by