## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1089 | HI711-0 | CP-R35 | W 26/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-06-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 3.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ANA | 2025-07-23 | 2025-07-01 | 4 head |  |  | 1061
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 1.2% | 100% |  | 6.0 | 5.7 | 6.3
2 | 0.50 | 0.46 | 0.54
3 | 2.80 | 2.74 | 2.86
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-07-01 | 14:35 | 2025-07-01 | 12:58 | ANA | 4 | 0.01 | 0.01 | / | / | 0.023 |  |  |  | 0.64 |  |  | andrea V |  | 3 | 1 | 102527
1 | 0.00 | 2 | Old A | 2025-07-01 | 14:37 | 2025-07-01 | 12:58 | ANA | 4 | 0.02 | 0.02 | / | / | 0.026 |  |  |  | 0.61 |  |  | andrea V |  | 3 | 1 | 102527
2 | 0.50 | 3 | Old A | 2025-07-01 | 14:42 | 2025-07-01 | 12:58 | ANA | 4 | 0.47 | 0.46 | / | / | 0.263 |  |  |  | 2.05 |  |  | andrea V |  | 3 | 2 | 102527
2 | 0.50 | 4 | Old A | 2025-07-01 | 14:42 | 2025-07-01 | 12:58 | ANA | 4 | 0.46 | 0.46 | / | / | 0.257 |  |  |  | 0.91 |  |  | andrea V |  | 3 | 2 | 102527
3 | 2.80 | 5 | Old A | 2025-07-01 | 15:16 | 2025-07-01 | 12:58 | ANA | 4 | 2.75 | 2.75 | / | / | 1.375 |  |  |  | 0.62 |  |  | andrea V |  | 3 | 3 | 102527
3 | 2.80 | 6 | Old A | 2025-07-01 | 15:17 | 2025-07-01 | 12:58 | ANA | 4 | 2.68 | 2.70 | / | / | 1.345 |  |  |  | 0.72 |  |  | andrea V |  | 3 | 3 | 102527
1 | 0.00 | 7 | P/FINAL | 2025-07-01 | 15:18 | 2025-07-01 | 12:58 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 | 6.781 |  |  | 0.23 |  |  | andrea V |  | 3 | 1 | 102527
1 | 0.00 | 8 | P/FINAL | 2025-07-01 | 15:18 | 2025-07-01 | 12:58 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.20 |  |  | andrea V |  | 3 | 1 | 102527
2 | 0.50 | 9 | P/FINAL | 2025-07-01 | 15:23 | 2025-07-01 | 12:58 | ANA | 4 | 0.48 | 0.47 | / | / | 0.272 | 6.378 |  |  | 0.27 | 143 |  | andrea V |  | 3 | 2 | 102527
2 | 0.50 | 10 | P/FINAL | 2025-07-01 | 15:24 | 2025-07-01 | 12:58 | ANA | 4 | 0.47 | 0.47 | / | / | 0.267 |  |  |  | 0.25 | 146 |  | andrea V |  | 3 | 2 | 102527
2 | 0.50 | 11 | P/FINAL | 2025-07-01 | 15:25 | 2025-07-01 | 12:58 | ANA | 4 | 0.47 | 0.46 | / | / | 0.265 |  |  |  | 0.24 | 132 |  | andrea V |  | 3 | 2 | 102527
3 | 2.80 | 12 | P/FINAL | 2025-07-01 | 15:36 | 2025-07-01 | 12:58 | ANA | 4 | 2.75 | 2.77 | / | / | 1.375 | 6.200 |  |  | 0.94 | 120 |  | andrea V |  | 3 | 3 | 102527
3 | 2.80 | 13 | P/FINAL | 2025-07-01 | 15:39 | 2025-07-01 | 12:58 | ANA | 4 | 2.76 | 2.77 | / | / | 1.381 |  |  |  | 0.35 | 122 |  | andrea V |  | 3 | 3 | 102527
3 | 2.80 | 14 | P/FINAL | 2025-07-01 | 15:41 | 2025-07-01 | 12:58 | ANA | 4 | 2.76 | 2.76 | / | / | 1.378 |  |  |  | 0.63 |  |  | andrea V |  | 3 | 3 | 102527
1 | 0.00 | 15 | Old A | 2025-07-02 | 09:10 | 2025-07-02 | 06:58 | ANA | 4 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.69 |  |  | Andrea V |  | 3 | 1 | 25753
1 | 0.00 | 16 | Old A | 2025-07-02 | 09:10 | 2025-07-02 | 06:58 | ANA | 4 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.67 |  |  | Andrea V |  | 3 | 1 | 25753
2 | 0.50 | 17 | Old A | 2025-07-02 | 09:12 | 2025-07-02 | 06:58 | ANA | 4 | 0.48 | 0.47 | / | / | 0.268 |  |  |  | 1.50 |  |  | Andrea V |  | 3 | 2 | 25753
2 | 0.50 | 18 | Old A | 2025-07-02 | 09:14 | 2025-07-02 | 06:58 | ANA | 4 | 0.47 | 0.48 | / | / | 0.262 |  |  |  | 1.04 |  |  | Andrea V |  | 3 | 2 | 25753
3 | 2.80 | 19 | Old A | 2025-07-02 | 09:17 | 2025-07-02 | 06:58 | ANA | 4 | 2.76 | 2.75 | / | / | 1.378 |  |  |  | 1.07 |  |  | Andrea V |  | 3 | 3 | 25753
1 | 0.00 | 20 | P/FINAL | 2025-07-02 | 09:21 | 2025-07-02 | 06:58 | ANA | 4 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.17 |  |  | Andrea V |  | 3 | 1 | 25753
1 | 0.00 | 21 | P/FINAL | 2025-07-02 | 09:22 | 2025-07-02 | 06:58 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 | 6.539 |  |  | 0.42 |  |  | Andrea V |  | 3 | 1 | 25753
3 | 2.80 | 22 | Old A | 2025-07-02 | 09:22 | 2025-07-02 | 06:58 | ANA | 4 | 2.81 | 2.80 | / | / | 1.402 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 3 | 25753
2 | 0.50 | 23 | P/FINAL | 2025-07-02 | 09:28 | 2025-07-02 | 06:58 | ANA | 4 | 0.46 | 0.47 | / | / | 0.259 | 6.334 |  |  | 1.82 | 121 |  | Andrea V |  | 3 | 2 | 25753
2 | 0.50 | 24 | P/FINAL | 2025-07-02 | 09:29 | 2025-07-02 | 06:58 | ANA | 4 | 0.47 | 0.47 | / | / | 0.264 |  |  |  | 1.27 | 133 |  | Andrea V |  | 3 | 2 | 25753
2 | 0.50 | 25 | P/FINAL | 2025-07-02 | 09:29 | 2025-07-02 | 06:58 | ANA | 4 | 0.47 | 0.46 | / | / | 0.265 |  |  |  | 1.98 | 136 |  | Andrea V |  | 3 | 2 | 25753
3 | 2.80 | 26 | P/FINAL | 2025-07-02 | 09:31 | 2025-07-02 | 06:58 | ANA | 4 | 2.77 | 2.76 | / | / | 1.382 |  |  |  | 0.95 | 151 |  | Andrea V |  | 3 | 3 | 25753
3 | 2.80 | 27 | P/FINAL | 22025/07/02 | 09:33 | 2025-07-02 | 06:58 | ANA | 4 | 2.79 | 2.79 | / | / | 1.391 | 6.296 |  |  | 0.24 | 143 |  | Andrea V |  | 3 | 3 | 25753
3 | 2.80 | 28 | P/FINAL | 22025/07/02 | 09:34 | 2025-07-02 | 06:58 | ANA | 4 | 2.78 | 2.78 | / | / | 1.390 |  |  |  | 0.20 | 160 |  | Andrea V |  | 3 | 3 | 25753
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.47 mg/L | 6 | 12 | 0.47 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 2.77 mg/L | 6 | 12 | 2.77 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.54 | 0.47 | YES
2.80 | 2.74 ÷ 2.86 | 2.77 | YES
Validation Date | by