## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1135 | HI711-0 | CP-R35 | W 31/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 3.50 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-09-02 | 2025-09-16 | 4 HEAD |  |  | 0867
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.50 | 0.46 | 0.54 |  | MR67C |  | 0.03 | & | 1.2% | 100% |  | 6.0 | 5.7 | 6.3
3 | 2.80 | 2.74 | 2.86
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.50 | 1 | Old A | 2025-09-02 | 14:58 | 2025-09-02 | 14:37 | ANA |  | 0.48 | 0.46 | / | / | 0.272 |  |  |  | 0.71 |  |  | Kinga |  | 3 | 2 | 8142025
2 | 0.50 | 2 | Old A | 2025-09-02 | 14:59 | 2025-09-02 | 14:37 | ANA |  | 0.50 | 0.47 | / | / | 0.279 |  |  |  | 0.97 |  |  | Kinga |  | 3 | 2 | 8142025
3 | 2.80 | 3 | Old A | 2025-09-02 | 15:00 | 2025-09-02 | 14:37 | ANA |  | 2.74 | 2.72 | / | / | 1.373 |  |  |  | 2.49 |  |  | Kinga |  | 3 | 3 | 8142025
3 | 2.80 | 4 | Old A | 2025-09-02 | 15:02 | 2025-09-02 | 14:37 | ANA |  | 2.86 | 2.86 | / | / | 1.424 |  |  |  | 1.51 |  |  | Kinga |  | 3 | 3 | 8142025
1 | 0.00 | 5 | Old A | 2025-09-02 | 15:03 | 2025-09-02 | 14:37 | ANA |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 2.11 |  |  | Kinga |  | 3 | 1 | 8142025
1 | 0.00 | 6 | Old A | 2025-09-02 | 15:05 | 2025-09-02 | 14:37 | ANA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 2.55 |  |  | Kinga |  | 3 | 1 | 8142025
2 | 0.50 | 7 | P/FINAL | 2025-09-02 | 15:08 | 2025-09-02 | 14:37 | ANA |  | 0.49 | 0.46 | / | / | 0.277 |  |  |  | 3.27 |  |  | Kinga |  | 3 | 2 | 8142025
2 | 0.50 | 8 | P/FINAL | 2025-09-02 | 15:08 | 2025-09-02 | 14:37 | ANA |  | 0.51 | 0.49 | / | / | 0.285 |  |  |  | 1.11 |  |  | Kinga |  | 3 | 2 | 8142025
2 | 0.50 | 9 | P/FINAL | 2025-09-02 | 15:09 | 2025-09-02 | 14:37 | ANA |  | 0.49 | 0.46 | / | / | 0.275 |  |  |  | 1.41 | 120 |  | Kinga |  | 3 | 2 | 8142025
3 | 2.80 | 10 | P/FINAL | 2025-09-02 | 15:12 | 2025-09-02 | 14:37 | ANA | 4 | 2.81 | 2.84 | / | / | 1.401 |  |  |  | 0.52 | 140 |  | Kinga |  | 3 | 3 | 8142025
3 | 2.80 | 11 | P/FINAL | 2025-09-02 | 15:12 | 2025-09-02 | 14:37 | ANA | 4 | 2.82 | 2.83 | / | / | 1.405 |  |  |  | 1.17 | 131 |  | Kinga |  | 3 | 3 | 8142025
3 | 2.80 | 12 | P/FINAL | 2025-09-02 | 15:14 | 2025-09-02 | 14:37 | ANA | 4 | 2.82 | 2.82 | / | / | 1.407 |  |  |  | 0.68 | 158 |  | Kinga |  | 3 | 3 | 8142025
1 | 0.00 | 13 | P/FINAL | 2025-09-02 | 15:15 | 2025-09-02 | 14:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.77 | 131 |  | Kinga |  | 3 | 1 | 8142025
1 | 0.00 | 14 | P/FINAL | 2025-09-02 | 15:16 | 2025-09-02 | 14:37 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 1.78 | 135 |  | Kinga |  | 3 | 1 | 8142025
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.48 mg/L | 3 | 6 | 0.48 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 2.82 mg/L | 3 | 6 | 2.82 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
0.50 | 0.46 ÷ 0.54 | 0.48 | YES
2.80 | 2.74 ÷ 2.86 | 2.82 | YES
Validation Date | by