## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1199 | HI716-0 | CP-R35 | W 40/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Bromine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 8.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-16 | 2025-10-16 | 4 HEAD |  |  | 0394
[6 empty] | Expiration A | Expiration B | Expiration D
2026-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97716 | CTO-694
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.60 | 1.42 | 1.78 |  | MR67C |  | 0.08 | & | 6% | 100% |  | 6.1 | 5.7 | 6.3
3 | 6.40 | 5.94 | 6.86
1 | 0.00 | 0.00 | 0.08
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.60 | 1 | Old A | 2025-10-16 | 12:20 | 2025-10-15 | 18:47 | ANA | 4 | 1.62 | 1.62 | / | / | 0.394 |  |  |  | 10.1 |  |  | Andrea V |  | 3 | 2
2 | 1.60 | 2 | Old A | 2025-10-16 | 12:20 | 2025-10-15 | 18:47 | ANA | 4 | 1.71 | 1.65 | / | / | 0.416 |  |  |  | 8.51 |  |  | Andrea V |  | 3 | 2
3 | 6.40 | 3 | Old A | 2025-10-16 | 12:21 | 2025-10-15 | 18:47 | ANA | 4 | 6.06 | 5.93 | / | / | 1.349 | [6 empty] | Andrea V |  | 3 | 3 | 125610
3 | 6.40 | 4 | Old A | 2025-10-16 | 12:22 | 2025-10-15 | 18:47 | ANA | 4 | 6.17 | 6.14 | / | / | 1.370 |  |  |  | 3.56 |  |  | Andrea V |  | 3 | 3 | 125610
1 | 0.00 | 5 | Old A | 2025-10-16 | 12:23 | 2025-10-15 | 18:47 | ANA | 4 | 0.03 | 0.04 | / | / | 0.024 |  |  |  | 3.72 |  |  | Andrea V |  | 3 | 1 | 125610
1 | 0.00 | 6 | Old A | 2025-10-16 | 12:24 | 2025-10-15 | 18:47 | ANA | 4 | 0.01 | 0.01 | / | / | 0.019 |  |  |  | 3.18 |  |  | Andrea V |  | 3 | 1 | 125610
3 | 6.40 | 7 | Old A | 2025-10-16 | 12:26 | 2025-10-15 | 18:47 | ANA | 4 | 6.14 | 5.99 | / | / | 1.365 |  |  |  | 5.02 |  |  | Andrea V |  | 3 | 3 | 125610
2 | 1.60 | 8 | P/FINAL | 2025-10-16 | 12:29 | 2025-10-15 | 18:47 | ANA | 4 | 1.56 | 1.54 | / | / | 0.380 |  |  |  | 5.02 |  |  | Andrea V |  | 3 | 2 | 125610
2 | 1.60 | 9 | P/FINAL | 2025-10-16 | 12:29 | 2025-10-15 | 18:47 | ANA | 4 | 1.51 | 1.51 | / | / | 0.370 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 2 | 125610
2 | 1.60 | 10 | P/FINAL | 2025-10-16 | 12:30 | 2025-10-15 | 18:47 | ANA | 4 | 1.54 | 1.53 | / | / | 0.376 | 6.167 |  |  | 0.38 | 138 |  | Andrea V |  | 3 | 2 | 125610
3 | 6.40 | 11 | P/FINAL | 2025-10-16 | 12:31 | 2025-10-15 | 18:47 | ANA | 4 | 6.45 | 6.48 | / | / | 1.423 |  |  |  | 0.34 | 124 |  | Andrea V |  | 3 | 3 | 125610
3 | 6.40 | 12 | P/FINAL | 2025-10-16 | 12:32 | 2025-10-15 | 18:47 | ANA | 4 | 6.17 | 6.16 | / | / | 1.370 |  |  |  | 0.27 | 125 |  | Andrea V |  | 3 | 3 | 125610
3 | 6.40 | 13 | P/FINAL | 2025-10-16 | 12:36 | 2025-10-15 | 18:47 | ANA | 4 | 6.32 | 6.27 | / | / | 1.399 | 6.146 |  |  | 0.36 | 148 |  | Andrea V |  | 3 | 3 | 125610
1 | 0.00 | 14 | P/FINAL | 2025-10-16 | 12:37 | 2025-10-15 | 18:47 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.32 | 136 |  | Andrea V |  | 3 | 1 | 125610
1 | 0.00 | 15 | P/FINAL | 2025-10-16 | 12:38 | 2025-10-15 | 18:47 | ANA | 4 | 0.00 | 0.00 | / | / | 0.009 | 6.094 |  |  | 0.32 | 123 |  | Andrea V |  | 3 | 1 | 125610
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.53 mg/L | 3 | 6 | 1.53 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 6.31 mg/L | 3 | 6 | 6.31 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.08 | 0.00 | YES
1.60 | 1.42 ÷ 1.78 | 1.53 | YES
6.40 | 5.94 ÷ 6.86 | 6.31 | YES
Validation Date | by
2025-10-17 | Eugenia