## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0768 | HI718-0 | CP-R35 | W 43 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iodine Reagent | 2026-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 12.5 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ROLAND | 2024-10-28 | 2024-10-29 | 2HEAD |  |  | 0255
[6 empty] | Expiration A | Expiration B | Expiration D
2025-09-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97718 | CTO-693
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.5 | 2.3 | 2.7 |  | MR67C |  | 0.1 | & | 5% | 100% |  | 6.1 | 5.7 | 6.3
3 | 10.0 | 9.4 | 10.6
1 | 0.0 | 0.0 | 0.1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.5 | 1 | Old A | 2024-10-28 | 09:29 | 2024-10-25 | 15:01 | DIRINA | 4 | 2.3 | 2.3 | / | / | 0.353 |  |  |  | 1.79 |  |  | Kinga |  | 3 | 2 | 81538
3 | 10.0 | 2 | Old A | 2024-10-28 | 09:30 | 2024-10-25 | 15:01 | DIRINA | 4 | 9.8 | 9.8 | / | / | 1.366 |  |  |  | 2.10 |  |  | Kinga |  | 3 | 3 | 81538
2 | 2.5 | 3 | P/Final | 2024-10-28 | 09:34 | 2024-10-25 | 15:01 | DIRINA | 4 | 2.3 | 2.3 | / | / | 0.361 |  |  |  | 0.49 |  |  | Kinga |  | 3 | 2 | 81538
2 | 2.5 | 4 | P/Final | 2024-10-28 | 09:35 | 2024-10-25 | 15:01 | DIRINA | 4 | 2.3 | 2.4 | / | / | 0.361 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 2 | 81538
3 | 10.0 | 5 | P/Final | 2024-10-28 | 09:38 | 2024-10-25 | 15:01 | DIRINA | 4 | 9.9 | 10.0 | / | / | 1.386 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 3 | 81538
3 | 10.0 | 6 | P/Final | 2024-10-28 | 09:39 | 2024-10-25 | 15:01 | DIRINA | 4 | 10.0 | 10.0 | / | / | 1.398 |  |  |  | 0.34 |  |  | Kinga |  | 3 | 3 | 81538
1 | 0.0 | 7 | P/Final | 2024-10-28 | 09:43 | 2024-10-25 | 15:01 | DIRINA | 4 | 0.0 | 0.0 | / | / | -0.007 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 1 | 81538
1 | 0.0 | 8 | P/Final | 2024-10-28 | 09:44 | 2024-10-25 | 15:01 | DIRINA | 4 | 0.0 | 0.0 | / | / | -0.006 |  |  |  | 4.05 |  |  | Kinga |  | 3 | 1 | 81538
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2.3 mg/L | 2 | 4 | 2.3 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 10 mg/L | 2 | 4 | 10 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.1 | 0.0 | YES
2.5 | 2.3 ÷ 2.7 | 2.3 | YES
10.0 | 9.4 ÷ 10.6 | 10.0 | YES
Validation Date | by