## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0977 | HI718-0 | CP-R35 | W13/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iodine Reagent | 2027-03-01 | L57 Powder |  |  | Laboratory | TABLET 18 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 12.5 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-03-28 | 2025-03-28 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97718 | CTO-693
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.5 | 2.3 | 2.7 |  | MR67C |  | 0.1 | & | 5% | 100% |  | 6.1 | 5.7 | 6.3
3 | 10.0 | 9.4 | 10.6
1 | 0.0 | 0.0 | 0.1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97718 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.5 | 1 | P/FINAL | 2025-04-08 | 15:45 | 2025-03-28 |  | DORINA | 4 | 2.5 | 2.4 | / | / | 0.383 |  |  |  | 0.95 |  |  | Brigitta P |  | 3 | 2
2 | 2.5 | 2 | P/FINAL | 2025-04-08 | 15:45 | 2025-03-28 |  | DORINA | 4 | 2.5 | 2.4 | / | / | 0.383 | 6.206 |  |  | 1.15 |  |  | Brigitta P |  | 3 | 2
3 | 10.0 | 3 | P/FINAL | 2025-04-08 | 15:45 | 2025-03-28 |  | DORINA | 4 | 10.1 | 9.9 | / | / | 1.389 |  |  |  | 1.21 |  |  | Brigitta P |  | 3 | 2
3 | 10.0 | 4 | P/FINAL | 2025-04-08 | 15:45 | 2025-03-28 |  | DORINA | 4 | 10.0 | 10.0 | / | / | 1.401 | 6.251 |  |  | 1.11 |  |  | Brigitta P |  | 3 | 2
1 | 0.0 | 5 | P/FINAL | 2025-04-08 | 15:45 | 2025-03-28 |  | DORINA | 4 | 0.0 | 0.0 | / | / | 0.033 |  |  |  | 1.20 |  |  | Brigitta P |  | 3 | 2
1 | 0.0 | 6 | P/FINAL | 2025-04-08 | 15:45 | 2025-03-28 |  | DORINA | 4 | 0.0 | 0.0 | / | / | 0.031 | 6.506 |  |  | 0.94 |  |  | Brigitta P |  | 3 | 2
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 2.5 mg/L | 2 | 4 | 2.5 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 10 mg/L | 2 | 4 | 10 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.1 | 0.0 | YES
2.5 | 2.3 ÷ 2.7 | 2.5 | YES
10.0 | 9.4 ÷ 10.6 | 10.0 | YES
Validation Date | by