## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1199 | HI718-0 | CP-R35 | W 40/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Iodine Reagent | 2027-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.0 mg/L | 12.5 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-10-17 | 2025-10-17 | 4 HEAD |  |  | 0768
[6 empty] | Expiration A | Expiration B | Expiration D
2026-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97718 | CTO-693
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-778
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 2.5 | 2.3 | 2.7 |  | MR67C |  | 0.1 | & | 5% | 100% |  | 6.1 | 5.7 | 6.3
3 | 10.0 | 9.4 | 10.6
1 | 0.0 | 0.0 | 0.1
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97718 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 2.5 | 1 | Old A | 2025-10-17 | 11:02 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 2.4 | 2.4 | / | / | 0.368 |  |  |  | 0.82 |  |  | Andrea V |  | 3 | 2
2 | 2.5 | 2 | Old A | 2025-10-17 | 11:03 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 2.4 | 2.4 | / | / | 0.365 |  |  |  | 0.90 |  |  | Andrea V |  | 3 | 2
3 | 10.0 | 3 | Old A | 2025-10-17 | 11:04 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 10.0 | 10.0 | / | / | 1.382 |  |  |  | 0.84 |  |  | Andrea V |  | 3 | 3 | 40935
3 | 10.0 | 4 | Old A | 2025-10-17 | 11:05 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 9.6 | 9.7 | / | / | 1.345 |  |  |  | 0.83 |  |  | Andrea V |  | 3 | 3 | 40935
1 | 0.0 | 5 | Old A | 2025-10-17 | 11:07 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 0.0 | 0.0 | / | / | 0.004 |  |  |  | 0.89 |  |  | Andrea V |  | 3 | 1 | 40935
1 | 0.0 | 6 | Old A | 2025-10-17 | 11:08 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 0.0 | 0.0 | / | / | 0.008 |  |  |  | 1.01 |  |  | Andrea V |  | 3 | 1 | 40935
2 | 2.5 | 7 | P/FINAL | 2025-10-17 | 11:09 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 2.4 | 2.4 | / | / | 0.375 |  |  |  | 0.20 |  |  | Andrea V |  | 3 | 2 | 40935
2 | 2.5 | 8 | P/FINAL | 2025-10-17 | 11:09 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 2.4 | 2.4 | / | / | 0.370 | 6.106 |  |  | 0.22 | 136 |  | Andrea V |  | 3 | 2 | 40935
2 | 2.5 | 9 | P/FINAL | 2025-10-17 | 11:11 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 2.4 | 2.4 | / | / | 0.371 |  |  |  | 0.21 | 123 |  | Andrea V |  | 3 | 2 | 40935
3 | 10.0 | 10 | P/FINAL | 2025-10-17 | 11:12 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 10.3 | 10.4 | / | / | 1.428 |  |  |  | 0.21 | 131 |  | Andrea V |  | 3 | 3 | 40935
3 | 10.0 | 11 | P/FINAL | 2025-10-17 | 11:13 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 10.0 | 10.1 | / | / | 1.396 |  |  |  | 0.20 | 140 |  | Andrea V |  | 3 | 3 | 40935
3 | 10.0 | 12 | P/FINAL | 2025-10-17 | 11:13 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 10.2 | 10.2 | / | / | 1.414 | 6.045 |  |  | 0.22 | 137 |  | Andrea V |  | 3 | 3 | 40935
1 | 0.0 | 13 | P/FINAL | 2025-10-17 | 11:14 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 0.0 | 0.0 | / | / | 0.003 |  |  |  | 0.26 | 129 |  | Andrea V |  | 3 | 1 | 40935
1 | 0.0 | 14 | P/FINAL | 2025-10-17 | 11:14 | 2025-10-16 | 13:26 | GIORGIANA | 4 | 0.0 | 0.0 | / | / | 0.004 | 6.051 |  |  | 0.29 |  |  | Andrea V |  | 3 | 1 | 40935
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 2.4 mg/L | 3 | 6 | 2.4 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 10.2 mg/L | 3 | 6 | 10.2 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.0 | 0.0 ÷ 0.1 | 0.0 | YES
2.5 | 2.3 ÷ 2.7 | 2.4 | YES
10.0 | 9.4 ÷ 10.6 | 10.2 | YES
Validation Date | by