## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0937/N | HI93711-0 | CP-R35 | W08/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-03-07 | 2025-03-07 | 4HEAD |  |  | 0867
[6 empty] | Expiration A | Expiration B | Expiration D
2026-12-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-619 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI9370 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
2 | 1.00 | 0.94 | 1.06
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | P/FINAL | 2025-03-07 | 08:41 | 2025-03-07 | 0:30 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 1 | 25621
1 | 0.00 | 2 | P/FINAL | 2025-03-07 | 08:41 | 2025-03-07 | 0:30 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.24 |  |  | Brigitta P |  | 3 | 1 | 25621
3 | 4.00 | 3 | P/FINAL | 2025-03-07 | 08:42 | 2025-03-07 | 0:30 | ANA | 4 | 3.89 | 3.91 | / | / | 1.840 |  |  |  | 0.52 |  |  | Brigitta P |  | 3 | 3 | 25621
3 | 4.00 | 4 | P/FINAL | 2025-03-07 | 08:42 | 2025-03-07 | 0:30 | ANA | 4 | 3.89 | 3.86 | / | / | 1.840 |  |  |  | 0.22 |  |  | Brigitta P |  | 3 | 3 | 25621
3 | 4.00 | 5 | P/FINAL | 2025-03-07 | 08:43 | 2025-03-07 | 0:30 | ANA | 4 | 4.03 | 4.05 | / | / | 1.890 |  |  |  | 0.22 |  |  | Brigitta P |  | 3 | 3 | 25621
2 | 1.00 | 6 | P/FINAL | 2025-03-07 | 08:46 | 2025-03-07 | 0:30 | ANA | 4 | 0.98 | 0.98 | / | / | 0.530 |  |  |  | 0.53 |  |  | Brigitta P |  | 3 | 2 | 25621
2 | 1.00 | 7 | P/FINAL | 2025-03-07 | 08:47 | 2025-03-07 | 0:30 | ANA | 4 | 1.00 | 1.00 | / | / | 0.539 |  |  |  | 0.54 |  |  | Brigitta P |  | 3 | 2 | 25621
2 | 1.00 | 8 | P/FINAL | 2025-03-07 | 08:48 | 2025-03-07 | 0:30 | ANA | 4 | 0.99 | 1.00 | / | / | 0.537 |  |  |  | 0.55 |  |  | Brigitta P |  | 3 | 2 | 25621
2 | 1.00 | 9 | Old A | 2025-03-07 | 8:45 | 2025-03-07 | 0:30 | ANA | 4 | 0.96 | 0.98 | / | / | 0.518 |  |  |  | 0.50 |  |  | Brigitta P |  | 3 | 2 | 25621
2 | 1.00 | 10 | Old A | 2025-03-07 | 8:45 | 2025-03-07 | 0:30 | ANA | 4 | 0.96 | 0.98 | / | / | 0.517 |  |  |  | 0.54 |  |  | Brigitta P |  | 3 | 2 | 25621
3 | 4.00 | 11 | Old A | 2025-03-07 | 8:45 | 2025-03-07 | 0:30 | ANA | 4 | 3.89 | 3.91 | / | / | 1.840 |  |  |  | 0.35 |  |  | Brigitta P |  | 3 | 2 | 25621
3 | 4.00 | 12 | Old A | 2025-03-07 | 8:45 | 2025-03-07 | 0:30 | ANA | 4 | 3.89 | 3.90 | / | / | 1.840 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 2 | 25621
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 3.94 mg/L | 3 | 6 | 3.94 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0.99 mg/L | 3 | 6 | 0.99 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 3.94 | YES
Validation Date | by