## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0937 | HI93711-0 | CP-R35 | W 08/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-02-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
MARK | 2025-02-19 | 2025-02-24 | 4 HEAD |  |  | 0794
[6 empty] | Expiration A | Expiration B | Expiration D
2026-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-02-19 | 09:50 | 2025-02-19 | 08:50 | ERIKA |  | 0.99 | 1.03 | / | / | 0.535 |  |  |  | 0.64 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 2 | Old A | 2025-02-19 | 09:51 | 2025-02-19 | 08:50 | ERIKA |  | 4.11 | 4.13 | / | / | 1.919 |  |  |  | 2.15 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-19 | 09:52 | 2025-02-19 | 08:50 | ERIKA |  | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 4 | Valid | 2025-02-19 | 09:55 | 2025-02-19 | 08:50 | ERIKA |  | 0.96 | 0.99 | / | / | 0.520 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 5 | Valid | 2025-02-19 | 09:56 | 2025-02-19 | 08:50 | ERIKA |  | 0.96 | 1.00 | / | / | 0.521 | 6.066 |  |  | 0.34 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 6 | Valid | 2025-02-19 | 09:57 | 2025-02-19 | 08:50 | ERIKA |  | 4.01 | 4.04 | / | / | 1.884 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 7 | Valid | 2025-02-19 | 09:58 | 2025-02-19 | 08:50 | ERIKA |  | 4.03 | 4.04 | / | / | 1.889 | 6.417 |  |  | 0.33 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | Valid | 2025-02-19 | 10:21 | 2025-02-19 | 08:50 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | Valid | 2025-02-19 | 10:21 | 2025-02-19 | 08:50 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 | 6.189 |  |  | 0.19 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 10 | P/Prod | 2025-02-20 | 16:11 | 2025-02-20 | 15:40 | GIORGIANA | 4 | 0.99 | 0.99 | / | / | 0.516 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 11 | P/Prod | 2025-02-20 | 16:13 | 2025-02-20 | 15:40 | GIORGIANA | 4 | 0.98 | 0.98 | / | / | 0.508 | 6.196 |  |  | 0.40 | 147 |  | Kinga |  | 3 | 2
3 | 4.00 | 12 | P/Prod | 2025-02-20 | 16:14 | 2025-02-20 | 15:40 | GIORGIANA | 4 | 3.88 | 3.96 | / | / | 1.853 |  |  |  | 0.51 | 152 |  | Kinga |  | 3 | 3
3 | 4.00 | 13 | P/Prod | 2025-02-20 | 16:15 | 2025-02-20 | 15:40 | GIORGIANA | 4 | 3.95 | 3.96 | / | / | 1.880 | 6.189 |  |  | 0.34 | 153 |  | Kinga |  | 3 | 3
1 | 0.00 | 14 | P/Prod | 2025-02-20 | 16:16 | 2025-02-20 | 15:40 | GIORGIANA | 4 | 0.01 | 0.00 | / | / | 0.010 |  |  |  | 1.13 | 121 |  | Kinga |  | 3 | 1
1 | 0.00 | 15 | P/Prod | 2025-02-20 | 16:17 | 2025-02-20 | 15:40 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.167 |  |  | 1.17 | 131 |  | Kinga |  | 3 | 1
2 | 1.00 | 16 | P/Prod | 2025-02-21 | 08:50 | 2025-02-21 | 08:27 | ANA | 4 | 0.94 | 0.95 | / | / | 0.507 |  |  |  | 0.21 | 151 |  | Kinga |  | 3 | 2
2 | 1.00 | 17 | P/Prod | 2025-02-21 | 08:50 | 2025-02-21 | 08:27 | ANA | 4 | 0.97 | 0.95 | / | / | 0.525 | 6.020 |  |  | 0.28 | 163 |  | Kinga |  | 3 | 2
3 | 4.00 | 18 | P/Prod | 2025-02-21 | 08:52 | 2025-02-21 | 08:27 | ANA | 4 | 4.04 | 4.00 | / | / | 1.895 | 5.965 |  |  | 0.33 | 145 |  | Kinga |  | 3 | 3
3 | 4.00 | 19 | P/Prod | 2025-02-21 | 08:52 | 2025-02-21 | 08:27 | ANA | 4 | 3.98 | 3.98 | / | / | 1.874 |  |  |  | 0.22 | 147 |  | Kinga |  | 3 | 3
1 | 0.00 | 20 | P/Prod | 2025-02-21 | 08:56 | 2025-02-21 | 08:27 | ANA | 4 | 0.00 | 0.00 | / | / | 0.009 | 6.059 |  |  | 0.35 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 21 | P/Prod | 2025-02-21 | 08:56 | 2025-02-21 | 08:27 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
3 | 4.00 | 22 | P/Prod | 2025-02-21 | 15:37 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 4.02 | 4.07 | / | / | 1.888 |  |  |  | 1.56 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 23 | P/Prod | 2025-02-21 | 15:38 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 3.98 | 4.04 | / | / | 1.880 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 24 | P/Prod | 2025-02-21 | 15:35 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 3.96 | 4.04 | / | / | 1.880 | 6.205 |  |  | 0.45 | 138 |  | Kinga |  | 3 | 3
2 | 1.00 | 25 | P/Prod | 2025-02-21 | 15:40 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.97 | 0.95 | / | / | 0.525 |  |  |  | 0.25 | 127 |  | Kinga |  | 3 | 3
2 | 1.00 | 26 | P/Prod | 2025-02-21 | 15:40 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.97 | 0.95 | / | / | 0.525 | 6.198 |  |  | 0.26 | 136 |  | Kinga |  | 3 | 3
2 | 1.00 | 27 | P/Prod | 2025-02-21 | 15:40 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.95 | 0.95 | / | / | 0.525 |  |  |  | 0.22 | 156 |  | Kinga |  | 3 | 3
1 | 0.00 | 28 | P/Prod | 2025-02-21 | 15:45 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.045 |  |  | 0.28 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 29 | P/Prod | 2025-02-21 | 15:45 | 2025-02-21 | 14:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.68 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 30 | P/Prod | 2025-02-24 | 08:19 | 2025-02-21 | 22:43 | ANA | 4 | 1.00 | 0.97 | / | / | 0.542 |  |  |  | 1.74 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/Prod | 2025-02-24 | 08:20 | 2025-02-21 | 22:43 | ANA | 4 | 0.96 | 0.95 | / | / | 0.518 | 6.164 |  |  | 0.70 | 142 |  | Kinga |  | 3 | 2
3 | 4.00 | 32 | P/Prod | 2025-02-24 | 08:23 | 2025-02-21 | 22:43 | ANA | 4 | 4.07 | 4.10 | / | / | 1.906 |  |  |  | 1.30 | 139 |  | Kinga |  | 3 | 3
3 | 4.00 | 33 | P/Prod | 2025-02-24 | 08:24 | 2025-02-21 | 22:43 | ANA | 4 | 4.10 | 4.13 | / | / | 1.916 | 6.196 |  |  | 1.06 | 119 |  | Kinga |  | 3 | 3
1 | 0.00 | 34 | P/Prod | 2025-02-24 | 08:26 | 2025-02-21 | 22:43 | ANA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.33 | 139 |  | Kinga |  | 3 | 1
1 | 0.00 | 35 | P/Prod | 2025-02-24 | 08:27 | 2025-02-21 | 22:43 | ANA | 4 | 0.00 | 0.00 | / | / | -0.001 | 6.575 |  |  | 0.15 |  |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.97 mg/L | 9 | 18 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 4.01 mg/L | 9 | 18 | 4.01 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
8 | 16 | 0 mg/L | 8 | 16 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 4.01 | YES
Validation Date | by