## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1061 | HI93711-0 | CP-R35 | W22 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-05-27 |  | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
2 | 1.00 | 0.94 | 1.06
3 | 4.00 | 3.85 | 4.15
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Valid | 2025-05-27 | 09:30 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 0.37 |  |  | Brigitta P |  | 3 | 1 | 82004
1 | 0.00 | 2 | Valid | 2025-05-27 | 09:31 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 1 | 82004
1 | 0.00 | 3 | Old A | 2025-05-27 | 9:30 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.008 | 6.262 |  |  | 0.35 |  |  | Brigitta P |  | 3 | 1 | 82004
1 | 0.00 | 4 | Valid | 2025-05-27 | 09:35 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 1 | 82004
2 | 1.00 | 5 | Valid | 2025-05-27 | 09:36 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 1.01 | 1.01 | / | / | 0.544 | 6.008 |  |  | 0.15 |  |  | Brigitta P |  | 3 | 2 | 82004
2 | 1.00 | 6 | Valid | 2025-05-27 | 09:37 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 1.00 | 1.00 | / | / | 0.542 |  |  |  | 0.19 |  |  | Brigitta P |  | 3 | 2 | 82004
2 | 1.00 | 7 | Valid | 2025-05-27 | 09:38 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 1.01 | 1.01 | / | / | 0.545 |  |  |  | 0.14 |  |  | Brigitta P |  | 3 | 2 | 82004
3 | 4.00 | 8 | P/FINAL | 2025-05-27 | 09:42 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 4.02 | 4.01 | / | / | 1.888 | 6.382 |  |  | 1.23 |  |  | Brigitta P |  | 3 | 3 | 82004
3 | 4.00 | 9 | Valid | 2025-05-27 | 09:42 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 3.87 | 3.94 | / | / | 1.831 |  |  |  | 2.02 |  |  | Brigitta P |  | 3 | 3 | 82004
3 | 4.00 | 10 | Valid | 2025-05-27 | 09:43 | 2025-05-27 | 08:15 | ERIKA/MARK |  | 3.97 | 3.97 | / | / | 1.870 |  |  |  | 0.48 |  |  | Brigitta P |  | 3 | 3 | 82004
2 | 1.00 | 11 | P/FINAL | 2025-05-30 | 08:15 | 2025-05-30 | 07:16 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.522 |  |  |  | 2.99 | 137 |  | Kinga |  | 3 | 2 | 82004
2 | 1.00 | 12 | P/FINAL | 2025-05-30 | 08:16 | 2025-05-30 | 07:16 | DORINA | 4 | 0.96 | 0.97 | / | / | 0.519 | 6.152 |  |  | 7.07 | 148 |  | Kinga |  | 3 | 2 | 82004
3 | 4.00 | 13 | P/FINAL | 2025-05-30 | 08:17 | 2025-05-30 | 07:16 | DORINA | 4 | 4.01 | 4.03 | / | / | 1.884 |  |  |  | 1.43 | 138 |  | Kinga |  | 3 | 3 | 82004
3 | 4.00 | 14 | P/FINAL | 2025-05-30 | 08:17 | 2025-05-30 | 07:16 | DORINA | 4 | 4.08 | 4.09 | / | / | 1.91 | 6.046 |  |  | 1.54 | 158 |  | Kinga |  | 3 | 3 | 82004
1 | 0.00 | 15 | P/FINAL | 2025-05-30 | 08:21 | 2025-05-30 | 07:16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.42 | 146 |  | Kinga |  | 3 | 1 | 82004
1 | 0.00 | 16 | P/FINAL | 2025-05-30 | 08:21 | 2025-05-30 | 07:16 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.023 | 6.246 |  |  | 3.63 |  |  | Kinga |  | 3 | 1 | 82004
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0.97 mg/L | 2 | 4 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 4.04 mg/L | 3 | 6 | 4.04 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 4.04 | YES
Validation Date | by