## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1115 | HI93711-0 | CP-R35 | W 29/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-16 | 2025-07-29 | 4 HEAD |  |  | 0961
[6 empty] | Expiration A | Expiration B | Expiration D
2027-03-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-803
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-07-16 | 08:30 | 2025-07-16 | 08:21 | ERIKA |  | 0.96 | 0.96 | / | / | 0.520 |  |  |  | 3.33 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-07-16 | 08:30 | 2025-07-16 | 08:21 | ERIKA |  | 0.95 | 0.98 | / | / | 0.513 |  |  |  | 3.32 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-07-16 | 08:31 | 2025-07-16 | 08:21 | ERIKA |  | 4.08 | 4.04 | / | / | 1.908 |  |  |  | 3.25 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Old A | 2025-07-16 | 08:31 | 2025-07-16 | 08:21 | ERIKA |  | 4.03 | 4.01 | / | / | 1.901 |  |  |  | 3.31 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old A | 2025-07-16 | 08:31 | 2025-07-16 | 08:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 1.60 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2025-07-16 | 08:32 | 2025-07-16 | 08:21 | ERIKA |  | 0.00 | 0.03 | / | / | 0.012 |  |  |  | 1.60 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Valid | 2025-07-16 | 08:38 | 2025-07-16 | 08:21 | ERIKA |  | 0.95 | 0.94 | / | / | 0.504 |  |  |  | 1.60 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | Valid | 2025-07-16 | 08:38 | 2025-07-16 | 08:21 | ERIKA |  | 0.94 | 0.95 | / | / | 0.508 | 6.102 |  |  | 1.26 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 9 | Valid | 2025-07-16 | 08:39 | 2025-07-16 | 08:21 | ERIKA |  | 0.95 | 0.95 | / | / | 0.512 |  |  |  | 0.72 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 10 | Valid | 2025-07-16 | 08:44 | 2025-07-16 | 08:21 | ERIKA |  | 4.00 | 4.01 | / | / | 1.880 |  |  |  | 0.54 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 11 | Valid | 2025-07-16 | 08:44 | 2025-07-16 | 08:21 | ERIKA |  | 4.05 | 4.00 | / | / | 1.898 | 6.012 |  |  | 1.08 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 12 | Valid | 2025-07-16 | 08:45 | 2025-07-16 | 08:21 | ERIKA |  | 4.03 | 4.06 | / | / | 1.891 |  |  |  | 1.09 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | Valid | 2025-07-16 | 08:46 | 2025-07-16 | 08:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.53 |  |  | Kinga |  | 3 | 1 | 62702
1 | 0.00 | 14 | Valid | 2025-07-16 | 08:46 | 2025-07-16 | 08:21 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 | 5.992 |  |  | 0.51 |  |  | Kinga |  | 3 | 1 | 62702
1 | 0.00 | 15 | Old A | 2025-07-28 | 15:34 | 2025-07-28 | 14:29 | DORINA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.72 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | Old A | 2025-07-28 | 15:36 | 2025-07-28 | 14:29 | DORINA |  | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 0.53 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 17 | Old A | 2025-07-28 | 15:37 | 2025-07-28 | 14:29 | DORINA |  | 0.99 | 0.97 | / | / | 0.533 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 18 | Old A | 2025-07-28 | 15:39 | 2025-07-28 | 14:29 | DORINA |  | 0.97 | 0.97 | / | / | 0.524 |  |  |  | 1.11 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 19 | Old A | 2025-07-28 | 15:45 | 2025-07-28 | 14:29 | DORINA |  | 3.92 | 3.88 | / | / | 1.849 |  |  |  | 1.67 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 20 | Old A | 2025-07-28 | 15:45 | 2025-07-28 | 14:29 | DORINA |  | 3.93 | 3.95 | / | / | 1.853 |  |  |  | 2.25 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 21 | P/FINAL | 2025-07-28 | 15:47 | 2025-07-28 | 14:29 | DORINA |  | 0.00 | 0.00 | / | / | 0.014 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2025-07-28 | 15:48 | 2025-07-28 | 14:29 | DORINA |  | 0.00 | 0.00 | / | / | 0.013 | 6.194 |  |  | 0.24 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 23 | P/FINAL | 2025-07-28 | 15:52 | 2025-07-28 | 14:29 | DORINA |  | 0.98 | 0.98 | / | / | 0.529 |  |  |  | 0.30 | 154 |  | Andrea V |  | 3 | 2
2 | 1.00 | 24 | P/FINAL | 2025-07-28 | 15:52 | 2025-07-28 | 14:29 | DORINA |  | 0.97 | 0.97 | / | / | 0.523 |  |  |  | 0.40 | 161 |  | Andrea V |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2025-07-28 | 15:53 | 2025-07-28 | 14:29 | DORINA |  | 0.98 | 0.99 | / | / | 0.532 | 6.204 |  |  | 0.34 | 150 |  | Andrea V |  | 3 | 2
3 | 4.00 | 26 | P/FINAL | 2025-07-28 | 15:58 | 2025-07-28 | 14:29 | DORINA |  | 4.13 | 4.11 | / | / | 1.929 |  |  |  | 0.25 | 159 |  | Andrea V |  | 3 | 3
3 | 4.00 | 27 | P/FINAL | 2025-07-28 | 16:00 | 2025-07-28 | 14:29 | DORINA |  | 4.08 | 4.06 | / | / | 1.937 | 6.255 |  |  | 0.23 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 28 | P/FINAL | 2025-07-28 | 16:01 | 2025-07-28 | 14:29 | DORINA |  | 4.14 | 4.12 | / | / | 1.930 |  |  |  | 0.26 |  |  | Andrea V |  | 3 | 3
2 | 1.00 | 29 | Old A | 2025-07-29 | 09:50 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 0.95 | 0.97 | / | / | 0.513 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 30 | Old A | 2025-07-29 | 09:51 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 0.94 | 0.94 | / | / | 0.492 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 31 | Old A | 2025-07-29 | 09:51 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 3.89 | 3.96 | / | / | 1.855 |  |  |  | 1.33 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 32 | Old A | 2025-07-29 | 09:52 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 3.88 | 3.93 | / | / | 1.851 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 33 | Old A | 2025-07-29 | 09:52 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 34 | Old A | 2025-07-29 | 09:53 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.32 | 117 |  | Kinga |  | 3 | 1
1 | 0.00 | 35 | P/FINAL | 2025-07-29 | 09:53 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.197 |  |  | 0.65 | 112 |  | Kinga |  | 3 | 1
2 | 1.00 | 36 | P/FINAL | 2025-07-29 | 09:54 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 1.01 | 1.00 | / | / | 0.522 | 6.224 |  |  | 0.55 | 121 |  | Kinga |  | 3 | 2
2 | 1.00 | 37 | P/FINAL | 2025-07-29 | 09:54 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 1.00 | 0.99 | / | / | 0.519 |  |  |  | 0.31 | 130 |  | Kinga |  | 3 | 2
2 | 1.00 | 38 | P/FINAL | 2025-07-29 | 09:55 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 1.00 | 1.00 | / | / | 0.520 |  |  |  | 0.31 | 132 |  | Kinga |  | 3 | 2
3 | 4.00 | 39 | P/FINAL | 2025-07-29 | 09:55 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 3.95 | 4.05 | / | / | 1.879 |  |  |  | 1.57 | 128 |  | Kinga |  | 3 | 3
3 | 4.00 | 40 | P/FINAL | 2025-07-29 | 09:55 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 3.94 | 3.97 | / | / | 1.875 |  |  |  | 1.16 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 41 | P/FINAL | 2025-07-29 | 09:56 | 2025-07-28 | 06:33 | GIORGIANA | 4 | 3.97 | 3.99 | / | / | 1.886 | 6.227 |  |  | 1.19 |  |  | Kinga |  | 3 | 3
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 0.99 mg/L | 6 | 12 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 4.04 mg/L | 6 | 12 | 4.04 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 0 mg/L | 3 | 6 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.04 | YES
Validation Date | by