## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1135 | HI93711-0 | CP-R35 | W 31/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-08-29 | 2025-09-01 | 4 HEAD |  |  | 0901
[6 empty] | Expiration A | Expiration B | Expiration D
2027-01-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-781
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-07-30 | 09:19 | 2025-07-30 | 07:28 | MARK |  | 0.97 | 1.01 | / | / | 0.524 |  |  |  | 1.94 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-07-30 | 09:20 | 2025-07-30 | 07:28 | MARK |  | 0.95 | 0.95 | / | / | 0.513 |  |  |  | 1.53 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-07-30 | 09:20 | 2025-07-30 | 07:28 | MARK |  | 3.98 | 3.97 | / | / | 1.872 |  |  |  | 4.22 |  |  | Kinga |  | 3 | 3 | 111806
3 | 4.00 | 4 | Old A | 2025-07-30 | 09:22 | 2025-07-30 | 07:28 | MARK |  | 3.97 | 3.95 | / | / | 1.868 |  |  |  | 1.21 |  |  | Kinga |  | 3 | 3 | 111806
1 | 0.00 | 5 | Old A | 2025-07-30 | 09:24 | 2025-07-30 | 07:28 | MARK |  | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 1.97 |  |  | Kinga |  | 3 | 1 | 111806
1 | 0.00 | 6 | Old A | 2025-07-30 | 09:25 | 2025-07-30 | 07:28 | MARK |  | 0.00 | 0.00 | / | / | 0.016 |  |  |  | 3.29 |  |  | Kinga |  | 3 | 1 | 111806
1 | 0.00 | 7 | Valid | 2025-07-30 | 09:25 | 2025-07-30 | 07:28 | MARK |  | 0.00 | 0.00 | / | / | 0.006 | 6.144 |  |  | 0.81 |  |  | Kinga |  | 3 | 1 | 111806
1 | 0.00 | 8 | Valid | 2025-07-30 | 09:26 | 2025-07-30 | 07:28 | MARK |  | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 1 | 111806
2 | 1.00 | 9 | Valid | 2025-07-30 | 09:32 | 2025-07-30 | 07:28 | MARK |  | 0.94 | 0.94 | / | / | 0.510 |  |  |  | 1.34 |  |  | Kinga |  | 3 | 2 | 111806
2 | 1.00 | 10 | Valid | 2025-07-30 | 09:33 | 2025-07-30 | 07:28 | MARK |  | 0.95 | 0.96 | / | / | 0.516 | 6.196 |  |  | 0.45 |  |  | Kinga |  | 3 | 2 | 111806
2 | 1.00 | 11 | Valid | 2025-07-30 | 09:34 | 2025-07-30 | 07:28 | MARK |  | 0.95 | 0.95 | / | / | 0.514 |  |  |  | 0.45 |  |  | Kinga |  | 3 | 2 | 111806
3 | 4.00 | 12 | Valid | 2025-07-30 | 09:36 | 2025-07-30 | 07:28 | MARK |  | 3.90 | 3.88 | / | / | 1.843 |  |  |  | 0.40 |  |  | Kinga |  | 3 | 3 | 111806
3 | 4.00 | 13 | Valid | 2025-07-30 | 09:38 | 2025-07-30 | 07:28 | MARK |  | 4.13 | 4.15 | / | / | 1.948 |  |  |  | 0.30 |  |  | Kinga |  | 3 | 3 | 111806
3 | 4.00 | 14 | Valid | 2025-07-30 | 09:39 | 2025-07-30 | 07:28 | MARK |  | 4.15 | 4.13 | / | / | 1.943 | 6.232 |  |  | 0.32 |  |  | Kinga |  | 3 | 3 | 111806
2 | 1.00 | 15 | Old A | 2025-08-29 | 11:56 | 2025-08-29 | 10:09 | DORINA | 4 | 1.01 | 0.94 | / | / | 0.544 |  |  |  | 0.58 |  |  | Kinga |  | 3 | 2 | 83009
2 | 1.00 | 16 | Old A | 2025-08-29 | 11:57 | 2025-08-29 | 10:09 | DORINA | 4 | 0.94 | 0.94 | / | / | 0.507 |  |  |  | 11.0 |  |  | Kinga |  | 3 | 2 | 83009
1 | 0.00 | 17 | Old A | 2025-08-29 | 11:58 | 2025-08-29 | 10:09 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.010 |  |  |  | 1.87 |  |  | Kinga |  | 3 | 1 | 83009
1 | 0.00 | 18 | Old A | 2025-08-29 | 11:58 | 2025-08-29 | 10:09 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 1.76 |  |  | Kinga |  | 3 | 1 | 83009
3 | 4.00 | 19 | Old A | 2025-08-29 | 11:59 | 2025-08-29 | 10:09 | DORINA | 4 | 4.00 | 4.05 | / | / | 1.880 |  |  |  | 5.47 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 20 | Old A | 2025-08-29 | 12:00 | 2025-08-29 | 10:09 | DORINA | 4 | 4.02 | 4.06 | / | / | 1.883 | 6.065 |  |  | 5.51 | 146 |  | Kinga |  | 3 | 3 | 83009
2 | 1.00 | 21 | P/FINAL | 2025-08-29 | 12:03 | 2025-08-29 | 10:09 | DORINA | 4 | 0.97 | 0.96 | / | / | 0.474 |  |  |  | 3.64 | 145 |  | Kinga |  | 3 | 2 | 83009
2 | 1.00 | 22 | P/FINAL | 2025-08-29 | 12:04 | 2025-08-29 | 10:09 | DORINA | 4 | 0.97 | 0.95 | / | / | 0.522 | 6.027 |  |  | 0.91 | 147 |  | Kinga |  | 3 | 2 | 83009
2 | 1.00 | 23 | P/FINAL | 2025-08-29 | 12:04 | 2025-08-29 | 10:09 | DORINA | 4 | 0.99 | 0.97 | / | / | 0.518 |  |  |  | 1.50 | 144 |  | Kinga |  | 3 | 2 | 83009
1 | 0.00 | 24 | P/FINAL | 2025-08-29 | 12:06 | 2025-08-29 | 10:09 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.79 |  |  | Kinga |  | 3 | 1 | 83009
1 | 0.00 | 25 | Old A | 2025-08-29 | 12:06 | 2025-08-29 | 10:09 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.011 | 6.089 |  |  | 0.34 |  |  | Kinga |  | 3 | 1 | 83009
3 | 4.00 | 26 | P/FINAL | 2025-08-29 | 12:29 | 2025-08-29 | 10:09 | DORINA | 4 | 4.23 | 4.28 | / | / | 1.966 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 27 | P/FINAL | 2025-08-29 | 12:29 | 2025-08-29 | 10:09 | DORINA | 4 | 3.99 | 4.06 | / | / | 1.882 |  |  |  | 0.65 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 28 | P/FINAL | 2025-08-29 | 12:29 | 2025-08-29 | 10:09 | DORINA | 4 | 3.74 | 3.78 | / | / | 1.782 |  |  |  | 0.33 |  |  | Kinga |  | 3 | 3 | 83009
3 | 4.00 | 29 | P/FINAL | 2025-08-29 | 12:30 | 2025-08-29 | 10:09 | DORINA | 4 | 3.92 | 3.98 | / | / | 1.887 |  |  |  | 0.65 |  |  | Kinga |  | 3 | 3 | 83009
1 | 0.00 | 30 | Old A | 2025-09-01 | 10:31 | 2025-09-01 | 06:39 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.017 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 31 | Old A | 2025-09-01 | 10:31 | 2025-09-01 | 06:39 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.016 |  |  |  | 0.54 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 32 | P/FINAL | 2025-09-01 | 10:32 | 2025-09-01 | 06:39 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.115 |  |  | 0.26 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 33 | P/FINAL | 2025-09-01 | 10:32 | 2025-09-01 | 06:39 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.010 | 6.108 |  |  | 0.31 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 34 | Old A | 2025-09-01 | 10:33 | 2025-09-01 | 06:39 | DORINA | 4 | 0.94 | 0.94 | / | / | 0.507 |  |  |  | 0.77 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 35 | Old A | 2025-09-01 | 10:33 | 2025-09-01 | 06:39 | DORINA | 4 | 0.92 | 0.94 | / | / | 0.500 |  |  |  | 0.73 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 36 | P/FINAL | 2025-09-01 | 10:34 | 2025-09-01 | 06:39 | DORINA | 4 | 0.95 | 0.96 | / | / | 0.516 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 37 | P/FINAL | 2025-09-01 | 10:34 | 2025-09-01 | 06:39 | DORINA | 4 | 0.95 | 0.97 | / | / | 0.509 | 6.117 |  |  | 0.36 | 145 |  | Kinga |  | 3 | 2
2 | 1.00 | 38 | P/FINAL | 2025-09-01 | 10:56 | 2025-09-01 | 06:39 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.527 | 6.108 |  |  | 0.40 | 143 |  | Kinga |  | 3 | 2 | 123204
3 | 4.00 | 39 | Old A | 2025-09-01 | 10:57 | 2025-09-01 | 06:39 | DORINA | 4 | 3.85 | 3.89 | / | / | 1.823 |  |  |  | 0.67 |  |  | Kinga |  | 3 | 3 | 123204
3 | 4.00 | 40 | Old A | 2025-09-01 | 10:57 | 2025-09-01 | 06:39 | DORINA | 4 | 3.88 | 3.89 | / | / | 1.836 |  |  |  | 0.99 |  |  | Kinga |  | 3 | 3 | 123204
3 | 4.00 | 41 | P/FINAL | 2025-09-01 | 10:58 | 2025-09-01 | 06:39 | DORINA | 4 | 4.04 | 4.09 | / | / | 1.896 |  |  |  | 0.31 | 159 |  | Kinga |  | 3 | 3 | 123204
3 | 4.00 | 42 | P/FINAL | 2025-09-01 | 10:58 | 2025-09-01 | 06:39 | DORINA | 4 | 4.06 | 4.09 | / | / | 1.897 | 6.197 |  |  | 0.29 | 155 |  | Kinga |  | 3 | 3 | 123204
3 | 4.00 | 43 | P/FINAL | 2025-09-01 | 10:58 | 2025-09-01 | 06:39 | DORINA | 4 | 4.08 | 4.13 | / | / | 1.910 | 6.151 |  |  | 0.27 | 141 |  | Kinga |  | 3 | 3 | 123204
2 | 1.00 | 44 | P/FINAL | 2025-09-01 | 15:13 | 2025-09-01 | 14:31 | ANA | 4 | 0.99 | 0.96 | / | / | 0.536 |  |  |  | 1.00 |  |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 45 | P/FINAL | 2025-09-01 | 15:14 | 2025-09-01 | 14:31 | ANA | 4 | 0.98 | 1.05 | / | / | 0.530 | 6.117 |  |  | 1.14 | 123 |  | Kinga |  | 3 | 2 | 94731
2 | 1.00 | 46 | P/FINAL | 2025-09-01 | 15:15 | 2025-09-01 | 14:31 | ANA | 4 | 0.96 | 0.96 | / | / | 0.515 |  |  |  | 1.93 | 142 |  | Kinga |  | 3 | 2 | 94731
1 | 0.00 | 47 | P/FINAL | 2025-09-01 | 15:15 | 2025-09-01 | 14:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 | 6.131 |  |  | 1.93 | 124 |  | Kinga |  | 3 | 1 | 94731
1 | 0.00 | 48 | P/FINAL | 2025-09-01 | 15:16 | 2025-09-01 | 14:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.43 | 146 |  | Kinga |  | 3 | 1 | 94731
3 | 4.00 | 49 | P/FINAL | 2025-09-01 | 15:20 | 2025-09-01 | 14:31 | ANA | 4 | 4.04 | 4.02 | / | / | 1.898 | 6.120 |  |  | 1.35 | 122 |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 50 | P/FINAL | 2025-09-01 | 15:21 | 2025-09-01 | 14:31 | ANA | 4 | 4.01 | 4.06 | / | / | 1.885 |  |  |  | 0.59 |  |  | Kinga |  | 3 | 3 | 94731
3 | 4.00 | 51 | P/FINAL | 2025-09-01 | 15:26 | 2025-09-01 | 14:31 | ANA | 4 | 4.03 | 3.98 | / | / | 1.889 | 6.117 |  |  | 0.98 |  |  | Kinga |  | 3 | 3 | 94731
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
9 | 18 | 0.97 mg/L | 9 | 18 | 0.97 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
10 | 20 | 4.03 mg/L | 10 | 20 | 4.03 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
5 | 10 | 0 mg/L | 5 | 10 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.97 | YES
4.00 | 3.85 ÷ 4.15 | 4.03 | YES
Validation Date | by