## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1257 | HI93711-0 | CP-R35 | W 48/2 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-26 | 2025-12-15 | 4 HEAD |  |  | 1199
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-832 | HI97104 | CTO-711
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.00 | 0.94 | 1.06 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
1 | 0.00 | 0.00 | 0.03
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97104 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.00 | 1 | Old A | 2025-11-26 | 15:50 | 2025-11-26 | 15:32 | ERIKA |  | 0.97 | 0.96 | / | / | 0.523 |  |  |  | 1.05 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 2 | Old A | 2025-11-26 | 15:51 | 2025-11-26 | 15:32 | ERIKA |  | 0.95 | 0.97 | / | / | 0.514 |  |  |  | 1.36 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 3 | Old A | 2025-11-26 | 15:51 | 2025-11-26 | 15:32 | ERIKA |  | 3.98 | 4.00 | / | / | 1.873 |  |  |  | 2.13 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 4 | Old A | 2025-11-26 | 15:52 | 2025-11-26 | 15:32 | ERIKA |  | 3.89 | 3.93 | / | / | 1.840 |  |  |  | 1.56 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 5 | Old A | 2025-11-26 | 15:52 | 2025-11-26 | 15:32 | ERIKA |  | 0.00 | 0.00 | / | / | -0.006 |  |  |  | 1.25 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 6 | Old A | 2025-11-26 | 15:52 | 2025-11-26 | 15:32 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 1.01 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 7 | Valid | 2025-11-26 | 15:57 | 2025-11-26 | 15:32 | ERIKA |  | 0.97 | 0.94 | / | / | 0.525 |  |  |  | 0.44 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 8 | Valid | 2025-11-26 | 15:57 | 2025-11-26 | 15:32 | ERIKA |  | 0.96 | 0.97 | / | / | 0.521 | 6.124 |  |  | 0.64 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 9 | Valid | 2025-11-26 | 15:58 | 2025-11-26 | 15:32 | ERIKA |  | 0.98 | 0.97 | / | / | 0.532 |  |  |  | 1.27 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 10 | Valid | 2025-11-26 | 15:59 | 2025-11-26 | 15:32 | ERIKA |  | 4.15 | 4.15 | / | / | 1.934 |  |  |  | 0.37 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 11 | Valid | 2025-11-26 | 15:59 | 2025-11-26 | 15:32 | ERIKA |  | 4.05 | 4.04 | / | / | 1.900 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 12 | Valid | 2025-11-26 | 16:00 | 2025-11-26 | 15:32 | ERIKA |  | 4.08 | 4.05 | / | / | 1.912 | 6.033 |  |  | 0.29 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 13 | Valid | 2025-11-26 | 16:03 | 2025-11-26 | 15:32 | ERIKA |  | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 14 | Valid | 2025-11-26 | 16:04 | 2025-11-26 | 15:32 | ERIKA |  | 0.00 | 0.00 | / | / | 0.004 | 6.023 |  |  | 0.46 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 15 | Old A | 2025-12-12 | 08:51 | 2025-12-11 | 15:23 | ANA | 4 | 0.97 | 0.98 | / | / | 0.524 |  |  |  | 0.31 | 138 |  | Kinga |  | 3 | 2
2 | 1.00 | 16 | Old A | 2025-12-12 | 08:51 | 2025-12-11 | 15:23 | ANA | 4 | 0.98 | 1.00 | / | / | 0.532 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 17 | Old A | 2025-12-12 | 08:52 | 2025-12-11 | 15:23 | ANA | 4 | 4.09 | 4.11 | / | / | 1.912 |  |  |  | 0.37 | 130 |  | Kinga |  | 3 | 3
3 | 4.00 | 18 | Old A | 2025-12-12 | 08:52 | 2025-12-11 | 15:23 | ANA | 4 | 4.09 | 4.13 | / | / | 1.912 |  |  |  | 0.40 | 165 |  | Kinga |  | 3 | 3
1 | 0.00 | 19 | Old A | 2025-12-12 | 08:53 | 2025-12-11 | 15:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.42 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 20 | P/FINAL | 2025-12-12 | 08:53 | 2025-12-11 | 15:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.43 | 158 |  | Kinga |  | 3 | 1
2 | 1.00 | 21 | P/FINAL | 2025-12-12 | 08:53 | 2025-12-11 | 15:23 | ANA | 4 | 0.98 | 0.99 | / | / | 0.529 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 22 | P/FINAL | 2025-12-12 | 08:54 | 2025-12-11 | 15:23 | ANA | 4 | 0.98 | 0.99 | / | / | 0.529 | 6.247 |  |  | 0.32 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 23 | P/FINAL | 2025-12-12 | 08:54 | 2025-12-11 | 15:23 | ANA | 4 | 0.97 | 0.97 | / | / | 0.527 |  |  |  | 0.56 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 24 | P/FINAL | 2025-12-12 | 08:54 | 2025-12-11 | 15:23 | ANA | 4 | 3.97 | 4.00 | / | / | 1.867 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 25 | P/FINAL | 2025-12-12 | 08:55 | 2025-12-11 | 15:23 | ANA | 4 | 4.10 | 4.12 | / | / | 1.915 | 6.182 |  |  | 0.24 |  |  | Kinga |  | 3 | 3
3 | 4.00 | 26 | P/FINAL | 2025-12-12 | 08:55 | 2025-12-11 | 15:23 | ANA | 4 | 4.13 | 4.15 | / | / | 1.926 | 6.182 |  |  | 0.22 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 27 | P/FINAL | 2025-12-12 | 08:56 | 2025-12-11 | 15:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 28 | P/FINAL | 2025-12-12 | 08:57 | 2025-12-11 | 15:23 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 | 6.219 |  |  | 0.58 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 29 | P/FINAL | 2025-12-12 | 08:58 | 2025-12-12 | 06:51 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.532 |  |  |  | 0.26 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 30 | P/FINAL | 2025-12-12 | 08:59 | 2025-12-12 | 06:51 | DORINA | 4 | 0.97 | 0.98 | / | / | 0.525 | 6.206 |  |  | 0.68 | 151 |  | Kinga |  | 3 | 2
2 | 1.00 | 31 | P/FINAL | 2025-12-12 | 08:59 | 2025-12-12 | 06:51 | DORINA | 4 | 0.97 | 0.98 | / | / | 0.526 |  |  |  | 0.29 |  |  | Kinga |  | 3 | 2
3 | 4.00 | 32 | P/FINAL | 2025-12-12 | 09:03 | 2025-12-12 | 06:51 | DORINA | 4 | 4.10 | 4.13 | / | / | 1.918 |  |  |  | 0.21 | 140 |  | Kinga |  | 3 | 3
3 | 4.00 | 33 | P/FINAL | 2025-12-12 | 09:05 | 2025-12-12 | 06:51 | DORINA | 4 | 4.08 | 4.13 | / | / | 1.909 | 6.205 |  |  | 0.21 | 155 |  | Kinga |  | 3 | 3
1 | 0.00 | 34 | P/FINAL | 2025-12-12 | 09:08 | 2025-12-12 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.28 | 154 |  | Kinga |  | 3 | 1
1 | 0.00 | 35 | P/FINAL | 2025-12-12 | 09:08 | 2025-12-12 | 06:51 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.24 |  |  | Kinga |  | 3 | 1
3 | 4.00 | 36 | P/FINAL | 2025-12-12 | 09:10 | 2025-12-12 | 06:51 | DORINA | 4 | 4.11 | 4.15 | / | / | 1.922 |  |  |  | 0.21 |  |  | Kinga |  | 3 | 3
2 | 1.00 | 37 | P/FINAL | 2025-12-12 | 15:09 | 2025-12-12 | 14:29 | ANA | 4 | 0.97 | 1.01 | / | / | 0.526 |  |  |  | 0.40 | 139 |  | Andrea V |  | 3 | 2
2 | 1.00 | 38 | P/FINAL | 2025-12-12 | 15:10 | 2025-12-12 | 14:29 | ANA | 4 | 0.99 | 1.02 | / | / | 0.535 |  |  |  | 0.33 | 134 |  | Andrea V |  | 3 | 2
2 | 1.00 | 39 | P/FINAL | 2025-12-12 | 15:12 | 2025-12-12 | 14:29 | ANA | 4 | 0.99 | 1.03 | / | / | 0.533 | 6.097 |  |  | 0.90 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 40 | P/FINAL | 2025-12-12 | 15:13 | 2025-12-12 | 14:29 | ANA | 4 | 4.11 | 4.14 | / | / | 1.919 |  |  |  | 0.41 | 153 |  | Andrea V |  | 3 | 3
3 | 4.00 | 41 | P/FINAL | 2025-12-12 | 15:15 | 2025-12-12 | 14:29 | ANA | 4 | 4.14 | 4.15 | / | / | 1.932 |  |  |  | 0.21 | 163 |  | Andrea V |  | 3 | 3
3 | 4.00 | 42 | P/FINAL | 2025-12-12 | 15:16 | 2025-12-12 | 14:29 | ANA | 4 | 4.10 | 4.12 | / | / | 1.917 | 5.991 |  |  | 0.20 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 43 | P/FINAL | 2025-12-12 | 15:17 | 2025-12-12 | 14:29 | ANA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.36 | 133 |  | Andrea V |  | 3 | 1
1 | 0.00 | 44 | P/FINAL | 2025-12-12 | 15:17 | 2025-12-12 | 14:29 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.30 | 137 |  | Andrea V |  | 3 | 1
1 | 0.00 | 45 | Old A | 2025-12-15 | 09:35 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.55 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 46 | Old A | 2025-12-15 | 09:36 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 0.52 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 47 | Old A | 2025-12-15 | 09:38 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 1.01 | 1.04 | / | / | 0.544 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 2 | 91002
2 | 1.00 | 48 | Old A | 2025-12-15 | 09:39 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 0.99 | 1.04 | / | / | 0.537 |  |  |  | 0.62 |  |  | Andrea V |  | 3 | 2 | 91002
1 | 0.00 | 49 | P/FINAL | 2025-12-15 | 09:44 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.49 | 137 |  | Andrea V |  | 3 | 1 | 91002
1 | 0.00 | 50 | P/FINAL | 2025-12-15 | 09:45 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.154 |  |  | 0.31 | 145 |  | Andrea V |  | 3 | 1 | 91002
2 | 1.00 | 51 | P/FINAL | 2025-12-15 | 09:46 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 1.02 | 1.02 | / | / | 0.552 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 2 | 91002
2 | 1.00 | 52 | P/FINAL | 2025-12-15 | 09:47 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 1.00 | 1.04 | / | / | 0.540 | 6.139 |  |  | 0.26 | 136 |  | Andrea V |  | 3 | 2 | 91002
2 | 1.00 | 53 | P/FINAL | 2025-12-15 | 09:47 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 1.00 | 1.03 | / | / | 0.539 |  |  |  | 0.31 | 159 |  | Andrea V |  | 3 | 2 | 91002
3 | 4.00 | 54 | P/FINAL | 2025-12-15 | 10:18 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 3.85 | 3.88 | / | / | 1.825 |  |  |  | 0.36 |  |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 55 | P/FINAL | 2025-12-15 | 10:24 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.11 | 4.15 | / | / | 1.919 | 6.223 |  |  | 0.20 |  |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 56 | P/FINAL | 2025-12-15 | 10:27 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.31 | 4.32 | / | / | 1.992 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 57 | P/FINAL | 2025-12-15 | 10:28 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.02 | 4.04 | / | / | 1.886 |  |  |  | 0.22 | 152 |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 58 | P/FINAL | 2025-12-15 | 10:28 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.02 | 3.99 | / | / | 1.886 |  |  |  | 0.23 | 158 |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 59 | Old A | 2025-12-15 | 10:29 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.40 | 4.43 | / | / | 2.027 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 60 | Old A | 2025-12-15 | 10:30 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.00 | 4.03 | / | / | 1.880 |  |  |  | 0.35 |  |  | Andrea V |  | 3 | 3 | 91002
3 | 4.00 | 61 | Old A | 2025-12-15 | 10:35 | 2025-12-15 | 06:32 | GIORGIANA | 4 | 4.11 | 4.13 | / | / | 1.921 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 3 | 91002
2 | 1.00 | 62 | P/FINAL | 2025-12-15 | 15:36 | 2025-12-15 | 14:52 | DORINA | 4 | 0.98 | 0.99 | / | / | 0.531 |  |  |  | 0.62 |  |  | Kinga |  | 3 | 2 | 91002
2 | 1.00 | 63 | P/FINAL | 2025-12-15 | 15:36 | 2025-12-15 | 14:52 | DORINA | 4 | 0.97 | 1.01 | / | / | 0.527 |  |  |  | 1.75 |  |  | Kinga |  | 3 | 2 | 91002
2 | 1.00 | 64 | P/FINAL | 2025-12-15 | 15:37 | 2025-12-15 | 14:52 | DORINA | 4 | 0.99 | 1.02 | / | / | 0.536 | 6.088 |  |  | 1.54 | 146 |  | Kinga |  | 3 | 2 | 91002
1 | 0.00 | 65 | P/FINAL | 2025-12-15 | 15:38 | 2025-12-15 | 14:52 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.65 | 161 |  | Kinga |  | 3 | 1 | 91002
1 | 0.00 | 66 | P/FINAL | 2025-12-15 | 15:38 | 2025-12-15 | 14:52 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.016 | 6.056 |  |  | 0.45 | 133 |  | Kinga |  | 3 | 1 | 91002
3 | 4.00 | 67 | P/FINAL | 2025-12-15 | 15:42 | 2025-12-15 | 14:52 | DORINA | 4 | 4.16 | 4.15 | / | / | 1.937 | 6.089 |  |  | 0.92 | 165 |  | Kinga |  | 3 | 3 | 91002
3 | 4.00 | 68 | P/FINAL | 2025-12-15 | 15:43 | 2025-12-15 | 14:52 | DORINA | 4 | 4.13 | 4.12 | / | / | 1.928 |  |  |  | 0.48 |  |  | Kinga |  | 3 | 3 | 91002
3 | 4.00 | 69 | P/FINAL | 2025-12-15 | 15:44 | 2025-12-15 | 14:52 | DORINA | 4 | 4.11 | 4.12 | / | / | 1.922 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 3 | 91002
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
15 | 30 | 0.99 mg/L | 15 | 30 | 0.99 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
17 | 34 | 4.1 mg/L | 17 | 34 | 4.1 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
11 | 22 | 0 mg/L | 11 | 22 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.98 | YES
4.00 | 3.85 ÷ 4.15 | 4.10 | YES
Validation Date | by