## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1301 | HI93711-0 | CP-R35 | W 03/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Total Chlorine Reagent | 2028-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 5.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2026-01-14 | 2026-01-19 | 4 HEAD |  |  | 1231
[6 empty] | Expiration A | Expiration B | Expiration D
2027-11-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97711 | CTO-633
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-783
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.03 |  | MR67C |  | 0.03 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 4.00 | 3.85 | 4.15
2 | 1.00 | 0.94 | 1.06
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97711 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2026-01-14 | 08:36 | 2026-01-14 | 08:05 | ERIKA |  | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.67 |  |  | Andrea V |  | 3 | 1 | 82537
1 | 0.00 | 2 | Old A | 2026-01-14 | 08:36 | 2026-01-14 | 08:05 | ERIKA |  | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.79 |  |  | Andrea V |  | 3 | 1 | 82537
3 | 4.00 | 3 | Old A | 2026-01-14 | 08:40 | 2026-01-14 | 08:05 | ERIKA |  | 4.14 | 4.14 | / | / | 1.932 |  |  |  | 0.74 |  |  | Andrea V |  | 3 | 3 | 82537
3 | 4.00 | 4 | Old A | 2026-01-14 | 08:44 | 2026-01-14 | 08:05 | ERIKA |  | 4.13 | 4.14 | / | / | 1.928 |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 3 | 82537
2 | 1.00 | 5 | Old A | 2026-01-14 | 08:45 | 2026-01-14 | 08:05 | ERIKA |  | 0.95 | 0.95 | / | / | 0.515 |  |  |  | 1.03 |  |  | Andrea V |  | 3 | 2 | 82537
2 | 1.00 | 6 | Old A | 2026-01-14 | 08:48 | 2026-01-14 | 08:05 | ERIKA |  | 0.96 | 0.95 | / | / | 0.520 |  |  |  | 1.57 |  |  | Andrea V |  | 3 | 2 | 82537
2 | 1.00 | 7 | Valid | 2026-01-14 | 08:52 | 2026-01-14 | 08:05 | ERIKA |  | 0.97 | 0.99 | / | / | 0.523 |  |  |  | 1.20 |  |  | Andrea V |  | 3 | 2 | 82537
2 | 1.00 | 8 | Valid | 2026-01-14 | 08:53 | 2026-01-14 | 08:05 | ERIKA |  | 1.01 | 0.97 | / | / | 0.546 | 6.386 |  |  | 1.41 |  |  | Andrea V |  | 3 | 2 | 82537
2 | 1.00 | 9 | Valid | 2026-01-14 | 08:54 | 2026-01-14 | 08:05 | ERIKA |  | 1.00 | 0.96 | / | / | 0.541 |  |  |  | 0.93 |  |  | Andrea V |  | 3 | 2 | 82537
3 | 4.00 | 10 | Valid | 2026-01-14 | 08:57 | 2026-01-14 | 08:05 | ERIKA |  | 4.00 | 4.01 | / | / | 1.879 |  |  |  | 0.24 |  |  | Andrea V |  | 3 | 3 | 82537
3 | 4.00 | 11 | Valid | 2026-01-14 | 08:58 | 2026-01-14 | 08:05 | ERIKA |  | 4.03 | 4.04 | / | / | 1.892 | 6.552 |  |  | 0.44 |  |  | Andrea V |  | 3 | 3 | 82537
3 | 4.00 | 12 | Valid | 2026-01-14 | 08:59 | 2026-01-14 | 08:05 | ERIKA |  | 4.03 | 4.05 | / | / | 1.892 |  |  |  | 0.46 |  |  | Andrea V |  | 3 | 3 | 82537
1 | 0.00 | 13 | Valid | 2026-01-14 | 09:01 | 2026-01-14 | 08:05 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 |  |  |  | 0.73 |  |  | Andrea V |  | 3 | 1 | 82537
1 | 0.00 | 14 | Valid | 2026-01-14 | 09:02 | 2026-01-14 | 08:05 | ERIKA |  | 0.00 | 0.00 | / | / | 0.001 | 6.484 |  |  | 0.41 |  |  | Andrea V |  | 3 | 1 | 82537
2 | 1.00 | 15 | Old A | 2026-01-19 | 09:58 | 2026-01-16 | 14:17 | DORINA | 4 | 0.97 | 1.01 | / | / | 0.504 |  |  |  | 8.33 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 16 | Old A | 2026-01-19 | 09:58 | 2026-01-16 | 14:17 | DORINA | 4 | 1.04 | 0.97 | / | / | 0.538 |  |  |  | 8.16 |  |  | Andrea V |  | 3 | 2
3 | 4.00 | 17 | Old A | 2026-01-19 | 09:59 | 2026-01-16 | 14:17 | DORINA | 4 | 4.01 | 4.00 | / | / | 1.904 |  |  |  | 9.06 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 18 | Old A | 2026-01-19 | 10:00 | 2026-01-16 | 14:17 | DORINA | 4 | 4.01 | 4.02 | / | / | 1.905 |  |  |  | 1.82 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 19 | Old A | 2026-01-19 | 10:01 | 2026-01-16 | 14:17 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 4.56 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 20 | Old A | 2026-01-19 | 10:14 | 2026-01-16 | 14:17 | DORINA | 4 | 0.01 | 0.00 | / | / | 0.012 |  |  |  | 0.86 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 21 | P/FINAL | 2026-01-19 | 10:17 | 2026-01-16 | 14:17 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 | 6.165 |  |  | 0.91 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 22 | P/FINAL | 2026-01-19 | 10:18 | 2026-01-16 | 14:17 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.97 | 154 |  | Andrea V |  | 3 | 1
2 | 1.00 | 23 | P/FINAL | 2026-01-19 | 10:22 | 2026-01-16 | 14:17 | DORINA | 4 | 0.95 | 0.95 | / | / | 0.495 |  |  |  | 8.72 | 150 |  | Andrea V |  | 3 | 2
2 | 1.00 | 24 | P/FINAL | 2026-01-19 | 10:23 | 2026-01-16 | 14:17 | DORINA | 4 | 0.98 | 1.05 | / | / | 0.510 | 6.183 |  |  | 8.18 | 152 |  | Andrea V |  | 3 | 2
2 | 1.00 | 25 | P/FINAL | 2026-01-19 | 10:23 | 2026-01-16 | 14:17 | DORINA | 4 | 1.00 | 1.04 | / | / | 0.519 |  |  |  | 8.23 | 133 |  | Andrea V |  | 3 | 2
3 | 4.00 | 26 | P/FINAL | 2026-01-19 | 10:26 | 2026-01-16 | 14:17 | DORINA | 4 | 4.09 | 4.13 | / | / | 1.938 |  |  |  | 2.37 | 124 |  | Andrea V |  | 3 | 3
3 | 4.00 | 27 | P/FINAL | 2026-01-19 | 10:26 | 2026-01-16 | 14:17 | DORINA | 4 | 4.13 | 4.15 | / | / | 1.942 |  |  |  | 2.67 | 133 |  | Andrea V |  | 3 | 3
3 | 4.00 | 28 | P/FINAL | 2026-01-19 | 10:27 | 2026-01-16 | 14:17 | DORINA | 4 | 3.91 | 3.85 | / | / | 1.864 | 6.261 |  |  | 3.08 | 121 |  | Andrea V |  | 3 | 3
2 | 1.00 | 29 | P/FINAL | 2026-01-19 | 10:34 | 2026-01-19 | 06:58 | DORINA | 4 | 1.01 | 0.98 | / | / | 0.523 |  |  |  | 7.01 | 156 |  | Andrea V |  | 3 | 2
2 | 1.00 | 30 | P/FINAL | 2026-01-19 | 10:35 | 2026-01-19 | 06:58 | DORINA | 4 | 1.02 | 0.99 | / | / | 0.527 |  |  |  | 0.86 | 130 |  | Andrea V |  | 3 | 2
2 | 1.00 | 31 | P/FINAL | 2026-01-19 | 10:36 | 2026-01-19 | 06:58 | DORINA | 4 | 0.98 | 1.01 | / | / | 0.507 | 6.321 |  |  | 9.86 | 126 |  | Andrea V |  | 3 | 2
3 | 4.00 | 32 | P/FINAL | 2026-01-19 | 10:40 | 2026-01-19 | 06:58 | DORINA | 4 | 4.05 | 4.08 | / | / | 1.920 | 6.245 |  |  | 5.55 | 128 |  | Andrea V |  | 3 | 3
3 | 4.00 | 33 | P/FINAL | 2026-01-19 | 10:40 | 2026-01-19 | 06:58 | DORINA | 4 | 4.15 | 4.14 | / | / | 1.963 |  |  |  | 5.63 |  |  | Andrea V |  | 3 | 3
3 | 4.00 | 34 | P/FINAL | 2026-01-19 | 10:41 | 2026-01-19 | 06:58 | DORINA | 4 | 4.04 | 4.09 | / | / | 1.916 |  |  |  | 12.5 |  |  | Andrea V |  | 3 | 3
1 | 0.00 | 35 | P/FINAL | 2026-01-19 | 10:41 | 2026-01-19 | 06:58 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.81 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 36 | P/FINAL | 2026-01-19 | 10:41 | 2026-01-19 | 06:58 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.99 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 37 | P/FINAL | 2026-01-19 | 15:56 | 2026-01-19 | 14:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 38 | P/FINAL | 2026-01-19 | 15:56 | 2026-01-19 | 14:31 | ANA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.39 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 39 | P/FINAL | 2026-01-19 | 15:59 | 2026-01-19 | 14:31 | ANA | 4 | 0.98 | 0.99 | / | / | 0.510 |  |  |  | 1.61 | 103 |  | Kinga |  | 3 | 2
2 | 1.00 | 40 | P/FINAL | 2026-01-19 | 16:00 | 2026-01-19 | 14:31 | ANA | 4 | 0.94 | 0.95 | / | / | 0.481 |  |  |  | 3.24 | 127 |  | Kinga |  | 3 | 2
2 | 1.00 | 41 | P/FINAL | 2026-01-19 | 16:00 | 2026-01-19 | 14:31 | ANA | 4 | 1.05 | 1.01 | / | / | 0.547 | 6.256 |  |  | 6.89 | 120 |  | Kinga |  | 3 | 2
3 | 4.00 | 42 | P/FINAL | 2026-01-19 | 16:02 | 2026-01-19 | 14:31 | ANA | 4 | 3.91 | 3.95 | / | / | 1.864 |  |  |  | 0.80 | 155 |  | Kinga |  | 3 | 3
3 | 4.00 | 43 | P/FINAL | 2026-01-19 | 16:02 | 2026-01-19 | 14:31 | ANA | 4 | 3.98 | 3.95 | / | / | 1.894 |  |  |  | 6.43 | 151 |  | Kinga |  | 3 | 3
3 | 4.00 | 44 | P/FINAL | 2026-01-19 | 16:03 | 2026-01-19 | 14:31 | ANA | 4 | 3.95 | 4.05 | / | / | 1.880 | 6.196 |  |  | 14.6 | 135 |  | Kinga |  | 3 | 3
2 | 1.00 | 45 | P/FINAL | 2026-01-20 | 09:48 | 2026-01-20 | 07:17 | DORINA | 4 | 0.99 | 1.03 | / | / | 0.515 |  |  |  | 9.49 |  |  | Kinga |  | 3 | 2
2 | 1.00 | 46 | P/FINAL | 2026-01-20 | 09:49 | 2026-01-20 | 07:17 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.515 |  |  |  | 32.3 | 182 |  | Kinga |  | 3 | 2
2 | 1.00 | 47 | P/FINAL | 2026-01-20 | 09:50 | 2026-01-20 | 07:17 | DORINA | 4 | 1.00 | 1.03 | / | / | 0.551 | 6.356 |  |  | 13.3 | 140 |  | Kinga |  | 3 | 2
3 | 4.00 | 48 | P/FINAL | 2026-01-20 | 09:50 | 2026-01-20 | 07:17 | DORINA | 4 | 4.04 | 4.14 | / | / | 1.916 |  |  |  | 40.7 | 133 |  | Kinga |  | 3 | 3
3 | 4.00 | 49 | P/FINAL | 2026-01-20 | 09:51 | 2026-01-20 | 07:17 | DORINA | 4 | 3.96 | 3.98 | / | / | 1.886 |  |  |  | 2.20 | 143 |  | Kinga |  | 3 | 3
3 | 4.00 | 50 | P/FINAL | 2026-01-20 | 09:52 | 2026-01-20 | 07:17 | DORINA | 4 | 4.00 | 4.05 | / | / | 1.889 | 6.359 |  |  | 2.29 | 135 |  | Kinga |  | 3 | 3
1 | 0.00 | 51 | P/FINAL | 2026-01-20 | 09:54 | 2026-01-20 | 07:17 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 30.8 | 155 |  | Kinga |  | 3 | 1
1 | 0.00 | 52 | P/FINAL | 2026-01-20 | 09:54 | 2026-01-20 | 07:17 | DORINA | 4 | 0.03 | 0.02 | / | / | 0.021 |  |  |  | 12.3 |  |  | Kinga |  | 3 | 1
2 | 1.00 | 53 | P/FINAL | 2026-01-20 | 15:51 | 2026-01-20 | 14:32 | ANA | 4 | 0.96 | 0.95 | / | / | 0.498 | 6.211 |  |  | 1.78 |  |  | Andrea V |  | 3 | 2
2 | 1.00 | 54 | P/FINAL | 2026-01-20 | 15:51 | 2026-01-20 | 14:32 | ANA | 4 | 1.04 | 0.98 | / | / | 0.541 |  |  |  | 2.31 | 129 |  | Andrea V |  | 3 | 2
2 | 1.00 | 55 | P/FINAL | 2026-01-20 | 15:52 | 2026-01-20 | 14:32 | ANA | 4 | 1.03 | 1.01 | / | / | 0.542 |  |  |  | 2.38 | 143 |  | Andrea V |  | 3 | 2
3 | 4.00 | 56 | P/FINAL | 2026-01-20 | 15:53 | 2026-01-20 | 14:32 | ANA | 4 | 4.03 | 4.06 | / | / | 1.914 | 6.228 |  |  | 24.6 | 122 |  | Andrea V |  | 3 | 3
3 | 4.00 | 57 | P/FINAL | 2026-01-20 | 15:53 | 2026-01-20 | 14:32 | ANA | 4 | 3.94 | 3.89 | / | / | 1.874 |  |  |  | 18.4 | 149 |  | Andrea V |  | 3 | 3
3 | 4.00 | 58 | P/FINAL | 2026-01-20 | 15:54 | 2026-01-20 | 14:32 | ANA | 4 | 4.00 | 4.03 | / | / | 1.881 |  |  |  | 19.3 | 152 |  | Andrea V |  | 3 | 3
1 | 0.00 | 59 | P/FINAL | 2026-01-20 | 15:56 | 2026-01-20 | 14:32 | ANA | 4 | 0.00 | 0.00 | / | / | 0.003 | 6.312 |  |  | 11.1 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 60 | P/FINAL | 2026-01-20 | 15:56 | 2026-01-20 | 14:32 | ANA | 4 | 0.00 | 0.00 | / | / | 0.002 |  |  |  | 0.98 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 61 | Old A | 2026-01-21 | 11:13 | 2026-01-21 | 06:59 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.007 |  |  |  | 0.57 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 62 | Old A | 2026-01-21 | 11:13 | 2026-01-21 | 06:59 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.005 |  |  |  | 0.55 |  |  | Andrea V |  | 3 | 1
2 | 1.00 | 63 | Old A | 2026-01-21 | 11:14 | 2026-01-21 | 06:59 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.526 |  |  |  | 7.26 |  |  | Andrea V |  | 3 | 2 | 82756
2 | 1.00 | 64 | Old A | 2026-01-21 | 11:16 | 2026-01-21 | 06:59 | DORINA | 4 | 0.99 | 0.98 | / | / | 0.525 |  |  |  | 0.82 |  |  | Andrea V |  | 3 | 2 | 82756
3 | 4.00 | 65 | Old A | 2026-01-21 | 11:18 | 2026-01-21 | 06:59 | DORINA | 4 | 3.95 | 4.05 | / | / | 1.890 |  |  |  | 0.47 |  |  | Andrea V |  | 3 | 3 | 82756
3 | 4.00 | 66 | Old A | 2026-01-21 | 11:19 | 2026-01-21 | 06:59 | DORINA | 4 | 3.96 | 4.07 | / | / | 1.895 |  |  |  | 0.54 |  |  | Andrea V |  | 3 | 3 | 82756
2 | 1.00 | 67 | P/FINAL | 2026-01-21 | 11:20 | 2026-01-21 | 06:59 | DORINA | 4 | 0.99 | 0.99 | / | / | 0.527 |  |  |  | 0.30 | 183 |  | Andrea V |  | 3 | 2 | 82756
2 | 1.00 | 68 | P/FINAL | 2026-01-21 | 11:21 | 2026-01-21 | 06:59 | DORINA | 4 | 1.00 | 0.99 | / | / | 0.530 | 6.289 |  |  | 0.26 | 144 |  | Andrea V |  | 3 | 2 | 82756
2 | 1.00 | 69 | P/FINAL | 2026-01-21 | 11:21 | 2026-01-21 | 06:59 | DORINA | 4 | 0.97 | 0.97 | / | / | 0.516 |  |  |  | 0.32 |  |  | Andrea V |  | 3 | 2 | 82756
3 | 4.00 | 70 | P/FINAL | 2026-01-21 | 11:25 | 2026-01-21 | 06:59 | DORINA | 4 | 4.05 | 4.15 | / | / | 1.935 |  |  |  | 0.22 | 154 |  | Andrea V |  | 3 | 3 | 82756
3 | 4.00 | 71 | P/FINAL | 2026-01-21 | 11:27 | 2026-01-21 | 06:59 | DORINA | 4 | 3.97 | 4.10 | / | / | 1.902 |  |  |  | 0.22 | 150 |  | Andrea V |  | 3 | 3 | 82756
3 | 4.00 | 72 | P/FINAL | 2026-01-21 | 11:29 | 2026-01-21 | 06:59 | DORINA | 4 | 3.94 | 4.07 | / | / | 1.889 | 6.323 |  |  | 0.23 |  |  | Andrea V |  | 3 | 3 | 82756
1 | 0.00 | 73 | P/FINAL | 2026-01-21 | 11:30 | 2026-01-21 | 06:59 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.002 |  |  |  | 0.31 | 159 |  | Andrea V |  | 3 | 1 | 82756
1 | 0.00 | 74 | P/FINAL | 2026-01-21 | 11:31 | 2026-01-21 | 06:59 | DORINA | 4 | 0.00 | 0.00 | / | / | -0.002 | 6.320 |  |  | 0.31 | 149 |  | Andrea V |  | 3 | 1 | 82756
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
12 | 24 | 0 mg/L | 12 | 24 | 0 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 4.03 mg/L | 18 | 36 | 4.03 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
18 | 36 | 0.99 mg/L | 18 | 36 | 0.99 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.03 | 0.00 | YES
1.00 | 0.94 ÷ 1.06 | 0.99 | YES
4.00 | 3.85 ÷ 4.15 | 4.03 | YES
Validation Date | by