## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0768 | HI93716-0 | CP-R35 | W43 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Bromine Reagent | 2026-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 8.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
DORINA | 2024-10-25 | 2024-10-28 | 4HEAD |  |  | 0545
[6 empty] | Expiration A | Expiration B | Expiration D
2026-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97716 | CTO-694
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.60 | 1.46 | 1.74 |  | MR67C |  | 0.08 | & | 4% | 100% |  | 6.1 | 5.7 | 6.3
3 | 6.40 | 6.06 | 6.74
1 | 0.00 | 0.00 | 0.08
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97716 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.60 | 1 | Old A | 2024-10-28 | 10:30 | 2024-10-25 | 16:16 | DORINA | 4 | 1.51 | 1.50 | / | / | .369 |  |  |  | 6.59 |  |  | Brigitta P |  | 3 | 2 | 85628
2 | 1.60 | 2 | Old A | 2024-10-28 | 10:31 | 2024-10-25 | 16:16 | DORINA | 4 | 1.49 | 1.50 | / | / | 0.365 |  |  |  | 1.24 |  |  | Brigitta P |  | 3 | 2 | 85628
3 | 6.40 | 3 | Old A | 2024-10-28 | 10:32 | 2024-10-25 | 16:16 | DORINA | 4 | 6.26 | 6.25 | / | / | 1.388 |  |  |  | 1.83 |  |  | Brigitta P |  | 3 | 3 | 85628
3 | 6.40 | 4 | P/Final | 2024-10-28 | 10:32 | 2024-10-25 | 16:16 | DORINA | 4 | 6.24 | 6.25 | / | / | 1.385 |  |  |  | 1.95 | 147 |  | Brigitta P |  | 3 | 3 | 85628
3 | 6.40 | 5 | P/Final | 2024-10-28 | 10:33 | 2024-10-25 | 16:16 | DORINA | 4 | 6.27 | 6.20 | / | / | 1.398 |  |  |  | 0.28 |  |  | Brigitta P |  | 3 | 3 | 85628
3 | 6.40 | 6 | P/Final | 2024-10-28 | 10:34 | 2024-10-25 | 16:16 | DORINA | 4 | 6.20 | 6.15 | / | / | 1.376 |  |  |  | 0.26 | 138 |  | Brigitta P |  | 3 | 3 | 85628
2 | 1.60 | 7 | P/Final | 2024-10-28 | 10:34 | 2024-10-25 | 16:16 | DORINA | 4 | 1.49 | 1.47 | / | / | 0.364 |  |  |  | 0.31 |  |  | Brigitta P |  | 3 | 2 | 85628
2 | 1.60 | 8 | P/Final | 2024-10-28 | 10:35 | 2024-10-25 | 16:16 | DORINA | 4 | 1.54 | 1.53 | / | / | 0.376 |  |  |  | 0.32 | 141 |  | Brigitta P |  | 3 | 2 | 85628
3 | 6.40 | 9 | P/Final | 2024-10-28 | 10:40 | 2024-10-25 | 16:16 | DORINA | 4 | 6.06 | 6.06 | / | / | 1.350 |  |  |  | 0.79 |  |  | Brigitta P |  | 3 | 3 | 85628
2 | 1.60 | 10 | P/Final | 2024-10-28 | 10:41 | 2024-10-25 | 16:16 | DORINA | 4 | 1.52 | 1.50 | / | / | 0.372 |  |  |  | 0.44 | 161 |  | Brigitta P |  | 3 | 2 | 85628
1 | 0.00 | 11 | P/Final | 2024-10-28 | 10:42 | 2024-10-25 | 16:16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 0.59 |  |  | Brigitta P |  | 3 | 1 | 85628
1 | 0.00 | 12 | P/Final | 2024-10-28 | 10:42 | 2024-10-25 | 16:16 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.014 |  |  |  | 0.45 |  |  | Brigitta P |  | 3 | 1 | 85628
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
3 | 6 | 1.51 mg/L | 3 | 6 | 1.51 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 6.18 mg/L | 4 | 8 | 6.18 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 4 | 0 mg/L | 2 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.08 | 0.00 | YES
1.60 | 1.46 ÷ 1.74 | 1.51 | YES
6.40 | 6.06 ÷ 6.74 | 6.18 | YES
Validation Date | by