## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1115 | HI93716-0 | CP-R35 | W 29/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Bromine Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 8.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ANA | 2025-07-25 | 2025-07-25 | 4 HEAD |  |  | 1019
[6 empty] | Expiration A | Expiration B | Expiration D
2027-04-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-775 | HI97716 | CTO-694
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.08 |  | MR67C |  | 0.08 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
2 | 1.60 | 1.47 | 1.73
3 | 6.40 | 6.13 | 6.67
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97716 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-07-25 | 09:55 | 2025-07-24 | 19:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.76 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-07-25 | 09:56 | 2025-07-24 | 19:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.80 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 3 | P/FINAL | 2025-07-25 | 10:02 | 2025-07-24 | 19:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.23 |  |  | Kinga |  | 3 | 1
1 | 0.00 | 4 | P/FINAL | 2025-07-25 | 10:02 | 2025-07-24 | 19:28 | ANA | 4 | 0.00 | 0.00 | / | / | 0.009 |  |  |  | 0.19 |  |  | Kinga |  | 3 | 1
2 | 1.60 | 5 | P/FINAL | 2025-07-25 | 10:03 | 2025-07-24 | 19:28 | ANA | 4 | 1.52 | 1.55 | / | / | 0.371 | 6.243 |  |  | 1.78 | 139 |  | Kinga |  | 3 | 2
2 | 1.60 | 6 | Old A | 2025-07-25 | 10:04 | 2025-07-24 | 19:28 | ANA | 4 | 1.51 | 1.52 | / | / | 0.368 |  |  |  | 1.06 | 140 |  | Kinga |  | 3 | 2
3 | 6.40 | 7 | Old A | 2025-07-25 | 10:05 | 2025-07-24 | 19:28 | ANA | 4 | 6.15 | 6.14 | / | / | 1.366 |  |  |  | 1.12 | 159 |  | Kinga |  | 3 | 3
3 | 6.40 | 8 | Old A | 2025-07-25 | 10:06 | 2025-07-24 | 19:28 | ANA | 4 | 6.32 | 6.32 | / | / | 1.398 | 6.196 |  |  | 0.79 | 134 |  | Kinga |  | 3 | 3
2 | 1.60 | 9 | P/FINAL | 2025-07-25 | 10:24 | 2025-07-24 | 19:28 | ANA | 4 | 1.50 | 1.47 | / | / | 0.367 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 2 | 94513
2 | 1.60 | 10 | P/FINAL | 2025-07-25 | 10:24 | 2025-07-24 | 19:28 | ANA | 4 | 1.51 | 1.51 | / | / | 0.369 |  |  |  | 1.73 |  |  | Kinga |  | 3 | 2 | 94513
2 | 1.60 | 11 | P/FINAL | 2025-07-25 | 10:25 | 2025-07-24 | 19:28 | ANA | 4 | 1.53 | 1.52 | / | / | 0.373 |  |  |  | 0.20 |  |  | Kinga |  | 3 | 2 | 94513
3 | 6.40 | 12 | P/FINAL | 2025-07-25 | 10:29 | 2025-07-24 | 19:28 | ANA | 4 | 6.22 | 6.22 | / | / | 1.379 |  |  |  | 0.31 |  |  | Kinga |  | 3 | 3 | 94513
3 | 6.40 | 13 | P/FINAL | 2025-07-25 | 10:30 | 2025-07-24 | 19:28 | ANA | 4 | 6.38 | 6.40 | / | / | 1.410 | 6.210 |  |  | 0.22 |  |  | Kinga |  | 3 | 3 | 94513
3 | 6.40 | 14 | P/FINAL | 2025-07-25 | 10:31 | 2025-07-24 | 19:28 | ANA | 4 | 6.14 | 6.14 | / | / | 1.364 |  |  |  | 0.25 |  |  | Kinga |  | 3 | 3 | 94513
1 | 0.00 | 15 | P/FINAL | 2025-07-25 | 10:32 | 2025-07-25 | 06:48 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 0.46 |  |  | Kinga |  | 3 | 1 | 94513
1 | 0.00 | 16 | P/FINAL | 2025-07-25 | 10:33 | 2025-07-25 | 06:48 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.009 | 6.223 |  |  | 0.32 |  |  | Kinga |  | 3 | 1 | 94513
2 | 1.60 | 17 | P/FINAL | 2025-07-25 | 10:34 | 2025-07-25 | 06:48 | DORINA | 4 | 1.51 | 1.51 | / | / | 0.368 |  |  |  | 0.35 | 141 |  | Kinga |  | 3 | 2 | 94513
2 | 1.60 | 18 | P/FINAL | 2025-07-25 | 10:35 | 2025-07-25 | 06:48 | DORINA | 4 | 1.52 | 1.51 | / | / | 0.371 | 6.241 |  |  | 0.30 | 131 |  | Kinga |  | 3 | 2 | 94513
2 | 1.60 | 19 | P/FINAL | 2025-07-25 | 10:36 | 2025-07-25 | 06:48 | DORINA | 4 | 1.51 | 1.51 | / | / | 0.369 |  |  |  | 0.46 | 152 |  | Kinga |  | 3 | 2 | 94513
3 | 6.40 | 20 | P/FINAL | 2025-07-25 | 10:36 | 2025-07-25 | 06:48 | DORINA | 4 | 6.28 | 6.29 | / | / | 1.392 |  |  |  | 0.34 | 140 |  | Kinga |  | 3 | 3 | 94513
3 | 6.40 | 21 | P/FINAL | 2025-07-25 | 10:37 | 2025-07-25 | 06:48 | DORINA | 4 | 6.44 | 6.46 | / | / | 1.422 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 3 | 94513
3 | 6.40 | 22 | P/FINAL | 2025-07-25 | 10:37 | 2025-07-25 | 06:48 | DORINA | 4 | 6.24 | 6.26 | / | / | 1.385 | 6.335 |  |  | 0.36 |  |  | Kinga |  | 3 | 3 | 94513
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 1.51 mg/L | 7 | 14 | 1.51 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 6.29 mg/L | 6 | 12 | 6.29 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.08 | 0.00 | YES
1.60 | 1.47 ÷ 1.73 | 1.51 | YES
6.40 | 6.13 ÷ 6.67 | 6.29 | YES
Validation Date | by