## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1255 | HI93716-0 | CP-R35 | W 48/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Bromine Reagent | 2027-11-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 8.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-11-27 | 2025-11-28 | 4 HEAD |  |  | 1199
[6 empty] | Expiration A | Expiration B | Expiration D
2027-10-01
Meter
Meter 1 Family | Meter 1 Code | Meter 2 Family | Meter 2 Code
HI801 | CTO-618 | HI97716 | CTO-694
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98713 | CTO-810
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 1.60 | 1.47 | 1.73 |  | MR67C |  | 0.08 | & | 3% | 100% |  | 6.1 | 5.7 | 6.3
3 | 6.40 | 6.13 | 6.67
1 | 0.00 | 0.00 | 0.08
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 HI97716 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 1.60 | 1 | P/FINAL | 2025-11-27 | 20:14 | 2025-11-27 | 17:19 | ANA | 4 | 1.48 | 1.46 | / | / | 0.363 |  |  |  | 1.25 |  |  | Andrea V |  | 3 | 2
2 | 1.60 | 2 | P/FINAL | 2025-11-27 | 20:14 | 2025-11-27 | 17:19 | ANA | 4 | 1.48 | 1.48 | / | / | 0.362 | 6.082 |  |  | 0.86 | 147 |  | Andrea V |  | 3 | 2
2 | 1.60 | 3 | P/FINAL | 2025-11-27 | 20:15 | 2025-11-27 | 17:19 | ANA | 4 | 1.48 | 1.47 | / | / | 0.362 |  |  |  | 1.03 | 144 |  | Andrea V |  | 3 | 2
3 | 6.40 | 4 | P/FINAL | 2025-11-27 | 20:16 | 2025-11-27 | 17:19 | ANA | 4 | 6.23 | 6.29 | / | / | 1.381 |  |  |  | 0.57 |  |  | Andrea V |  | 3 | 3
3 | 6.40 | 5 | P/FINAL | 2025-11-27 | 20:16 | 2025-11-27 | 17:19 | ANA | 4 | 6.45 | 6.46 | / | / | 1.423 |  |  |  | 0.74 | 154 |  | Andrea V |  | 3 | 3
3 | 6.40 | 6 | P/FINAL | 2025-11-27 | 20:18 | 2025-11-27 | 17:19 | ANA | 4 | 6.39 | 6.39 | / | / | 1.426 | 6.106 |  |  | 0.39 | 150 |  | Andrea V |  | 3 | 3 | 10430
3 | 6.40 | 7 | Old A | 2025-11-27 | 20:21 | 2025-11-27 | 17:19 | ANA | 4 | 6.49 | 6.45 | / | / | 1.431 |  |  |  | 0.33 |  |  | Andrea V |  | 3 | 3 | 10430
3 | 6.40 | 8 | Old A | 2025-11-27 | 20:22 | 2025-11-27 | 17:19 | ANA | 4 | 6.49 | 6.46 | / | / | 1.432 |  |  |  | 0.31 |  |  | Andrea V |  | 3 | 3 | 10430
1 | 0.00 | 9 | Old A | 2025-11-27 | 20:22 | 2025-11-27 | 17:19 | ANA | 4 | 0.00 | 0.00 | / | / | 0.004 |  |  |  | 0.37 |  |  | Andrea V |  | 3 | 1 | 10430
1 | 0.00 | 10 | Old A | 2025-11-27 | 20:22 | 2025-11-27 | 17:19 | ANA | 4 | 0.00 | 0.00 | / | / | 0.006 |  |  |  | 0.45 |  |  | Andrea V |  | 3 | 1 | 10430
1 | 0.00 | 11 | P/FINAL | 2025-11-27 | 20:23 | 2025-11-27 | 17:19 | ANA | 4 | 0.00 | 0.00 | / | / | -0.001 |  |  |  | 0.61 |  |  | Andrea V |  | 3 | 1 | 10430
1 | 0.00 | 12 | P/FINAL | 2025-11-27 | 20:23 | 2025-11-27 | 17:19 | ANA | 4 | 0.00 | 0.00 | / | / | 0.001 | 6.148 |  |  | 0.31 | 153 |  | Andrea V |  | 3 | 1 | 10430
2 | 1.60 | 13 | P/FINAL | 2025-11-27 | 20:24 | 2025-11-27 | 17:19 | ANA | 4 | 1.47 | 1.49 | / | / | 0.359 |  |  |  | 0.44 | 134 |  | Andrea V |  | 3 | 2 | 10430
3 | 6.40 | 14 | P/FINAL | 2025-11-28 | 09:09 | 2025-11-28 | 06:53 | DORINA | 4 | 6.53 | 6.50 | / | / | 1.438 |  |  |  | 0.60 |  |  | Andrea V |  | 3 | 3 | 10430
3 | 6.40 | 15 | P/FINAL | 2025-11-28 | 09:09 | 2025-11-28 | 06:53 | DORINA | 4 | 6.44 | 6.42 | / | / | 1.421 |  |  |  | 0.43 | 142 |  | Andrea V |  | 3 | 3 | 10430
3 | 6.40 | 16 | P/FINAL | 2025-11-28 | 09:10 | 2025-11-28 | 06:53 | DORINA | 4 | 6.60 | 6.59 | / | / | 1.452 | 6.220 |  |  | 0.32 | 152 |  | Andrea V |  | 3 | 3 | 10430
2 | 1.60 | 17 | P/FINAL | 2025-11-28 | 09:12 | 2025-11-28 | 06:53 | DORINA | 4 | 1.68 | 1.69 | / | / | 0.432 |  |  |  | 0.28 |  |  | Andrea V |  | 3 | 2 | 10430
2 | 1.60 | 18 | P/FINAL | 2025-11-28 | 09:14 | 2025-11-28 | 06:53 | DORINA | 4 | 1.70 | 1.69 | / | / | 0.435 | 6.227 |  |  | 0.24 | 150 |  | Andrea V |  | 3 | 2 | 10430
1 | 0.00 | 19 | P/FINAL | 2025-11-28 | 09:16 | 2025-11-28 | 06:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.012 |  |  |  | 0.35 | 144 |  | Andrea V |  | 3 | 1 | 10430
1 | 0.00 | 20 | P/FINAL | 2025-11-28 | 09:17 | 2025-11-28 | 06:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.009 | 6.163 |  |  | 0.28 | 140 |  | Andrea V |  | 3 | 1 | 10430
2 | 1.60 | 21 | P/FINAL | 2025-11-28 | 09:23 | 2025-11-28 | 06:53 | DORINA | 4 | 1.68 | 1.67 | / | / | 0.431 |  |  |  | 0.32 | 125 |  | Andrea V |  | 3 | 2 | 10430
3 | 6.40 | 22 | Old A | 2025-11-28 | 09:26 | 2025-11-28 | 06:53 | DORINA | 4 | 6.36 | 6.35 | / | / | 1.406 |  |  |  | 0.63 |  |  | Andrea V |  | 3 | 3 | 10430
3 | 6.40 | 23 | Old A | 2025-11-28 | 09:26 | 2025-11-28 | 06:53 | DORINA | 4 | 6.44 | 6.42 | / | / | 1.421 |  |  |  | 0.50 |  |  | Andrea V |  | 3 | 3 | 10430
2 | 1.60 | 24 | Old A | 2025-11-28 | 09:29 | 2025-11-28 | 06:53 | DORINA | 4 | 1.71 | 1.73 | / | / | 0.416 |  |  |  | 1.79 |  |  | Andrea V |  | 3 | 2 | 10430
2 | 1.60 | 25 | Old A | 2025-11-28 | 09:29 | 2025-11-28 | 06:53 | DORINA | 4 | 1.66 | 1.66 | / | / | 0.417 |  |  |  | 1.29 |  |  | Andrea V |  | 3 | 2 | 10430
1 | 0.00 | 26 | Old A | 2025-11-28 | 09:33 | 2025-11-28 | 06:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.011 |  |  |  | 1.24 |  |  | Andrea V |  | 3 | 1 | 10430
1 | 0.00 | 27 | Old A | 2025-11-28 | 09:33 | 2025-11-28 | 06:53 | DORINA | 4 | 0.00 | 0.00 | / | / | 0.008 |  |  |  | 0.90 |  |  | Andrea V |  | 3 | 1 | 10430
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 14 | 1.57 mg/L | 7 | 14 | 1.57 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 12 | 6.44 mg/L | 6 | 12 | 6.44 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 8 | 0 mg/L | 4 | 8 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.08 | 0.00 | YES
1.60 | 1.47 ÷ 1.73 | 1.57 | YES
6.40 | 6.13 ÷ 6.67 | 6.44 | YES
Validation Date | by