## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0768 | HI93757-0 | CP-R35 | W43 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2026-10-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
GIORGIANA | 2024-10-28 | 2024-10-28 | 4HEAD
[6 empty] | Expiration A | Expiration B | Expiration D
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-780
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR67C |  | 0.02 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
3 | 1.60 | 1.55 | 1.65
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | P/Final | 2024-10-28 | 16:05 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 0.37 | / | / | / | 0.308 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 2 | 31355
2 | 0.40 | 2 | P/Final | 2024-10-28 | 16:05 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 0.37 | / | / | / | 0.308 |  |  |  | 0.46 |  |  | Brigitta P |  | 3 | 2 | 31355
2 | 0.40 | 3 | P/Final | 2024-10-28 | 16:05 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 0.37 | / | / | / | 0.307 |  |  |  | 0.40 |  |  | Brigitta P |  | 3 | 2 | 31355
3 | 1.60 | 4 | P/Final | 2024-10-28 | 16:07 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 1.60 | / | / | / | 1.120 |  |  |  | 0.18 |  |  | Brigitta P |  | 3 | 3 | 31355
3 | 1.60 | 5 | P/Final | 2024-10-28 | 16:07 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 1.61 | / | / | / | 1.208 |  |  |  | 0.25 |  |  | Brigitta P |  | 3 | 3 | 31355
1 | 0.00 | 6 | P/Final | 2024-10-28 | 16:08 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 0.00 | / | / | / | 0.001 |  |  |  | 0.21 |  |  | Brigitta P |  | 3 | 1 | 31355
1 | 0.00 | 7 | P/Final | 2024-10-28 | 16:08 | 2024-10-28 | 14:31 | GIORGIANA | 4 | 0.00 | / | / | / | 0.001 |  |  |  | 0.38 |  |  | Brigitta P |  | 3 | 1 | 31355
2 | 0.40 | 8 | Old A | 2024-10-29 | 10:32 | 2024-10-29 | 07:19 | DORINA | 4 | 0.38 | / | / | / | 0.292 |  |  |  | 1.99 | 148 |  | Kinga |  | 3 | 2 | 31355
3 | 1.60 | 9 | Old A | 2024-10-29 | 10:33 | 2024-10-29 | 07:19 | DORINA | 4 | 1.61 | / | / | / | 1.211 |  |  |  | 1.90 | 149 |  | Kinga |  | 3 | 3 | 31355
2 | 0.40 | 10 | P/Final | 2024-10-29 | 10:37 | 2024-10-29 | 07:19 | DORINA | 4 | 0.33 | / | / | / | 0.276 |  |  |  | 0.22 | 149 |  | Kinga |  | 3 | 2 | 31355
2 | 0.40 | 11 | P/Final | 2024-10-29 | 10:38 | 2024-10-29 | 07:19 | DORINA | 4 | 0.35 | / | / | / | 0.288 |  |  |  | 0.23 | 148 |  | Kinga |  | 3 | 2 | 31355
3 | 1.60 | 12 | P/Final | 2024-10-29 | 10:49 | 2024-10-29 | 07:19 | DORINA | 4 | 1.57 | / | / | / | 1.185 |  |  |  | 0.24 | 157 |  | Kinga |  | 3 | 3 | 31355
3 | 1.60 | 13 | P/Final | 2024-10-29 | 10:49 | 2024-10-29 | 07:19 | DORINA | 4 | 1.56 | / | / | / | 1.142 |  |  |  | 0.13 | 139 |  | Kinga |  | 3 | 3 | 31355
1 | 0.00 | 14 | P/Final | 2024-10-29 | 10:58 | 2024-10-29 | 07:19 | DORINA | 4 | 0.00 | / | / | / | -0.006 |  |  |  | 0.13 |  |  | Kinga |  | 3 | 1 | 31355
1 | 0.00 | 15 | P/Final | 2024-10-29 | 10:59 | 2024-10-29 | 07:19 | DORINA | 4 | 0.00 | / | / | / | 0.004 |  |  |  | 0.35 |  |  | Kinga |  | 3 | 1 | 31355
2 | 0.40 | 16 | P/Final | 2024-10-29 | 11:10 | 2024-10-29 | 07:19 | DORINA | 4 | 0.39 | / | / | / | 0.318 |  |  |  | 0.49 | 138 |  | Kinga |  | 3 | 2 | 31355
2 | 0.40 | 17 | P/Final | 2024-10-29 | 11:12 | 2024-10-29 | 07:19 | DORINA | 4 | 0.35 | / | / | / | 0.290 |  |  |  | 0.21 | 148 |  | Kinga |  | 3 | 2 | 31355
2 | 0.40 | 18 | P/Final | 2024-10-29 | 11:21 | 2024-10-29 | 07:19 | DORINA | 4 | 0.34 | / | / | / | 0.280 |  |  |  | 0.30 | 152 |  | Kinga |  | 3 | 2 | 31355
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
7 | 7 | 0.36 mg/L | 6 | 6 | 0.37 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 1.59 mg/L | 4 | 4 | 1.59 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 4 | 4 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.40 | 0.37 ÷ 0.43 | 0.37 | YES
1.60 | 1.55 ÷ 1.65 | 1.59 | YES
Validation Date | by