## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
0901/N | HI93757-0 | CP-R35 | W 04/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2027-01-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-02-23 | 2025-02-27 | 4HEAD |  |  | 0671
[6 empty] | Expiration A | Expiration B | Expiration D
2026-08-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-860
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR67C |  | 0.02 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
3 | 1.60 | 1.55 | 1.65
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old A | 2025-02-03 | 08:31 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 0.37 | / | / | / | 0.297 |  |  |  | 1.38 |  |  | Kinga |  | 3 | 2
3 | 1.60 | 2 | Old A | 2025-02-03 | 08:32 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 1.59 | / | / | / | 1.197 |  |  |  | 0.80 |  |  | Kinga |  | 3 | 3
1 | 0.00 | 3 | Old A | 2025-02-03 | 08:33 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 0.00 | / | / | / | -0.001 |  |  |  | 2.69 |  |  | Kinga |  | 3 | 1
2 | 0.40 | 4 | P/Prod | 2025-02-03 | 08:33 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 0.38 | / | / | / | 0.297 |  |  |  | 0.27 |  |  | Kinga |  | 3 | 2
2 | 0.40 | 5 | P/Prod | 2025-02-03 | 08:34 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 0.38 | / | / | / | 0.314 | 5.964 |  |  | 1.40 | 116 |  | Kinga |  | 3 | 2
3 | 1.60 | 6 | P/Prod | 2025-02-03 | 08:37 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 1.65 | / | / | / | 1.241 |  |  |  | 0.32 | 138 |  | Kinga |  | 3 | 3
3 | 1.60 | 7 | P/Prod | 2025-02-03 | 08:38 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 1.65 | / | / | / | 1.249 | 5.951 |  |  | 0.44 | 134 |  | Kinga |  | 3 | 3
1 | 0.00 | 8 | P/Prod | 2025-02-03 | 08:39 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 0.00 | / | / | / | 0.000 |  |  |  | 0.61 | 148 |  | Kinga |  | 3 | 1
1 | 0.00 | 9 | P/Prod | 2025-02-03 | 08:40 | 2025-02-01 | 03:50 | GIORGIANA | 4 | 0.00 | / | / | / | 0.004 | 6.007 |  |  | 0.27 | 149 |  | Kinga |  | 3 | 1
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 0.38 mg/L | 2 | 2 | 0.38 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 1.65 mg/L | 2 | 2 | 1.65 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 0 mg/L | 2 | 2 | 0 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.40 | 0.37 ÷ 0.43 | 0.38 | YES
1.60 | 1.55 ÷ 1.65 | 1.65 | YES
Validation Date | by