## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1061 | HI93757-0 | CP-R35 | W 22/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2027-05-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | [5 empty] | 1039
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | HI98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
2 | 0.40 | 0.37 | 0.43 |  | MR67C |  | 0.02 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
3 | 1.60 | 1.55 | 1.65
1 | 0.00 | 0.00 | 0.02
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | M. 1 HI801 | M. 2 Label17 | M. 3 Label17 | M. 4 Label17 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
2 | 0.40 | 1 | Old A | 2025-05-29 | 09:08 | 2025-05-29 | 03:02 | ANA |  | 0.40 | / | / | / | 0.326 |  |  |  | 0.43 |  |  | Kinga |  | 3 | 2 | 63958
2 | 0.40 | 2 | P/FINAL | 2025-05-29 | 09:08 | 2025-05-29 | 03:02 | ANA |  | 0.40 | / | / | / | 0.327 | 6.321 |  |  | 0.58 | 151 |  | Kinga |  | 3 | 2 | 63958
2 | 0.40 | 3 | P/FINAL | 2025-05-29 | 09:09 | 2025-05-29 | 03:02 | ANA |  | 0.41 | / | / | / | 0.339 |  |  |  | 1.47 | 145 |  | Kinga |  | 3 | 2 | 63958
3 | 1.60 | 4 | Old A | 2025-05-29 | 09:09 | 2025-05-29 | 03:02 | ANA |  | 1.65 | / | / | / | 1.234 | 6.308 |  |  | 0.73 | 161 |  | Kinga |  | 3 | 3 | 63958
3 | 1.60 | 5 | P/FINAL | 2025-05-29 | 09:10 | 2025-05-29 | 03:02 | ANA |  | 1.59 | / | / | / | 1.199 |  |  |  | 1.47 | 130 |  | Kinga |  | 3 | 3 | 63958
3 | 1.60 | 6 | P/FINAL | 2025-05-29 | 09:11 | 2025-05-29 | 03:02 | ANA |  | 1.64 | / | / | / | 1.232 |  |  |  | 0.35 | 132 |  | Kinga |  | 3 | 3 | 63958
1 | 0.00 | 7 | Old A | 2025-05-29 | 09:11 | 2025-05-29 | 03:02 | ANA |  | 0.01 | / | / | / | 0.023 |  |  |  | 3.30 |  |  | Kinga |  | 3 | 1 | 63958
1 | 0.00 | 8 | P/FINAL | 2025-05-29 | 09:12 | 2025-05-29 | 03:02 | ANA |  | 0.01 | / | / | / | 0.021 | 6.124 |  |  | 0.67 |  |  | Kinga |  | 3 | 1 | 63958
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 0.41 mg/L | 2 | 2 | 0.41 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
2 | 2 | 1.62 mg/L | 2 | 2 | 1.62 mg/L
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
1 | 1 | 0.01 mg/L | 1 | 1 | 0.01 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.01 | YES
0.40 | 0.37 ÷ 0.43 | 0.41 | YES
1.60 | 1.55 ÷ 1.65 | 1.62 | YES
Validation Date | by