## Hanna Code
Lot | Hanna SFG Code | Recipe | Preparation Week |  | Hanna SFG Code | HI711-0 | HI716-0 | HI718-0 | HI93711-0 | HI93716-0 | HI93718-0 | HI93757-0 | MI524-0 | MI527-0
1115 | HI93757-0 | CP-R35 | W 29/1 |  | Parameter Formula | Cl2 | Br2 | I2 | Cl2 | Br2 | I2 | Ozone | Chlorine | Iodine
Description | Exp | Line |  |  | QC Department | Registration Book | QC Type
Ozone Reagent | 2027-07-01 | L57 Powder |  |  | Laboratory | TABLET 3 | Production
Ref Weight. | Min (mg) | Max (mg)
150 | 135 | 165
REAGENT SET 1 | [5 empty] | REAGENT SET 2
Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot |  | Reagent A Lot | Reagent B Lot | Reagent C Lot | Reagent D Lot | Reagent E Lot
Expiration A | Expiration B | Expiration C | Expiration D | Expiration E |  | Expiration A | Expiration B | Expiration C | Expiration D | Expiration E
Reagent Range Min | Reagent Range Max
0.00 mg/L | 2.00 mg/L
Prep. Operator | First day Prod. | Last day Prod. | Machine |  |  | Old Lot A | Old Lot B | Old Lot D
ERIKA | 2025-07-25 | 2025-07-25 | 1 HEAD |  |  | 1061
[6 empty] | Expiration A | Expiration B | Expiration D
2027-05-01
Meter
Meter 1 Family | Meter 1 Code
HI801 | CTO-775
ph Meter | Description | Turbid. Meter | Description | Spectr. Meter | Description
|  | H98703 | CTO-861
Standard | mg/L | [5 empty] | Tolerance |  |  |  |  | pH
STD Number | STD Value | STD Min | STD Max |  | STD MR |  | Fixed | AndOr | Percentage | QCRestriction |  | pH Value | pH Min | pH Max
1 | 0.00 | 0.00 | 0.02 |  | MR67C |  | 0.02 | & | 2% | 100% |  | 6.1 | 5.7 | 6.3
2 | 0.40 | 0.37 | 0.43
3 | 1.60 | 1.55 | 1.65
Readings Table
Standard | STD Value | # | TEST | QC DATE | QC TIME | PROD. DATE | PROD. TIME | PROD. OPERATOR | HEAD | METER 1 | METER 2 | METER 3 | METER 4 | SPECTR. [ABS] | pH 1 | pH 2 | pH 3 | TURB. | WEIGHT [mg] | REAGENT SET | QC OPERATOR | CORRECTION | phNumber | STD | STD_ID | NOTE
1 | 0.00 | 1 | Old A | 2025-07-25 | 11:35 | 2025-07-25 | 10:46 | DORINA |  | 0.00 | / | / | / | 0.012 |  |  |  | 1.45 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 2 | Old A | 2025-07-25 | 11:36 | 2025-07-25 | 10:46 | DORINA |  | 0.00 | / | / | / | 0.014 |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 1
2 | 0.40 | 3 | Old A | 2025-07-25 | 11:38 | 2025-07-25 | 10:46 | DORINA |  | 0.37 | / | / | / | 0.308 |  |  |  | 1.64 |  |  | Andrea V |  | 3 | 2 | 31836
2 | 0.40 | 4 | Old A | 2025-07-25 | 11:39 | 2025-07-25 | 10:46 | DORINA |  | 0.37 | / | / | / | 0.303 |  |  |  | 1.88 |  |  | Andrea V |  | 3 | 2 | 31836
3 | 1.60 | 5 | Old A | 2025-07-25 | 12:01 | 2025-07-25 | 10:46 | DORINA |  | 1.62 | / | / | / | 1.219 |  |  |  | 1.04 |  |  | Andrea V |  | 3 | 3 | 31836
3 | 1.60 | 6 | Old A | 2025-07-25 | 12:01 | 2025-07-25 | 10:46 | DORINA |  | 1.60 | / | / | / | 1.202 |  |  |  | 1.13 |  |  | Andrea V |  | 3 | 3 | 31836
1 | 0.00 | 7 | P/FINAL | 2025-07-25 | 12:08 | 2025-07-25 | 10:46 | DORINA |  | 0.00 | / | / | / | 0.010 | 6.154 |  |  | 0.29 |  |  | Andrea V |  | 3 | 1 | 114255
1 | 0.00 | 8 | P/FINAL | 2025-07-25 | 12:09 | 2025-07-25 | 10:46 | DORINA |  | 0.00 | / | / | / | 0.006 |  |  |  | 0.29 |  |  | Andrea V |  | 3 | 1 | 114255
2 | 0.40 | 9 | P/FINAL | 2025-07-25 | 12:10 | 2025-07-25 | 10:46 | DORINA |  | 0.39 | / | / | / | 0.322 | 6.160 |  |  | 0.40 | 138 |  | Andrea V |  | 3 | 2 | 114255
2 | 0.40 | 10 | P/FINAL | 2025-07-25 | 12:10 | 2025-07-25 | 10:46 | DORINA |  | 0.39 | / | / | / | 0.319 |  |  |  | 0.24 | 170 |  | Andrea V |  | 3 | 2 | 114255
2 | 0.40 | 11 | P/FINAL | 2025-07-25 | 12:10 | 2025-07-25 | 10:46 | DORINA |  | 0.40 | / | / | / | 0.328 |  |  |  | 0.34 | 141 |  | Andrea V |  | 3 | 2 | 114255
3 | 1.60 | 12 | P/FINAL | 2025-07-25 | 12:14 | 2025-07-25 | 10:46 | DORINA |  | 1.57 | / | / | / | 1.183 | 6.134 |  |  | 0.26 | 149 |  | Andrea V |  | 3 | 3 | 114255
3 | 1.60 | 13 | P/FINAL | 2025-07-25 | 12:15 | 2025-07-25 | 10:46 | DORINA |  | 1.59 | / | / | / | 1.199 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 3 | 114255
3 | 1.60 | 14 | P/FINAL | 2025-07-25 | 12:16 | 2025-07-25 | 10:46 | DORINA |  | 1.61 | / | / | / | 1.209 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 3 | 114255
1 | 0.00 | 15 | P/FINAL | Q2025/07/25 | 15:28 | 2025-07-25 | 14:37 | FLORICA |  | 0.00 | / | / | / | 0.008 |  |  |  | 0.40 |  |  | Andrea V |  | 3 | 1
1 | 0.00 | 16 | P/FINAL | Q2025/07/25 | 15:29 | 2025-07-25 | 14:37 | FLORICA |  | 0.00 | / | / | / | 0.003 | 6.285 |  |  | 0.35 |  |  | Andrea V |  | 3 | 1
2 | 0.40 | 17 | P/FINAL | Q2025/07/25 | 15:29 | 2025-07-25 | 14:37 | FLORICA |  | 0.39 | / | / | / | 0.322 |  |  |  | 0.82 | 149 |  | Andrea V |  | 3 | 2
2 | 0.40 | 18 | P/FINAL | Q2025/07/25 | 15:30 | 2025-07-25 | 14:37 | FLORICA |  | 0.38 | / | / | / | 0.313 |  |  |  | 0.46 | 141 |  | Andrea V |  | 3 | 2
2 | 0.40 | 19 | P/FINAL | Q2025/07/25 | 15:31 | 2025-07-25 | 14:37 | FLORICA |  | 0.38 | / | / | / | 0.310 | 6.294 |  |  | 0.43 | 143 |  | Andrea V |  | 3 | 2
3 | 1.60 | 20 | P/FINAL | Q2025/07/25 | 15:31 | 2025-07-25 | 14:37 | FLORICA |  | 1.57 | / | / | / | 1.182 |  |  |  | 0.56 | 166 |  | Andrea V |  | 3 | 3
3 | 1.60 | 21 | P/FINAL | Q2025/07/25 | 15:32 | 2025-07-25 | 14:37 | FLORICA |  | 1.57 | / | / | / | 1.183 |  |  |  | 0.27 |  |  | Andrea V |  | 3 | 3
3 | 1.60 | 22 | P/FINAL | Q2025/07/25 | 15:32 | 2025-07-25 | 14:37 | FLORICA |  | 1.55 | / | / | / | 1.172 | 6.347 |  |  | 0.48 |  |  | Andrea V |  | 3 | 3
Standard # 1
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
4 | 4 | 0 mg/L | 4 | 4 | 0 mg/L
Standard # 2
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 0.39 mg/L | 6 | 6 | 0.39 mg/L
Standard # 3
Total Tests | Total Readings | Total Average | Selected Tests | Selected Readings | Selected Average
6 | 6 | 1.58 mg/L | 6 | 6 | 1.58 mg/L
Specifications
Standard Value [ppm] | Target Value ÷ U [ppm] | Mean Value [ppm] | Passed
0.00 | 0.00 ÷ 0.02 | 0.00 | YES
0.40 | 0.37 ÷ 0.43 | 0.39 | YES
1.60 | 1.55 ÷ 1.65 | 1.58 | YES
Validation Date | by